Copyright 2020 AIA
MasterSpec Full Length
03/20 (PM 04/22)

PRODUCT MASTERSPEC LICENSED BY DELTEK, INC. TO ACORN ENGINEERING; MORRIS GROUP INTERNATIONAL

Copyright 2020 by The American Institute of Architects (AIA)

Exclusively published and distributed by Deltek, Inc. for the AIA
This Product MasterSpec Section is licensed by Deltek, Inc. to Acorn Engineering; Morris Group International ("Licensee").

This Product MasterSpec Section modifies the original MasterSpec text and does not include the full content of the original MasterSpec Section.

Revisions made to the original MasterSpec text are made solely by the Licensee and are not endorsed by, or representative of the opinions of, Deltek or The American Institute of Architects (AIA). Neither AIA nor Deltek are liable in any way for such revisions or for the use of this Product MasterSpec Section by any end user. A qualified design professional should review and edit the document to suit project requirements.

For more information, contact Acorn Engineering; Morris Group International, 15125 Proctor Ave., City of Industry, CA 91746; Phone: (626) 336-4561 | (800) 488-8999; Fax: (626) 961-2200; Website: www.acorneng.com; Email: SalesEngineering@AcornEng.com.

For information about MasterSpec, contact Deltek at (800) 424-5080 or visit masterspec.com.

SECTION 224223 - COMMERCIAL SHOWERS
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on MasterWorks/Single-File Formatting/Toggle/Editor's Notes.

To read detailed research, technical information about products and materials, and coordination checklists, click on MasterWorks/Supporting Information.

Access Product MasterSpec Sections:

<Double click here to view the list of manufacturer Sections available at ProductMasterSpec.com.>
Revise this Section by deleting and inserting text to meet Project-specific requirements.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:

1. Individual showers.

2. Shower heads and shower valves.

3. Shower basins.

4. Group showers.

5. Outdoor showers.

6. Grout.

B. Related Requirements:

Retain subparagraphs below to cross-reference requirements Contractor might expect to find in this Section but are specified in other Sections.

1. Section 224100 "Residential Plumbing Fixtures" for residential showers.

2. Section 224300 "Healthcare Plumbing Fixtures" for healthcare showers.

3. Section 224500 "Emergency Plumbing Fixtures" for emergency showers.

4. Section 224600 "Security Plumbing Fixtures" for security showers.

1.2 DEFINITIONS
Retain terms that remain after this Section has been edited for a project. Include only essential definitions or acronyms not well understood by the affected industry or trade.
A. FRP: Fiberglass-reinforced plastic.

B. PMMA: Polymethyl methacrylate; also known as "acrylic."
1.3 ACTION SUBMITTALS
Action submittals are submittals requiring responsive action and return of reviewed documents to Contractor.
A. Product Data: For each type of product.

1. Include construction details, material descriptions, dimensions of individual components and profiles, and finishes for showers[ and basins].

2. Include rated capacities, operating characteristics, and furnished specialties and accessories.
Retain "Sustainable Design Submittals" Paragraph below if required to attain sustainability rating or to track sustainability submittals.
B. Sustainable Design Submittals:

"Product Data" Subparagraph below applies to LEED (including v4), IgCC, ASHRAE 189.1, and Green Globes for fixtures and equipment that consume water.

1. Product Data: For water consumption.
1.4 CLOSEOUT SUBMITTALS

A. Maintenance Data: For shower valves to include in maintenance manuals.

1.5 MAINTENANCE MATERIAL SUBMITTALS
See Section 017700 "Closeout Procedures" for submission of maintenance material items.
A. Furnish extra materials that match products installed and that are packaged with protective covering for storage and identified with labels describing contents.

1. Shower Valve Washers and O-Rings: Equal to [10] <Insert number> percent of amount of each type and size installed.

2. Shower Valve Cartridges and O-Rings: Equal to [5] <Insert number> percent of amount of each type and size installed.

PART 2 -  PRODUCTS

Manufacturers and products listed in this Section are neither recommended nor endorsed by the AIA or Deltek. Before selecting manufacturers and products, verify availability, suitability for intended applications, and compliance with minimum performance requirements. For definitions of terms and requirements for Contractor's product selection, see Section 016000 "Product Requirements."
Product options commonly available from manufacturers are included in square brackets throughout the Section Text. Not every manufacturer listed can provide every option offered; verify availability with manufacturers. For definitions of terms and requirements for Contractor's product selection, see Section 016000 "Product Requirements."

2.1 PERFORMANCE REQUIREMENTS

The U.S. Safe Drinking Water Act (SDWA) has required national compliance with less than or equal to 0.25 percent weighted average lead content at wetted surfaces for pipe, fittings, and devices intended to convey or dispense water for human consumption since January 2014. The IPC and the UPC have the same requirements. Items in compliance with NSF 61 and NSF 372 also comply with this requirement. Some manufacturers choose to meet this requirement through independent testing and have "Certified Lead-Free" products, which may or may not have NSF 61 or NSF 372 certification.

A. Shower valves intended to convey or dispense water for human consumption are to comply with the U.S. Safe Drinking Water Act (SDWA), with requirements of the Authority Having Jurisdiction (AHJ), and with NSF 61 and NSF 372, or be certified in compliance with NSF 61 and NSF 372 by an ANSI-accredited third-party certification body, in that the weighted average lead content at wetted surfaces is less than or equal to 0.25 percent.

2.2 INDIVIDUAL SHOWERS

Do not use same shower designation as is used for another shower in Section 224100 "Residential Plumbing Fixtures," Section 224300 "Healthcare Plumbing Fixtures," Section 224500 "Emergency Plumbing Fixtures," and Section 224600 "Security Plumbing Fixtures."
Insert drawing designation. Use these designations on Drawings to identify each shower.

A. Individual, One-Piece, FRP Showers with Top: <Insert drawing designation>.
Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by one of the following:

a. Florestone Products Co., Inc.

b. Kohler Co.

c. LASCO Bathware.

d. <Insert manufacturer's name>.

2. Source Limitations: Obtain FRP showers with top from single source from single manufacturer.

3. General: FRP shower enclosure with valve and receptor[ and appurtenances].

4. Standard: CSA B45.5/IAPMO Z124.

5. Style: [Standard residential] [Handicapped/accessible].

6. Shower Head and Shower Valve: <Insert shower head and shower valve designation from "Shower Heads and Shower Valves" Article>.

7. Shower Nominal Size and Shape: [30 by 30 inches (762 by 762 mm) square] [32 by 32 inches (813 by 813 mm) square] [34 by 34 inches (864 by 864 mm) square] [36 by 36 inches (915 by 915 mm) square] [48 by 36 inches (1219 by 915 mm) rectangular] [60 by 36 inches (1524 by 915 mm) rectangular] [36 inches (915 mm) neo-corner (two walls)] [36 inches (915 mm) neo-corner (four walls)] [38 inches (965 mm) neo-corner (two walls)] [38 inches (965 mm) neo-corner (four walls)] [42 inches (1067 mm) neo-corner (two walls)] [42 inches (1067 mm) neo-corner (four walls)] <Insert dimensions>.

8. Color: [White] <Insert color>.

9. Outlet: Drain with [NPS 2 (DN 50)] <Insert pipe size> outlet.

"Shower Rod and Curtain" and "Grab Bar" subparagraphs below are useful appurtenances.

10. Shower Rod and Curtain: [Not required] [Required].

11. Grab Bar: [ASTM F446, mounted on support area back wall] [Not required].

Insert drawing designation. Use these designations on Drawings to identify each shower.

B. Individual, One-Piece, FRP Showers without Top: <Insert drawing designation>.
Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by one of the following:

a. Florestone Products Co., Inc.

b. Kohler Co.

c. LASCO Bathware.

d. <Insert manufacturer's name>.

2. Source Limitations: Obtain FRP showers without top from single source from single manufacturer.

3. General: FRP shower enclosure with valve and receptor[ and appurtenances].

4. Standard: CSA B45.5/IAPMO Z124.

5. Style: [Standard residential] [Handicapped/accessible].

6. Shower Head and Shower Valve: <Insert shower head and shower valve designation from "Shower Heads and Shower Valves" Article>.

7. Shower Nominal Size and Shape: [30 by 30 inches (762 by 762 mm) square] [32 by 32 inches (813 by 813 mm) square] [34 by 34 inches (864 by 864 mm) square] [36 by 36 inches (915 by 915 mm) square] [48 by 36 inches (1219 by 915 mm) rectangular] [60 by 36 inches (1524 by 915 mm) rectangular] [36 inches (915 mm) neo-corner (two walls)] [36 inches (915 mm) neo-corner (four walls)] [38 inches (965 mm) neo-corner (two walls)] [38 inches (965 mm) neo-corner (four walls)] [42 inches (1067 mm) neo-corner (two walls)] [42 inches (1067 mm) neo-corner (four walls)] <Insert dimensions>.

8. Color: [White] <Insert color>.

9. Outlet: Drain with [NPS 2 (DN 50)] <Insert pipe size> outlet.

"Shower Rod and Curtain" and "Grab Bar" subparagraphs below are useful appurtenances.

10. Shower Rod and Curtain: [Not required] [Required].

11. Grab Bar: [ASTM F446, mounted on support area back wall] [Not required].
Insert drawing designation. Use these designations on Drawings to identify each shower.

C. Individual, Sectional, FRP Showers with Top: <Insert drawing designation>.
Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by one of the following:

a. Florestone Products Co., Inc.

b. LASCO Bathware.

c. <Insert manufacturer's name>.

2. Source Limitations: Obtain FRP showers with top from single source from single manufacturer.

3. General: FRP shower enclosure with valve and receptor[ and appurtenances].

4. Standard: CSA B45.5/IAPMO Z124.

5. Style: [Standard residential] [Handicapped/accessible].

6. Shower Head and Shower Valve: <Insert shower head and shower valve designation from "Shower Heads and Shower Valves" Article>.

7. Shower Nominal Size and Shape: [30 by 30 inches (762 by 762 mm) square] [32 by 32 inches (813 by 813 mm) square] [34 by 34 inches (864 by 864 mm) square] [36 by 36 inches (915 by 915 mm) square] [48 by 36 inches (1219 by 915 mm) rectangular] [60 by 36 inches (1524 by 915 mm) rectangular] [36 inches (915 mm) neo-corner (two walls)] [36 inches (915 mm) neo-corner (four walls)] [38 inches (965 mm) neo-corner (two walls)] [38 inches (965 mm) neo-corner (four walls)] [42 inches (1067 mm) neo-corner (two walls)] [42 inches (1067 mm) neo-corner (four walls)] <Insert dimensions>.

8. Color: [White] <Insert color>.

9. Outlet: Drain with [NPS 2 (DN 50)] <Insert pipe size> outlet.

"Shower Rod and Curtain" and "Grab Bar" subparagraphs below are useful appurtenances.

10. Shower Rod and Curtain: [Not required] [Required].

11. Grab Bar: [ASTM F446, mounted on support area back wall] [Not required].

Insert drawing designation. Use these designations on Drawings to identify each shower.

D. Individual, Sectional, FRP Showers without Top: <Insert drawing designation>.
Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by one of the following:

a. E. L. Mustee & Sons, Inc.

b. Florestone Products Co., Inc.
c. Kohler Co.

d. LASCO Bathware.

e. <Insert manufacturer's name>.

2. Source Limitations: Obtain FRP showers without top from single source from single manufacturer.

3. General: FRP shower enclosure with valve and receptor[ and appurtenances].

4. Standard: CSA B45.5/IAPMO Z124.

5. Style: [Standard residential] [Handicapped/accessible].

6. Shower Head and Shower Valve: <Insert shower head and shower valve designation from "Shower Heads and Shower Valves" Article>.

7. Shower Nominal Size and Shape: [30 by 30 inches (762 by 762 mm) square] [32 by 32 inches (813 by 813 mm) square] [34 by 34 inches (864 by 864 mm) square] [36 by 36 inches (915 by 915 mm) square] [48 by 36 inches (1219 by 915 mm) rectangular] [60 by 36 inches (1524 by 915 mm) rectangular] [36 inches (915 mm) neo-corner (two walls)] [36 inches (915 mm) neo-corner (four walls)] [38 inches (965 mm) neo-corner (two walls)] [38 inches (965 mm) neo-corner (four walls)] [42 inches (1067 mm) neo-corner (two walls)] [42 inches (1067 mm) neo-corner (four walls)] <Insert dimensions>.

8. Color: [White] <Insert color>.

9. Outlet: Drain with [NPS 2 (DN 50)] <Insert pipe size> outlet.

"Shower Rod and Curtain" and "Grab Bar" subparagraphs below are useful appurtenances.

10. Shower Rod and Curtain: [Not required] [Required].

11. Grab Bar: [ASTM F446, mounted on support area back wall] [Not required].
Insert drawing designation. Use these designations on Drawings to identify each shower.

E. Individual, One-Piece, PMMA Showers with Top: <Insert drawing designation>.
Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by one of the following:

a. Aqua Bath Company, Inc.

b. Aquarius Bathware; a Praxis Company.

c. Clarion Bathware.

d. Jacuzzi Inc.

e. Kohler Co.

f. MAAX.

g. <Insert manufacturer's name>.

2. Source Limitations: Obtain PMMA showers with top from single source from single manufacturer.

3. General: PMMA shower enclosure with valve and receptor[ and appurtenances].

4. Standard: CSA B45.5/IAPMO Z124.

5. Style: [Standard residential] [Handicapped/accessible].

6. Shower Head and Shower Valve: <Insert shower head and shower valve designation from "Shower Heads and Shower Valves" Article>.

7. Shower Nominal Size and Shape: [30 by 30 inches (762 by 762 mm) square] [32 by 32 inches (813 by 813 mm) square] [34 by 34 inches (864 by 864 mm) square] [36 by 36 inches (915 by 915 mm) square] [48 by 36 inches (1219 by 915 mm) rectangular] [60 by 36 inches (1524 by 915 mm) rectangular] [36 inches (915 mm) neo-corner (two walls)] [36 inches (915 mm) neo-corner (four walls)] [38 inches (965 mm) neo-corner (two walls)] [38 inches (965 mm) neo-corner (four walls)] [42 inches (1067 mm) neo-corner (two walls)] [42 inches (1067 mm) neo-corner (four walls)] <Insert dimensions>.

8. Color: [White] <Insert color>.

9. Outlet: Drain with [NPS 2 (DN 50)] <Insert pipe size> outlet.

"Shower Rod and Curtain" and "Grab Bar" subparagraphs below are useful appurtenances.

10. Shower Rod and Curtain: [Not required] [Required].

11. Grab Bar: [ASTM F446, mounted on support area back wall] [Not required].

Insert drawing designation. Use these designations on Drawings to identify each cabinet shower.

F. Individual, One-Piece, PMMA Showers without Top: <Insert drawing designation>.
Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by one of the following:

a. Aqua Bath Company, Inc.

b. Aquarius Bathware; a Praxis Company.

c. Clarion Bathware.

d. Jacuzzi Inc.

e. MAAX.

f. Swan Corporation (The).

g. <Insert manufacturer's name>.

2. Source Limitations: Obtain PMMA showers without top from single source from single manufacturer.

3. General: PMMA shower enclosure with valve and receptor[ and appurtenances].

4. Standard: CSA B45.5/IAPMO Z124.

5. Style: [Standard residential] [Handicapped/accessible].

6. Shower Head and Shower Valve: <Insert shower head and shower valve designation from "Shower Heads and Shower Valves" Article>.

7. Shower Nominal Size and Shape: [30 by 30 inches (762 by 762 mm) square] [32 by 32 inches (813 by 813 mm) square] [34 by 34 inches (864 by 864 mm) square] [36 by 36 inches (915 by 915 mm) square] [48 by 36 inches (1219 by 915 mm) rectangular] [60 by 36 inches (1524 by 915 mm) rectangular] [36 inches (915 mm) neo-corner (two walls)] [36 inches (915 mm) neo-corner (four walls)] [38 inches (965 mm) neo-corner (two walls)] [38 inches (965 mm) neo-corner (four walls)] [42 inches (1067 mm) neo-corner (two walls)] [42 inches (1067 mm) neo-corner (four walls)] <Insert dimensions>.

8. Color: [White] <Insert color>.

9. Outlet: Drain with [NPS 2 (DN 50)] <Insert pipe size> outlet.

"Shower Rod and Curtain" and "Grab Bar" subparagraphs below are useful appurtenances.

10. Shower Rod and Curtain: [Not required] [Required].

11. Grab Bar: [ASTM F446, mounted on support area back wall] [Not required].

Insert drawing designation. Use these designations on Drawings to identify each cabinet shower.

G. Individual, Sectional, PMMA Showers with Top: <Insert drawing designation>.
Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by one of the following:

a. Aquarius Bathware; a Praxis Company.

b. Clarion Bathware.

c. Jacuzzi Inc.

d. MAAX.

e. <Insert manufacturer's name>.

2. Source Limitations: Obtain PMMA showers with top from single source from single manufacturer.

3. General: PMMA shower enclosure with valve and receptor[ and appurtenances].

4. Standard: CSA B45.5/IAPMO Z124.

5. Style: [Standard residential] [Handicapped/accessible].

6. Shower Head and Shower Valve: <Insert shower head and shower valve designation from "Shower Heads and Shower Valves" Article>.

7. Shower Nominal Size and Shape: [30 by 30 inches (762 by 762 mm) square] [32 by 32 inches (813 by 813 mm) square] [34 by 34 inches (864 by 864 mm) square] [36 by 36 inches (915 by 915 mm) square] [48 by 36 inches (1219 by 915 mm) rectangular] [60 by 36 inches (1524 by 915 mm) rectangular] [36 inches (915 mm) neo-corner (two walls)] [36 inches (915 mm) neo-corner (four walls)] [38 inches (965 mm) neo-corner (two walls)] [38 inches (965 mm) neo-corner (four walls)] [42 inches (1067 mm) neo-corner (two walls)] [42 inches (1067 mm) neo-corner (four walls)] <Insert dimensions>.

8. Color: [White] <Insert color>.

9. Outlet: Drain with [NPS 2 (DN 50)] <Insert pipe size> outlet.

"Shower Rod and Curtain" and "Grab Bar" subparagraphs below are useful appurtenances.

10. Shower Rod and Curtain: [Not required] [Required].

11. Grab Bar: [ASTM F446, mounted on support area back wall] [Not required].

Insert drawing designation. Use these designations on Drawings to identify each cabinet shower.

H. Individual, Sectional, PMMA Showers without Top: <Insert drawing designation>.
Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by one of the following:

a. Aquarius Bathware; a Praxis Company.

b. Clarion Bathware.

c. Jacuzzi Inc.

d. MAAX.

e. Swan Corporation (The).

f. <Insert manufacturer's name>.

2. Source Limitations: Obtain PMMA showers without top from single source from single manufacturer.

3. General: PMMA shower enclosure with valve and receptor[ and appurtenances].

4. Standard: CSA B45.5/IAPMO Z124.

5. Style: [Standard residential] [Handicapped/accessible].

6. Shower Head and Shower Valve: <Insert shower head and shower valve designation from "Shower Heads and Shower Valves" Article>.

7. Shower Nominal Size and Shape: [30 by 30 inches (762 by 762 mm) square] [32 by 32 inches (813 by 813 mm) square] [34 by 34 inches (864 by 864 mm) square] [36 by 36 inches (915 by 915 mm) square] [48 by 36 inches (1219 by 915 mm) rectangular] [60 by 36 inches (1524 by 915 mm) rectangular] [36 inches (915 mm) neo-corner (two walls)] [36 inches (915 mm) neo-corner (four walls)] [38 inches (965 mm) neo-corner (two walls)] [38 inches (965 mm) neo-corner (four walls)] [42 inches (1067 mm) neo-corner (two walls)] [42 inches (1067 mm) neo-corner (four walls)] <Insert dimensions>.

8. Color: [White] <Insert color>.

9. Outlet: Drain with [NPS 2 (DN 50)] <Insert pipe size> outlet.

"Shower Rod and Curtain" and "Grab Bar" subparagraphs below are useful appurtenances.

10. Shower Rod and Curtain: [Not required] [Required].

11. Grab Bar: [ASTM F446, mounted on support area back wall] [Not required].

Insert drawing designation. Use these designations on Drawings to identify each cabinet shower.

I. Individual Cabinet Showers: <Insert drawing designation>.
Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by one of the following:

a. E. L. Mustee & Sons, Inc.

b. Stern-Williams Co., Inc.

c. Willoughby Industries.

d. <Insert manufacturer's name>.

2. Source Limitations: Obtain cabinet showers from single source from single manufacturer.

3. General: Factory-fabricated[, accessible] cabinet shower, with valve and receptor.

4. Nominal Size: [30 by 30 inches (762 by 762 mm)] [32 by 32 inches (813 by 813 mm)] [36 by 36 inches (915 by 915 mm)] [36 by 39 inches (915 by 990 mm)] [45 by 39 inches (1145 by 990 mm)] <Insert dimensions>.

5. Material: [Steel] [Stainless steel] [Composite] [Plastic].
6. Access: [front] [corner] [front and rear] access.

7. Color: [Not applicable] <Insert color>.

8. Accessibility Options: Grab bar and bench.

Coordinate "Shower Head and Shower Valve" Subparagraph below with "Shower Heads and Shower Valves" Article.

9. Shower Head and Shower Valve: [Manufacturer's standard fitting assembly] <Insert shower head and shower valve designation from "Shower Heads and Shower Valves" Article>.

10. Supplies: NPS 1/2 (DN 15) copper tubing[ with ball, gate, or globe valves].

11. Drain: Grid, NPS 2 (DN 50).

2.3 SHOWER HEADS AND SHOWER VALVES
Insert drawing designation. Use these designations on Drawings to identify each shower valve.

A. Shower Head with Single-Handle, Pressure-Balancing Mixing Valve: <Insert drawing designation>.
Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by one of the following:

a. American Standard.

b. Kohler Co.

c. Leonard Valve Company.

d. Moen Incorporated.

e. POWERS; A WATTS Brand.

f. Speakman Company.

g. Symmons Industries, Inc.

h. Zurn Industries, LLC.

i. <Insert manufacturer's name>.

2. Source Limitations: Obtain shower heads and shower valves from single source from single manufacturer.

3. Description: Single-handle, [accessible, ]pressure-balancing mixing valve with hot- and cold-water indicators; [diverting valve ]check stops; and [hose with handheld shower head] [hose with handheld shower head on sliding rod] shower head.

4. Shower Valve:

a. Standards: ASME A112.18.1/CSA B125.1 and ASSE 1016/ASME A112.1016/CSA B125.16.

b. Body Material: Solid brass.

c. Finish: [Polished chrome plate] <Insert finish>.

d. Mounting: [Concealed] [Exposed].

e. Operation: Single-handle, [push-pull] [or] [twist or rotate] [or] [metering] control.

f. Antiscald Device: [Integral with mixing valve] [Separate unit] [Not required].

g. Check Stops: Check-valve type, integral with or attached to body; on hot- and cold-water supply connections.

5. Supply Connections: NPS 1/2 (DN 15).

6. Shower Head:

a. Standard: ASME A112.18.1/CSA B125.1.

b. Type: [Ball joint with arm and flange] [Without ball joint, but with arm and flange] [Ball joint and head integral with mounting flange] [Integral with mounting flange] <Insert type>.

Retain "EPA WaterSense" Subparagraph below if required for Project. WaterSense labeling is required for LEED v4 and IgCC.

c. EPA WaterSense: Required.

Shower head flows in usage-based calculations are limited to 2.5 gpm (9.5 L/min.) per shower stall for LEED v4 and 2.0 gpm (7.6 L/min.) for IgCC. Shower head flows for Green Globes prescriptive compliance are limited to 2.0 gpm (7.6 L/min.).

d. Shower Head Maximum Flow Rate: [1.5 gpm (5.7 L/min.)] [1.75 gpm (6.6 L/min.)] [2.0 gpm (7.6 L/min.)] [2.5 gpm (9.5 L/min.)].

e. Shower Head Material: Metallic with chrome-plated finish.

f. Spray Pattern: [Adjustable] [Fixed].

Retain first subparagraph below when user-adjustable volume control is required.

g. Provide shower valve with integral manual volume control.

Verify availability of feature in "Temperature Indicator" Subparagraph below if required.

h. Temperature Indicator: [Integral with shower valve] [Not required].

Insert drawing designation. Use these designations on Drawings to identify each shower valve.

B. Shower Head with Single-Handle Thermostatic Mixing Valve: <Insert drawing designation>.
Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by one of the following:

a. Kohler Co.

b. Leonard Valve Company.

c. Matco-Norca.

d. POWERS; A WATTS Brand.

e. <Insert manufacturer's name>.

2. Source Limitations: Obtain shower heads and shower valves from single source from single manufacturer.

3. Description: Single-handle, [accessible, ]thermostatic mixing valve with hot- and cold-water indicators; [diverting valve ]check stops; and [hose with handheld shower head] [hose with handheld shower head on sliding rod] shower head.

4. Shower Valve:

1) Standards: ASME A112.18.1/CSA B125.1 and ASSE 1016/ASME A112.1016/CSA B125.16.

2) Body Material: Solid brass.

3) Finish: [Polished chrome plate] <Insert finish>.

b. Mounting: [Concealed] [Exposed].

c. Operation: Single-handle, [push-pull] [or] [twist or rotate] control.

d. Antiscald Device: [Integral with mixing valve] [Separate unit] [Not required].

e. Check Stops: Check-valve type, integral with or attached to body; on hot- and cold-water supply connections.

5. Supply Connections: NPS 1/2 (DN 15).

6. Shower Head:

a. Standard: ASME A112.18.1/CSA B125.1.

b. Type: [Ball joint with arm and flange] [Without ball joint, but with arm and flange] [Ball joint and head integral with mounting flange] [Integral with mounting flange] <Insert type>.

Retain "EPA WaterSense" Subparagraph below if required for Project. WaterSense labeling is required for LEED v4 and IgCC.

c. EPA WaterSense: Required.

Shower head flows in usage-based calculations are limited to 2.5 gpm (9.5 L/min.) per shower stall for LEED v4 and 2.0 gpm (7.6 L/min.) for IgCC. Shower head flows for Green Globes prescriptive compliance are limited to 2.0 gpm (7.6 L/min.).

d. Shower Head Maximum Flow Rate: [1.5 gpm (5.7 L/min.)] [1.75 gpm (6.6 L/min.)] [2.0 gpm (7.6 L/min.)] [2.5 gpm (9.5 L/min.)].

e. Shower Head Material: Metallic with chrome-plated finish.

f. Spray Pattern: [Adjustable] [Fixed].

Retain first subparagraph below when user-adjustable volume control is required.

g. Provide shower valve with integral manual volume control.

Verify availability of feature in "Temperature Indicator" Subparagraph below if required.

h. Temperature Indicator: [Integral with valve] [Not required].

Insert drawing designation. Use these designations on Drawings to identify each shower valve.

C. Shower Head with Single-Handle, [Thermostatic] [Pressure-Balancing] Mixing Valve: <Insert drawing designation>.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

1. Basis-of-Design Product: Subject to compliance with requirements, provide Acorn Engineering; Morris Group International, model [SV16] [SV16LVR]; <Insert drawing designation> or comparable product by one of the following:

a. Chicago Faucets; Geberit Company.

b. Lawler Manufacturing Company, Inc.

c. POWERS; A WATTS Brand.

d. <Insert manufacturer's name>.

2. Source Limitations: Obtain shower heads and shower valves from single source from single manufacturer.

3. Description: Concealed shower assembly with single-handle mixing valve and ceramic ON-OFF control.

4. Shower Valve:

a. Standards: ASME A112.18.1/CSA B125.1 and ASSE 1016/ASME A112.1016/ CSA B125.16.

b. Valve Body Material: Solid brass.

c. Finish: Polished chrome-plated handle, and No. 4 satin finish stainless steel escutcheon.

d. Valve Mounting: Concealed behind wall.

e. Operation: Single-handle, ADA-compliant, [ligature resistant] [lever] handle thermostatic and pressure-balancing mixing valve with factory set limit stop at 110 deg F (43 deg C).

f. Indicators: Hot and cold.

g. Antiscald Device: Integral with mixing valve.

h. Check Stops: Check-valve type, integral with or attached to body; on hot- and cold-water supply connections.

1) Provide check stops with replaceable strainers.

5. Supply Connections: NPS 1/2 (DN 15).

6. Shower Head:

a. Standard: ASME A112.18.1/CSA B125.1.

b. Type: 

1) Mount: Provide chrome plated deluxe bent arm and flange.

2) Function: [Economy ABS multi-stream with ball joint] [Chrome plated, brass multi-stream with ball joint] [Large chrome plated brass multi-stream with ball joint] [Conical ligature-resistant fixed spray with wall flange] <Insert type>.

Retain "EPA WaterSense" Subparagraph below if required for Project. WaterSense labeling is required for compliance with LEED v4 and IgCC. 

When Acorn Engineering is selected as basis of design, EPA WaterSense-compliant shower head is available only with conical, fixed spray type head having maximum 1.5 gpm (5.7 L/min.) flow rate.

c. EPA WaterSense: Provide EPA WaterSense-compliant shower head.

Shower head flows in usage-based calculations are limited to 2.5 gpm (9.5 L/min.) per shower stall for LEED v4 and 2.0 gpm (7.6 L/min.) for IgCC. Shower head flows for Green Globes prescriptive compliance are limited to 2.0 gpm (7.6 L/min.).

When Acorn Engineering is selected as basis of design, manufacturer's standard product delivers 1.6 gpm (6.1 L/min.). 1.5 gpm (5.7 L/min.) delivery is available only with conical, fixed spray type head.

d. Shower Head Maximum Flow Rate: [1.5 gpm (5.7 L/min.)] [1.6 gpm (6.1 L/min.)] [2.0 gpm (7.6 L/min.)] [2.5 gpm (9.5 L/min.)].

e. Shower Head Material: Metallic with chrome-plated finish.

In "Spray Pattern" Subparagraph below, retain second option for fixed conical shower head only. Otherwise, retain first option only.

f. Spray Pattern: [Adjustable] [Fixed].

Retain first subparagraph below when user-adjustable volume control is required.

g. Provide shower valve with integral manual volume control.

Retain "Accessible Components" Subparagraph below for ADA-compliant shower requirements.

7. Accessible Components:

a. Accessible Shower Head: Provide [chrome] [white] handheld shower head with 60 inch (152 mm) [stainless steel] [vinyl] hose.

b. Diverter: Provide concealed two-way diverter valve with ADA compliant [ligature resistant] [lever] style handle and stainless steel trim plate.

Retain first subparagraph below when handheld shower head is required by Project design.

c. Provide handheld shower head supply elbow.

Retain first subparagraph below when grab bar is required by Project design.

d. Grab Bar: [24 in. (610 mm)] [36 in. (914 mm)] grab bar with flange caps.

Accessories listed in subparagraph below are optional. Retain only subparagraphs needed to comply with Project design requirements.

8. Accessories:

a. Tub spout with diverter, chrome-plated [brass] [zinc] for 3/4 NPT with 1/2 NPT adapter.

b. Tub spout with diverter, chrome-plated zinc for [1/2 in. slip fit] [1/2 NPT] .

Retain any or all of five subparagraphs below when handheld shower head is required for Project design.

c. Inline three-port diverter mounted on bent arm.

d. Quick disconnect for handheld shower head.

Retain first subparagraph below for non-ADA-compliant designs that require glide rails for handheld shower heads.

e. [24 in. (610 mm)] [36 in. (914 mm)] glide rail for handheld shower head.

f. [Chrome] [White] grab bar mounting bracket for handheld shower head.

g. [Inline] [Elevated] vacuum breaker.

D. Shower Head with Single-Handle, [Thermostatic] [Pressure-Balancing] Mixing Valve: <Insert drawing designation>.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

1. Basis-of-Design Product: Subject to compliance with requirements, provide Acorn Engineering; Morris Group International, model [538] [538ADA]; <Insert drawing designation> or comparable product by one of the following:

a. Chicago Faucets; Geberit Company.

b. Lawler Manufacturing Company, Inc.

c. POWERS; A WATTS Brand.

d. <Insert manufacturer's name>.

2. Source Limitations: Obtain shower heads and shower valves from single source from single manufacturer.

3. Description: Concealed shower assembly with single-handle mixing valve.

4. Shower Valve:

a. Standards: ASME A112.18.1/CSA B125.1 and ASSE 1016/ASME A112.1016/ CSA B125.16.

b. Valve Body Material: Solid brass.

c. Finish: Polished chrome-plated handle, and No. 4 satin finish stainless steel escutcheon.

d. Valve Mounting: Concealed behind wall.

e. Operation: Single-handle, ADA-compliant, [ligature resistant] [lever] handle [thermostatic] [pressure-balancing] mixing valve with factory set limit stop at 110 deg F (43 deg C).

f. Indicators: Hot and cold.

g. Antiscald Device: Integral with mixing valve.

h. Check Stops: Check-valve type, integral with or attached to body; on hot- and cold-water supply connections.

1) Provide check stops with replaceable strainers.

5. Supply Connections: NPS 1/2 (DN 15).

6. Shower Head:

a. Standard: ASME A112.18.1/CSA B125.1.

b. Mount: Provide [wall mounting] [bent arm and] flange.

c. Function: [Multi-stream with ball joint] [Security, non-adjustable] [Universal ball joint and head with adjustable stream] [Lockable universal ball joint and head with adjustable stream] [Conical, ligature-resistant fixed spray] <Insert type>.

Retain "EPA WaterSense" Subparagraph below if required for Project. WaterSense labeling is required for compliance with LEED v4 and IgCC. 

When Acorn Engineering is selected as basis of design, EPA WaterSense-compliant shower head is available only with conical, fixed spray type head having maximum 1.5 gpm (5.7 L/min.) flow rate.

d. EPA WaterSense: Provide EPA WaterSense-compliant shower head.

Shower head flows in usage-based calculations are limited to 2.5 gpm (9.5 L/min.) per shower stall for LEED v4 and 2.0 gpm (7.6 L/min.) for IgCC. Shower head flows for Green Globes prescriptive compliance are limited to 2.0 gpm (7.6 L/min.).

When Acorn Engineering is selected as basis of design, manufacturer's standard product delivers 1.6 gpm (6.1 L/min.). 1.5 gpm (5.7 L/min.) delivery is available only with conical, fixed spray type head.

e. Shower Head Maximum Flow Rate: [1.5 gpm (5.7 L/min.)] [1.6 gpm (6.1 L/min.)] [2.0 gpm (7.6 L/min.)] [2.5 gpm (9.5 L/min.)].

f. Shower Head Material: Metallic with chrome-plated finish.

In "Spray Pattern" Subparagraph below, retain second option for fixed conical and security shower heads only. Otherwise, retain first option only.

g. Spray Pattern: [Adjustable] [Fixed].

Retain "Accessible Components" Subparagraph below for ADA-compliant shower requirements.

When Acorn Engineering model 538ADA is selected as basis of design, these items are included as standard equipment.

When compliance with California Building Code (CBC) is required, and dual fixed shower heads are specified, select shower head options for swivel angle adjustment and universal ball joint function.

7. Accessible Components:

a. Diverter Valve: Provide concealed two-way with accessible chrome-plated [ligature-resistant] [lever] style handle and stainless steel trim plate.

b. Accessible Shower Head: Provide [white, handheld shower head with ON-OFF control, 60 in. (1524 mm) stainless steel hose, quick-disconnect coupler, and wall hook] [handheld shower head with ON-OFF control, 60 in. (1524 mm) stainless steel hose, and quick-disconnect coupler with positive shut-off] [fixed shower head for mounting 48 in. (1219 mm) above finished floor with shower head that matches upper shower head].

Retain first subparagraph below when grab bar is required by Project design.

c. Grab Bar: Two-wall, 1-1/2 in. (38 mm) OD stainless steel.

Retain first subparagraph below when folding seat is required by Project design.

d. Folding seat: Provide ADA-compliant [padded vinyl] [phenolic] [stainless steel] folding seat.
Accessories listed in subparagraph below are optional. Retain only subparagraphs needed to comply with Project design requirements.

8. Accessories:

a. Wall flange anchor plate.

b. Back plate for rear chase mounting.

c. Tub spout with diverter, chrome plated zinc for [1/2 in. slip fit] [1/2 NPT] connection.

d. [Recessed] [Surface-mounted] soap dish.

Retain subparagraph below only when handheld shower head is selected.

e. High-low mounting brackets for handheld shower head.

E. Shower Head with Push-Button Metering Valve: <Insert drawing designation>.
Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

1. Basis-of-Design Product: Subject to compliance with requirements, provide Acorn Engineering; Morris Group International, model [530] [530ADA] [536] [536ADA]; <Insert drawing designation> or comparable product by one of the following:

a. Willoughby Industries.

b. Bradley Corporation.

c. <Insert manufacturer's name>.

2. Source Limitations: Obtain shower heads and shower valves from single source from single manufacturer.

3. Description: Concealed shower assembly with push-button metering valve.

4. Shower Valve:

a. Standards: ASME A112.18.1/CSA B125.1; Section 1417(d) of the Federal Safe Drinking Water Act.

b. Valve Body Material: Noryl thermoplastic resin.

c. Valve Mounting: Concealed behind wall, with front-accessible, Type 304 stainless steel faceplate having No. 4 satin finish.
For scald and thermal shock protection of bather, provide field-supplied, upstream, approved tempering valve complying with applicable codes.
d. Operation:
Retain one of first two subparagraphs below when single-temperature shower valves are included in the design.

1) Provide single-temperature, air-controlled pneumatic push-button-operated metering valve and shower.

In first subparagraph below, retain applicable options when control products by Acorn Engineering are selected as basis of design.
2) Provide single-temperature electronic metering valve and shower head, with [piezo-electric programmable controller] [Time-trol, pre-programmed controller, with pneumatic] [Master-trol, field programmable controller, with pneumatic] [Master-trol, field programmable controller, with piezo-electric] [Master-trol Plus, field programmable controller, with pneumatic] [Master-trol Plus, field-programmable controller, with piezo-electric] type push button and 24 Vac, 50/60 Hz solenoid with electro-polished stainless steel plunger.

e. Check Stops: Check-valve type, integral with or attached to body; on hot- and cold-water supply connections.
Retain first subparagraph below when hemispherical push button is included in Project design.

f. Provide hemispherical push button.

5. Supply Connections: NPS 1/2 (DN 15).

6. Shower Head:

a. Standard: ASME A112.18.1/CSA B125.1.

b. Function: [Multi-stream with ball joint] [Security, non-adjustable] [Universal ball joint and head with adjustable stream] [Lockable universal ball joint and head with adjustable stream] [Conical, ligature-resistant fixed spray] [WaterSense certified conical fixed spray)] [Handheld shower head and hose (non-ADA)] <Insert type>.
Retain "EPA WaterSense" Subparagraph below if required for Project. WaterSense labeling is required for compliance with LEED v4 and IgCC. 
When Acorn Engineering is selected as basis of design, EPA WaterSense-compliant shower head is available only with conical, fixed spray type head having maximum 1.5 gpm (5.7 L/min.) flow rate.
c. EPA WaterSense: Provide EPA WaterSense-compliant shower head.

Shower head flows in usage-based calculations are limited to 2.5 gpm (9.5 L/min.) per shower stall for LEED v4 and 2.0 gpm (7.6 L/min.) for IgCC. Shower head flows for Green Globes prescriptive compliance are limited to 2.0 gpm (7.6 L/min.).

When Acorn Engineering is selected as basis of design, manufacturer's standard product delivers 1.6 gpm (6.1 L/min.). 1.5 gpm (5.7 L/min.) delivery is available only with conical, fixed spray type head.

d. Shower Head Maximum Flow Rate: [1.5 gpm (5.7 L/min.)] [1.6 gpm (6.1 L/min.)] [2.0 gpm (7.6 L/min.)] [2.5 gpm (9.5 L/min.)].

e. Shower Head Material: Metallic with chrome-plated finish.

In "Spray Pattern" Subparagraph below, retain second option for fixed conical and security shower heads only. Otherwise, retain first option only.
f. Spray Pattern: [Adjustable] [Fixed].

Retain "Accessible Components" Subparagraph below for ADA-compliant shower requirements.

When used with horizontal modular wall-mounted showers, ADA conformance of accessible shower stations typically requires special adaptation for roll-in or transfer shower stall types. When included in Project design, consult with AHJ to ensure compliance.
7. Accessible Components: 

a. Diverter Valve: Provide concealed two-way with accessible chrome-plated [ligature-resistant] [lever] style handle and stainless steel trim plate.

b. Accessible Shower Head: Provide [handheld shower head with ON-OFF control, 60 in. (1524 mm) stainless steel hose, and quick-disconnect] [handheld shower head with ON-OFF control, 60 in. (1524 mm) stainless steel hose, and quick-disconnect with positive shut-off] [fixed shower head for mounting 48 in. (1219 mm) above finished floor with shower head that matches upper shower head].

c. Recessed soap dish.

Retain first subparagraph below when grab bar is required by Project design.

d. Grab Bar: Two-wall, 1-1/2 in. (38 mm) OD stainless steel.

Retain first subparagraph below when folding seat is required by Project design.

e. Folding seat: Provide ADA-compliant [padded vinyl] [phenolic] [stainless steel] folding seat.
Accessories listed in subparagraph below are optional. Retain only subparagraphs needed to comply with Project design requirements.

8. Accessories:

a. Wall flange anchor plate.

b. Back plate for rear chase mounting.
c. Surface-mounted soap dish.
d. Recessed soap dish.

Retain first subparagraph below only when handheld shower head is selected.

e. High-low mounting brackets for handheld shower head.
Retain first two subparagraphs below when basis-of-design products are equipped with Acorn Engineering's model "MVC Time-trol" electronic valve.

f. Transformer: 120 V ac to 24 V ac.

g. Cycle interrupt.
9. Provide wall mounting hardware in field.

2.4 SHOWER BASINS

Copy "Cast-Polymer Shower Basins" below and re-edit for each type of shower basin required.

Insert drawing designation. Use these designations on Drawings to identify each shower basin.

A. Cast-Polymer Shower Basins: <Insert drawing designation>.
Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by one of the following:

a. Florestone Products Co., Inc.

b. Inpro Corporation.

c. Sterling; a Kohler Company.

d. <Insert manufacturer's name>.

2. Source Limitations: Obtain shower basins from single source from single manufacturer.

3. Description: Cast-polymer base for built-up-type shower fixture.

4. Standard: CSA B45.5/IAPMO Z124.

5. Type: [Standard commercial] [Handicapped/accessible].

6. Nominal Size and Shape: [30 by 30 inches (762 by 762 mm) square] [32 by 32 inches (813 by 813 mm) square] [36 by 36 inches (915 by 915 mm) square] [42 by 34 to 36 inches (1067 by 864 to 915 mm) rectangular] [48 by 34 to 36 inches (1219 by 864 to 915 mm) rectangular] [36 inches (915 mm) neo-corner] [42 inches (1067 mm) neo-corner] <Insert dimensions>.

7. Color: [White] <Insert color>.

8. Outlet: Drain with [NPS 2 (DN 50)] <Insert pipe size> outlet[; lip drain outside shower in accordance with the ADA].
Insert drawing designation. Use these designations on Drawings to identify each shower basin.

B. FRP Shower Basins: <Insert drawing designation>.
Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by one of the following:

a. E. L. Mustee & Sons, Inc.

b. Florestone Products Co., Inc.

c. LASCO Bathware.

d. <Insert manufacturer's name>.

2. Source Limitations: Obtain shower basins from single source from single manufacturer.

3. Description: FRP base for built-up-type shower fixture.

4. Standard: CSA B45.5/IAPMO Z124.
5. Type: [Standard commercial] [Handicapped/accessible].

6. Nominal Size and Shape: [30 by 30 inches (762 by 762 mm) square] [32 by 32 inches (813 by 813 mm) square] [36 by 36 inches (915 by 915 mm) square] [42 by 34 to 36 inches (1067 by 864 to 915 mm) rectangular] [48 by 34 to 36 inches (1219 by 864 to 915 mm) rectangular] [36 inches (915 mm) neo-corner] [42 inches (1067 mm) neo-corner] <Insert dimensions>.

7. Color: [White] <Insert color>.

8. Outlet: Drain with [NPS 2 (DN 50)] <Insert pipe size> outlet[; lip drain outside shower in accordance with the ADA].
Insert drawing designation. Use these designations on Drawings to identify each shower basin.

C. PMMA Shower Basins: <Insert drawing designation>.
Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by one of the following:

a. American Standard.

b. Florestone Products Co., Inc.

c. Jason International, Inc.

d. Kohler Co.

e. LASCO Bathware.

f. MAAX.

g. Royal Baths Manufacturing Co.

h. Swan Corporation (The).

i. <Insert manufacturer's name>.

2. Source Limitations: Obtain shower basins from single source from single manufacturer.

3. Description: PMMA base for built-up-type shower fixture.

4. Standard: CSA B45.5/IAPMO Z124.

5. Type: [Standard commercial] [Handicapped/accessible].

6. Nominal Size and Shape: [30 by 30 inches (762 by 762 mm) square] [32 by 32 inches (813 by 813 mm) square] [36 by 36 inches (915 by 915 mm) square] [42 by 34 to 36 inches (1067 by 864 to 915 mm) rectangular] [48 by 34 to 36 inches (1219 by 864 to 915 mm) rectangular] [36 inches (915 mm) neo-corner] [42 inches (1067 mm) neo-corner] <Insert dimensions>.

7. Color: [White] <Insert color>.

8. Outlet: Drain with [NPS 2 (DN 50)] <Insert pipe size> outlet[; lip drain outside shower in accordance with the ADA].
Insert drawing designation. Use these designations on Drawings to identify each shower basin.

D. Molded Stone Shower Basins: <Insert drawing designation>.
Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by one of the following:

a. American Bath Factory.

b. Fiat Products.

c. Florestone Products Co., Inc.

d. Swan Corporation (The).

e. <Insert manufacturer's name>.

2. Source Limitations: Obtain shower basins from single source from single manufacturer.

3. Description: Molded-stone base for built-up-type shower fixture.

4. Standard: CSA B45.8/IAPMO Z403.
5. Type: [Standard commercial] [Handicapped/accessible].

6. Nominal Size and Shape: [30 by 30 inches (762 by 762 mm) square] [32 by 32 inches (813 by 813 mm) square] [36 by 36 inches (915 by 915 mm) square] [42 by 34 to 36 inches (1067 by 864 to 915 mm) rectangular] [48 by 34 to 36 inches (1219 by 864 to 915 mm) rectangular] [36 inches (915 mm) neo-corner] [42 inches (1067 mm) neo-corner] <Insert dimensions>.

7. Color: [White] <Insert color>.

8. Outlet: Drain with [NPS 2 (DN 50)] <Insert pipe size> outlet[; lip drain outside shower in accordance with the ADA].
Insert drawing designation. Use these designations on Drawings to identify each shower basin.

E. Precast-Terrazzo Shower Basins: <Insert drawing designation>
Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

1. Basis-of-Design Product: Subject to compliance with requirements, provide Acorn Engineering; Morris Group International, model [SBADA] [SBADAR Series] [SBBOD] [SBC] [SBIC] [SBIR] [SBIS] [SBR] [SBS] [SBWA]; <Insert drawing designation> or comparable product by one of the following:

a. Florestone Products Co., Inc.

b. Stern-Williams Co., Inc.

c. <Insert manufacturer's name>.

2. Source Limitations: Obtain shower basins from single source from single manufacturer.

3. Description: Precast-terrazzo base for built-up-type shower fixture.
4. Standard:
a. CSA B45.8/IAPMO Z403.

b. IAPMO PS 99.

c. 2010 ADA Standards for Accessible Design.

5. Threshold Type: [Standard commercial] [Handicapped/accessible].

6. Shape: [Square] [Rectangular] [Corner] [Square, ADA for roll-in] [Rectangular, ADA for roll-in] [Square, ADA with ramp] [Rectangular, ADA with ramp] [Square, non-ADA with ramp] [Rectangular, non-ADA with ramp].

7. Nominal Size:
a. Square: [30 by 30 in. (762 by 762 mm)] [32 by 32 in. (813 by 813 mm)] [34 by 34 in. (864 by 864 mm)] [36 by 36 in. (914 by 914 mm)] [40 by 40 in. (1016 by 1016 mm)] [42 by 42 in. (1067 by 1067 mm)] [48 by 48 in. (1219 by 1219 mm)] <Insert dimensions>.
b. Rectangular: [32 by 36 in. (813 by 914 mm)] [36 by 32 in. (914 by 813 mm)] [36 by 42 in. (914 by 1067 mm)] [36 by 48 in. (914 by 1219 mm)] [42 by 32 in. (1067 by 813 mm)] [42 by 34 in. (1067 by 864 mm)] [42 by 36 in. (1067 by 914 mm)] [48 by 32 in. (1219 by 813 mm)] [48 by 34 in. (1219 by 864 mm)] [48 by 36 in. (1219 by 914 mm)] [54 by 32 in. (1372 by 813 mm)] [60 by 30 in. (1524 by 762 mm)] [60 by 32 in. (1524 by 813 mm)] [60 by 34 in. (1524 by 864 mm)] [60 by 36 in. (1524 by 914 mm)] <Insert dimensions>.
c. Corner: [32 by 32 in. (813 by 813 mm)] [34 by 34 in. (864 by 864 mm)] [36 by 36 in. (914 by 914 mm)] [38 by 38 in. (965 by 965 mm)] [40 by 40 in. (1016 by 1016 mm)] <Insert dimensions>.

d. Square, ADA for Roll-In: 36 by 36 in. (914 by 914 mm).
e. Rectangular, ADA for Roll-In: [60 by 30 in. (1524 by 762 mm)] [60 by 36 in. (1524 by 914 mm)] [64 by 32 in. (1626 by 813 mm)] [64 by 38 in. (1626 by 965 mm)] <Insert dimensions>.

f. Square, With Ramp for ADA: 36 by 36 in. (914 by 914 mm).

g. Rectangular, with Ramp for ADA: [60 by 30 in. (1524 by 762 mm)] [60 by 36 in. (1524 by 914 mm)] [64 by 32 in. (1626 by 813 mm)] [64 by 38 in. (1626 by 965 mm)] <Insert dimensions>.

h. Square, With Ramp, Non-ADA: [36 by 36 in. (914 by 914 mm)] [48 by 48 in. (1219 by 1219 mm)] [60 by 60 in. (1524 by 1524 mm)] <Insert dimensions>.

i. Rectangular, With Ramp, Non-ADA: [42 by 70 in. (1524 by 1778 mm)] [48 by 70 in. (1219 by 1778 mm)] [60 by 48 in. (1524 by 1219 mm)] [60 by 70 in. (1524 by 1778 mm)] <Insert dimensions>.

8. Color: <Insert color > from manufacturer's standard color selection.
In "Outlet" Subparagraph below, back outlet is available as standard feature for 32 by 32 in. (813 by 813 mm) and 36 by 36 in. (914 by 914 mm) square units.
9. Outlet: [Removable stainless steel grid strainer, NPS 2 (DN 50), no-caulk drain] [Back outlet stainless steel strainer 2 in. NPT, female].
Retain "Tiling Flange" Subparagraph below when included in Project design.

10. Tiling Flange: Integral, stainless steel.

a. Square or rectangular fixture: [Rear] [Left and rear] [Right and rear] [Three sides].
b. Corner Fixture: [Left] [Right] [Left and right].

Retain first subparagraph below when rabbeted joint shoulders are included in Project design. Rabbeted joint shoulders may not be available for all product sizes. Verify availability with manufacturer.
11. Rabbeted Joint Shoulders: 1 in. (25 mm), < Insert locations>.
Accessories listed in subparagraph below are optional. Retain only subparagraphs needed to comply with Project design requirements.

12. Accessories:

a. Rubber drain gasket reducer for NPS 2 (DN 50) waste pipe.

b. Vandal resistant strainer.

c. Double drain.
Insert drawing designation. Use these designations on Drawings to identify each shower basin.

F. Solid-Surface Shower Basins: <Insert drawing designation>.
Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

1. Basis-of-Design Product: Subject to compliance with requirements, provide Acorn Engineering; Morris Group International, model [CSB3636] [CSB3636ADA] [CSB6030] [CSB6030ADA] [CSBS-36-3F] [CSBS-42-3F] [CSBR-4234-3F] [CSBADA-36-3F] [CSBRADA-6030-3F]; or comparable product by one of the following:

a. Swan Corporation (The).

b. Tower Industries.

c. Willoughby Industries.

d. <Insert manufacturer's name>.

2. Source Limitations: Obtain shower basins from single source from single manufacturer.

3. Description: Solid-surface base for built-up-type shower fixture with coved corners, pitched to drain outlet for positive drainage.

4. Standard:

a. CSA B45.5/IAPMO Z124.

b. IAPMO PS 99.

Retain option in first subparagraph below when compliance with 2010 version of ADA standard is included in Project design.

c. [2010 ]ADA Standards for Accessible Design.

5. Slip Resistance: Comply with ASTM F462.

6. Certification: Comply with Greenguard Gold standard for maximum chemical emissions.

7. Threshold Type: [Standard commercial] [Handicapped/accessible].

8. Shape: [Square] [Rectangular].

9. Nominal Size:

a. Square: [36 by 36 in. (914 by 914 mm)] [42 by 42 in. (1067 by 1067 mm)] <Insert dimensions>.

b. Rectangular: [42 by 34 in. (1067 by 864 mm)] [60 by 30 in. (1524 by 762 mm)] <Insert dimensions>.

10. Color: <Insert color> from manufacturer's standard color selection.

Retain "Tiling Flange Subparagraph below when included in Project design.

11. Tiling Flange: Integral, stainless steel.

a. Provide shower base with tiling flange on three sides.
12. Drain Opening: Integrally cast opening for NPS 2 (DN 50), no-caulk waste fitting.

13. Drain Fitting: No-caulk type, NPS 2 (DN 50), with removeable round strainer.

Retain first subparagraph below when trench drain is included in Project design. Verify availability of optional finishes with manufacturer of trench drain selected.
14. Trench Drain: Provide rectangular trench cover, Type 304 stainless steel with [No. 4 satin finish] [No. 8 polished mirror finish] [white powder coated finish].
15. Drain Location: [Centered] [Left side entry] [Right side entry].

Retain subparagraph below when included in Project design.
16. Accessories: Anti-microbial additive.

2.5 GROUP SHOWERS

Copy "Group Column Showers" Paragraph below and re-edit for each type of shower required.

Insert drawing designation. Use these designations on Drawings to identify each group column shower.

A. Group Column Showers: <Insert drawing designation>.
Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

1. Basis-of-Design Product: Subject to compliance with requirements, provide Acorn Engineering; Morris Group International, model [620 ] [630 ] [640 ] [650 ] [660 ] [720 ] [730 ] [740 ] [750 ] [760 ]Series; <Insert drawing designation> or comparable product by one of the following:

a. Bradley Corporation.

b. Willoughby Industries.

c. <Insert manufacturer's name>.

2. Source Limitations: Obtain showers from single source from single manufacturer.

Caution: These fixtures require a trap with waste and vent connections for installation in the base and must have vertical vent piping through the top of unit, or they may be installed with trap and vent under the floor below the fixture.

3. Description: Stainless steel, column shower fixture with individual nozzles.

Retain option in "Standards" Subparagraph below when automatic pressure or temperature-pressure compensating mixing valves are included in Project design.
4. Standards: ASME A112.18.1/CSA B125.1[ and ASSE 1016/ASME A112.1016/ CSA B125.16].

5. Material: Type 304 stainless steel column [with upper spray head] [base with multisided upper housing].

6. Finish, Exposed Surfaces: [No. 4 satin finish] [Powder coat from manufacturer's standard color selection].
7. Number of Shower Nozzles: [Two] [Three] [Four] [Five] [Six].

8. Height to Nozzles: [60 in. (1525 mm)] [66 in. (1675 mm)] [72 in. (1830 mm)] <Insert dimension>.

9. Control:

In first subparagraph below, when Acorn Engineering products are selected as basis of design, pressure-balancing option is only available on 700 series, and temperature and pressure-balancing option is only available on 600 series.
a. Provide [hot and cold, dual-handle, on-off] [single-temperature, on-off] [pneumatic, single-temperature, metering push-button] [mechanical, single-temperature, metering push-button] [hot and cold pressure-balancing, single-handle, mixing] [temperature and pressure-balancing, single-handle, mixing] valve.
Retain first subparagraph below when remote-activated shower controls are included in Project design.

b. Provide shower without valves, for remote activation.
In first subparagraph below, retain applicable options when control products by Acorn Engineering are selected as basis of design.

c. Provide single-temperature electronic metering valve, with [piezo-electric programmable] [Time-trol, pre-programmed controller, with pneumatic] [Master-trol, field programmable controller, with pneumatic] [Master-trol, field programmable controller, with piezo-electric] [Master-trol Plus, field programmable controller, with pneumatic] [Master-trol Plus, field-programmable controller, with piezo-electric] type push button and 24 Vac, 50/60 Hz solenoid with electro-polished stainless steel plunger.

Retain first subparagraph below to include thermostatic controller to provide scald protection. This controller is intended for valve control types that are not ASSE-1016 compliant or supplied with compliant tempering valves upstream. Due to space considerations, controller is located above unit and available with vent-off drain designs only.
d. Provide thermostatic controller in concealed location at top of shower column.

Shower head flows in usage-based calculations are limited to 2.5 gpm (9.5 L/min.) per shower stall for LEED v4 and 2.0 gpm (7.6 L/min.) for IgCC. Shower head flows for Green Globes prescriptive compliance are limited to 2.0 gpm (7.6 L/min.).

10. Shower Nozzle, Flow-Control Fitting: [1.6 gpm (6.1 L/min.)] [2.0 gpm (7.6 L/min.)] for each shower head.

Retain one or both of first two subparagraphs below when included in Project design.

11. Liquid Soap Dispenser: Provide for each shower head.

12. Soap Dish: Circular, to accommodate each shower head.

13. Mounting: [Floor flange to mount to drain fitting] [Floor flange to mount to finished floor. Provide column without drain slots].

14. Supplies: NPS 3/4 (DN 20) copper tubing, from [bottom] [top][, and shutoff valve].

15. Drain Fitting:

Retain one of first two subparagraphs below when a drain fitting is included.

a. [NPS 3 (DN 80)] [NPS 4 (DN 100)] no-hub outlet.

b. NPS 3 (DN 80) inside caulk.

c. Provide dome-type drain grate.
16. Drain Line Vent: [NPS 2 (DN 50) through column integral with drain base] [Vent piping in wall].
Retain "Shroud" Subparagraph below when shower column shroud is included in Project design.

17. Shroud: Type 304 stainless steel, with finish matching shower column. Size shroud to cover supply lines and vent piping.
Retain one of first two subparagraphs below.

a. Provide shroud to cover top supply drop and vent piping to ceiling. Include vertical adjustment section.
b. Provide shroud to cover [control valve assembly] [and] [thermostatic controller] only. Include top cover.
Retain first subparagraph below when barrier-free or foot shower is included in Project design. Station incorporates accessible components to assist disabled users. Complete ADA compliance is not possible with column shower designs.

18. Barrier-Free Station: At one station, provide accessible valve control, lowered valve height, diverter valve with lever handle, column-mounted handheld shower head assembly with 60 in. (1524 mm) hose and vertical grab bar.

Retain first subparagraph below when foot shower is included in Project design.

19. Provide foot-operated shower with separate control at one shower station.

Retain first subparagraph below when privacy compartments are included in Project design. When Acorn Engineering products are selected as basis of design, privacy partitions include posts with circular head rail and curtains at each shower station, or modular compartments for four-person design, which can include both bathing and dressing compartments. Circular soap dish is normally not specified in favor of a surface-mounted soap dish or liquid soap dispenser.
20. Privacy Compartments: [Circular] [Modular bathing compartment only] [Modular bathing and dressing compartments].
Accessories listed in subparagraph below are optional. Retain only subparagraphs needed to comply with Project design requirements. Lever handle is only available with single on-off control valve and single-handle mixing valve controls.
21. Accessories:

a. Lever handle.

b. Unit shutoff valve.

c. Adapter for Bradley shower drain.

Retain first subparagraph below when shower is located in a space having lay-in ceiling.

d. Ceiling anchor plate for supply cover.

e. Adjustable height column flange.

Retain one or more of first three subparagraphs below only when shower units include handheld shower heads.

f. Handheld shower head and hose at <Insert number> station[s].
g. Quick disconnect for handheld shower head.

h. Quick disconnect with positive shut-off for handheld shower head.

Retain subparagraphs below when basis-of-design products are equipped with Acorn Engineering's model "MVC Time-trol" electronic valve.

i. Transformer: 120 V ac to 24 V ac.

j. Cycle interrupt.

Copy "Group Wall-Mounted Showers" Paragraph below and re-edit for each type of shower required.

Insert drawing designation. Use these designations on Drawings to identify each group wall-mounted shower.

B. Group Wall-Mounted Showers: <Insert drawing designation>.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

1. Basis-of-Design Product: Subject to compliance with requirements, provide Acorn Engineering; Morris Group International, model [110 ] [110ADA ]Series; <Insert drawing designation> or comparable product by one of the following:

a. Bradley Corporation.

b. Willoughby Industries.

c. <Insert manufacturer's name>.

2. Source Limitations: Obtain showers from single source from single manufacturer.

3. Description: Stainless steel, wall-mounted shower fixture with individual nozzles.

Retain option in "Standards" Subparagraph below when automatic pressure or temperature-pressure compensating mixing valves are included in Project design.

4. Standards: ASME A112.18.1/CSA B125.1[ and ASSE 1016/ASME A112.1016/ CSA B125.16].

5. Submittals: Submit Drawings and product information for wall-mounted shower layout based on construction documents.

6. Housing: Provide wall-mounted, horizontal shower housing(s) consisting of multiple shower stations to suit Project-specific shower room layout and measurements with adjustable overlay components where required for joining adjacent shower housings, corners, open ends and end caps.
7. Provide each shower station consisting of [shower head] [control valve] [and] <Insert type of soap>.
8. Mounting: Wall, surface mounted.
9. Material: Type 304 stainless steel, [16 gauge] [0.063 inch (1.6 mm)] thick.

10. Finish, Exposed Surfaces: [No. 4 satin finish] [Powder coat from manufacturer's standard color selection].

11. Fasteners: Type 18-8 stainless steel, tamper-resistant. Provide stainless steel cage nuts at connections that allow adjustment.
12. Control:

a. Single-handle, ADA-compliant, [ligature-resistant] [lever] handle, thermostatic and pressure-balancing mixing valve and shower head.

1) Indicators: Hot and cold.

2) Antiscald Device: Integral with mixing valve.

3) Valve Body: Solid brass.

4) Check Stops: Check-valve type, integral with or attached to body, on hot- and cold-water supply connections. Include replaceable strainers.
Retain first subparagraph below when pneumatic push buttons are included in Project design.

b. Pneumatic Push Button: Single-temperature, air-controlled, pneumatic push-button-operated metering valve with ADA-compliant[ ligature-resistant hemispherical] push-button control.

1) Valve Body: Noryl.
2) Check Stops: Check-valve type, integral with or attached to body, on hot- and cold-water supply connections. Include replaceable strainers.
c. Electronic Push Button: Provide single-temperature electronic metering valve and shower head, with [piezo-electric programmable] [Time-trol, pre-programmed controller, with pneumatic] [Master-trol, field programmable controller, with pneumatic] [Master-trol, field programmable controller, with piezo-electric] [Master-trol Plus, field programmable controller, with pneumatic] [Master-trol Plus, field-programmable controller, with piezo-electric] type push button and 24 Vac, 50/60 Hz solenoid with electro-polished stainless steel plunger.

1) Valve Body: Noryl.

2) Check Stops: Check-valve type, integral with or attached to body, on hot- and cold-water supply connections. Include replaceable strainers.

Retain "Operation" Subparagraph below when remote-activated shower controls are included in Project design.

d. Operation: Provide shower without valves, for remote activation.

13. Height to Nozzles: [60 inches (1525 mm)] [66 inches (1675 mm)] [72 inches (1830mm)] <Insert dimension>.
In "Supply Connections" Subparagraph below, select connection size in accordance with manufacturer's written instructions to accommodate the number of connected shower heads.

14. Supply Connections: [Wall ] [Top ]supply, <Insert size>.

Retain first subparagraph below for showers with non-metering, single-handle mixing valve types, to prevent bather from leaving water running indefinitely.
15. Provide metering pneumatic push-button valve in shower head riser.

Retain "Vertical Shroud" Subparagraph below for showers with top supply connections, and when shroud is included in Project design.
16. Vertical Shroud: Type 304 stainless steel, with No. 4 finish. Size shroud to cover vertical supply lines.
Retain "Horizontal Shroud" Subparagraph below for showers with wall supply connections to cover supply lines between adjacent shower stations, and when shroud is included in Project design.

17. Horizontal Shroud: Type 304 stainless steel [having 30 degree slope on ] [top ] [bottom ] surfaces, and No. 4 finish. Size shroud to cover horizontal supply lines.

18. Shower Head:

a. Standard: ASME A112.18.1/CSA B125.1.

b. Mount: Front, mounted to housing.

c. Function: [Multi-stream with ball joint] [Security, non-adjustable] [Universal ball joint and head with adjustable stream] [Lockable universal ball joint and head with adjustable stream] [Conical, fixed spray] [WaterSense-certified conical, fixed spray] [Handheld shower head and hose (non-ADA)] <Insert type>.

Retain "EPA WaterSense" Subparagraph below if required for Project. WaterSense labeling is required for compliance with LEED v4 and IgCC.

When Acorn Engineering is selected as basis of design, EPA WaterSense-compliant shower head is available only with conical, fixed spray type head having maximum 1.5 gpm (5.7 L/min.) flow rate.

d. EPA WaterSense: Provide EPA WaterSense-compliant shower head.

Shower head flows in usage-based calculations are limited to 2.5 gpm (9.5 L/min.) per shower stall for LEED v4 and 2.0 gpm (7.6 L/min.) for IgCC. Shower head flows for Green Globes prescriptive compliance are limited to 2.0 gpm (7.6 L/min.).

When Acorn Engineering is selected as basis of design, manufacturer's standard product delivers 1.6 gpm (6.1 L/min.). 1.5 gpm (5.7 L/min.) delivery is available only with conical, fixed spray type head.

e. Shower Head Maximum Flow Rate: [1.5 gpm (5.7 L/min.)] [1.6 gpm (6.1 L/min.)] [2.0 gpm (7.6 L/min.)] [2.5 gpm (9.5 L/min.)].

f. Shower Head Material: Metallic with chrome-plated finish.

In "Spray Pattern" Subparagraph below, retain second option for fixed conical and security shower heads only. Otherwise, retain first option only.

g. Spray Pattern: [Adjustable] [Fixed].

19. Accessories:

a. Surface-mounted soap dish.

b. Recessed soap dish.

Retain first two subparagraphs below when basis-of-design products are equipped with Acorn Engineering's model "MVC Time-trol" electronic valve.

c. Transformer: 120 V ac to 24 V ac.

d. Cycle interrupt.

Retain "Accessible Components" Subparagraph below for ADA-compliant shower requirements.

When used with horizontal modular wall-mounted showers, ADA conformance of accessible shower stations typically requires special adaptation for roll-in or transfer shower stall types. When included in Project design, consult with AHJ to ensure compliance.

20. Accessible Components: 

a. Housing: Provide lowered vertical housing section to match horizontal for locating shower components at required accessible heights and locations.
b. Diverter Valve: Provide concealed two-way with accessible chrome plated [ligature-resistant] [lever] style handle.

c. Accessible Shower Head: Provide [handheld shower head with ON-OFF control, 60 in. (1524 mm) stainless steel hose, and quick-disconnect] [handheld shower head with ON-OFF control, 60 in. (1524 mm) stainless steel hose, and quick-disconnect with positive shut-off] [fixed shower head for mounting 48 in. (1219 mm) above finished floor with shower head that matches upper shower head].

d. Recessed soap dish.

Retain first subparagraph below when grab bar is required by Project design.

e. Grab Bar: Two-wall, 1-1/2 in. (38 mm) OD stainless steel.

Retain first subparagraph below when folding seat is required by Project design.

f. Folding Seat: Provide ADA-compliant [padded vinyl] [phenolic] [stainless steel] folding seat.
21. Provide wall mounting hardware in field.

C. Group Stanchion-Mounted Showers: <Insert drawing designation>.
Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

1. Basis-of-Design Product: Subject to compliance with requirements, provide Acorn Engineering; Morris Group International, model 130 series, Acme Back-to-Back Showers; <Insert drawing designation> or comparable product by one of the following:

a. Bradley Corporation.

b. Willoughby Industries.

c. <Insert manufacturer's name>.

2. Source Limitations: Obtain showers from single source from single manufacturer.

Retain option in "Standards" Subparagraph below when automatic pressure or temperature-pressure compensating mixing valves are included in Project design.

3. Standards: ASME A112.18.1/CSA B125.1[ and ASSE 1016/ASME A112.1016/ CSA B125.16].

4. Submittals: Submit Drawings and product information for stanchion-mounted shower layout based on construction documents.

a. Total Number of Shower Rooms: <Insert number>.

b. Total Number of Standard Shower Stations: <Insert number>.

c. Total Number of Accessible Shower Stations: <Insert number>.

5. Housing Components: Provide stanchion-mounted horizontal back-to-back shower housings consisting of multiple shower stations with sections that suit Project-specific shower room layout and measurements, with adjustable overlay components where required. Provide each shower station with shower head [control valve] [and] [soap dish].
6. Mounting: [Freestanding stanchion-mounted back-to-back horizontal shower panels with floor-mounted vertical stanchions] [Stanchion-mounted back-to-back showers integrated with wall-mounted horizontal shower housing sections] [Stanchion-mounted back-to-back showers integrated with wall-mounted horizontal supply cover housing sections].
a. Provide intermediate stanchion and overlay components as required for joining adjacent shower housings to comprise a complete horizontal modular shower system. Provide overlay sections having minimum 1 inch 25 mm adjustment on each side where they assemble to shower housing.

When Acorn Engineering model 130 is selected as basis of design, retain first or second option in "Material" Subparagraph below for standard product. The thicker materials in third and fourth options are optional.

7. Material: Type 304 stainless steel, [16 gauge] [0.063 inch (1.6 mm)] [14 gauge] [0.078 inch (2.0 mm)] thick.

8. Finish, Exposed Surfaces: [No.4 satin finish] [Powder coat from manufacturer's standard color selection].

9. Stanchion: Provide 3/16 in. (4.8 mm) thick Type 304 stainless steel base flange with bolt holes for mounting to floor.
a. Where stanchion conceals supplies, provide removable insert for access.

b. For floor-to-ceiling stanchion, include vertical adjustment section with ceiling mounting flange at top of stanchion.

10. Fasteners: Type 18-8 stainless steel, tamper-resistant. Provide stainless steel cage nuts at connections that allow adjustment.

11. Control:
Retain one of first three subparagraphs below for manual, bather-operated water controls.

a. Single-handle, ADA-compliant, [ligature-resistant] [lever] handle thermostatic and pressure-balancing mixing valve and shower head.

1) Indicators: Hot and cold.

2) Antiscald Device: Integral with mixing valve.

3) Valve Body: Solid brass.

4) Check Stops: Check-valve type, integral with or attached to body, on hot- and cold-water supply connections. Include replaceable strainers.

Retain first subparagraph below when pneumatic push buttons are included in Project design.

b. Pneumatic Push Button: Single-temperature, air-controlled, pneumatic push-button-operated metering valve with ADA-compliant[ ligature-resistant hemispherical] push-button control.

1) Valve Body: Noryl.

2) Check Stops: Check-valve type, integral with or attached to body, on hot- and cold-water supply connections. Include replaceable strainers.

c. Electronic Push Button: Provide single-temperature electronic metering valve and shower head, with [piezo-electric programmable] [Time-trol, pre-programmed controller, with pneumatic] [Master-trol, field programmable controller, with pneumatic] [Master-trol, field programmable controller, with piezo-electric] [Master-trol Plus, field programmable controller, with pneumatic] [Master-trol Plus, field-programmable controller, with piezo-electric] type push button and 24 Vac, 50/60 Hz solenoid with electro-polished stainless steel plunger.

1) Valve Body: Noryl.

2) Check Stops: Check-valve type, integral with or attached to body, on hot- and cold-water supply connections. Include replaceable strainers.

Retain "Operation" Subparagraph below when remote-activated shower controls are included in Project design.

d. Operation: Provide shower without valves, for remote activation.

12. Height to Nozzles: [60 in. (1525 mm)] [66 in. (1675 mm)] [72 in. (1830 mm)] <Insert dimension>.

In "Supply Connections" Subparagraph below, select connection size in accordance with manufacturer's written instructions to accommodate the number of connected shower heads.

13. Supply Connections: Provide [freestanding vertical stanchion that conceals water supply piping from floor] [freestanding vertical stanchion that conceals water supply piping from ceiling] [wall supply from wall-mounted horizontal housing].
Retain first subparagraph below when stanchion splash panels are included in Project design.

14. Provide splash panels matching stanchion.

Retain first subparagraph below for showers with non-metering, single-handle mixing valve types, to prevent bather from leaving water running indefinitely.
15. Provide metering pneumatic push-button valve in shower head riser.

Retain "Horizontal Shroud" Subparagraph below for showers with wall supply connections to cover supply lines between adjacent shower stations, and when shroud is included in Project design.

16. Horizontal Shroud: Type 304 stainless steel [having 30 degree slope on ] [top ] [bottom ] surfaces, and No. 4 finish. Size shroud to cover horizontal supply lines.

17. Shower Head:

a. Standard: ASME A112.18.1/CSA B125.1.

b. Function: [Multi-stream with ball joint] [Security, non-adjustable] [Universal ball joint and head with adjustable stream] [Lockable universal ball joint and head with adjustable stream] [Conical, fixed spray] [WaterSense-certified conical, fixed spray] [Handheld shower head and hose (non-ADA)] <Insert type>.

Retain "EPA WaterSense" Subparagraph below if required for Project. WaterSense labeling is required for compliance with LEED v4 and IgCC.

When Acorn Engineering is selected as basis of design, EPA WaterSense-compliant shower head is available only with conical, fixed spray type head having maximum 1.5 gpm (5.7 L/min.) flow rate.

c. EPA WaterSense: Provide EPA WaterSense-compliant shower head.

Shower head flows in usage-based calculations are limited to 2.5 gpm (9.5 L/min.) per shower stall for LEED v4 and 2.0 gpm (7.6 L/min.) for IgCC. Shower head flows for Green Globes prescriptive compliance are limited to 2.0 gpm (7.6 L/min.).

When Acorn Engineering is selected as basis of design, manufacturer's standard product delivers 1.6 gpm (6.1 L/min.). 1.5 gpm (5.7 L/min.) delivery is available only with conical, fixed spray type head.

d. Shower Head Maximum Flow Rate: [1.5 gpm (5.7 L/min.)] [1.6 gpm (6.1 L/min.)] [2.0 gpm (7.6 L/min.)] [2.5 gpm (9.5 L/min.)].

e. Shower Head Material: Metallic with chrome-plated finish.

In "Spray Pattern" Subparagraph below, retain second option for fixed conical and security shower heads only. Otherwise, retain first option only.

f. Spray Pattern: [Adjustable] [Fixed].

18. Accessories:

a. Surface-mounted soap dish.

b. Recessed soap dish.

c. Liquid soap dispenser.

Retain one or both of first two subparagraphs below when handheld shower head is required by Project design.

d. Provide quick disconnect for handheld shower head.

e. Quick disconnect with positive shut-off for handheld shower head.

Retain subparagraphs below when basis-of-design products are equipped with Acorn Engineering's model "MVC Time-trol" electronic valve.

f. Transformer: 120 V ac to 24 V ac.

g. Cycle interrupt.

2.6 OUTDOOR SHOWERS

Copy "Outdoor Plastic Showers" Paragraph below and re-edit for each type of shower required.

Insert drawing designation. Use these designations on Drawings to identify each outdoor plastic shower.

A. Outdoor Plastic Showers: <Insert drawing designation>.
Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by one of the following:

a. Bradley Corporation.

b. ShowerTower Inc.

c. <Insert manufacturer's name>.

2. Source Limitations: Obtain showers from single source from single manufacturer.

3. Description: Freestanding, plastic group-shower fixture.

Number retained in "Number of Shower Stations" Subparagraph below must be limited to a combined total of six.

4. Number of Shower Stations: [One] [Two] [Three] [Four] <Insert number up to six> with individual, self-closing control valve(s).

5. Nozzles: With adjustable spray pattern; fixed, on column.

6. Control: Push button and timer.

7. Maximum Flow: 2.5 gpm (9.5 L/min.) for each shower head.

8. Number of Foot-Wash Stations: [One] [Two] <Insert number> with individual, self-closing control valve(s).

9. Hose Bibb: [Not] [One] required.

10. Control-Valve Mounting Height: [50 inches (1270 mm)] [48 inches (1219 mm)].

11. Material: Cast-filled-polymer plastic.

12. Color: [Gray] <Insert color>.

13. Internal Piping: Factory installed.

14. Mounting: Base flange with bolt holes.

Copy "Outdoor Stainless Steel Showers" Paragraph below and re-edit for each type of shower required.

Insert drawing designation. Use these designations on Drawings to identify each outdoor stainless steel shower.

B. Outdoor Stainless Steel Showers: <Insert drawing designation>.
Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

1. Basis-of-Design Product: Subject to compliance with requirements, provide Acorn Engineering; Morris Group International, model Pylon Shower, 900 Series; <Insert drawing designation> or comparable product by one of the following:

a. Bradley Corporation.

b. Most Dependable Fountains, Inc.

c. <Insert manufacturer's name>.

2. Source Limitations: Obtain showers from single source from single manufacturer.

3. Description: Freestanding, stainless steel, outdoor group-shower fixture.

4. Number of Shower Stations: [One] [Two] [Three] [Four], with individual control valve at each station.

5. Height to Nozzles: [60 in. (1525 mm)] [66 in. (1675 mm)] [72 in. (1830 mm)] <Insert dimension>.

6. Control:
Retain first subparagraph below when bather-operated controls are included in Project design.
a. [Single-temperature, on-off canopy handle] [Single-temperature, on-off lever handle] [Pneumatic, single-temperature metering push-button] valve.
Retain first subparagraph below when remote-activated shower controls are included in Project design.

b. Provide shower without valves, for remote activation.

7. Function: [Multi-stream with ball joint] [Security, non-adjustable] [Universal ball joint and head with adjustable stream] [Lockable universal ball joint and head with adjustable stream] <Insert type>.

Shower head flows in usage-based calculations are limited to 2.5 gpm (9.5 L/min.) per shower stall for LEED v4 and 2.0 gpm (7.6 L/min.) for IgCC. Shower head flows for Green Globes prescriptive compliance limited to 2.0 gpm (7.6 L/min.).

8. Flow-Control Fitting: [Not required] [1.6 gpm (6.17 L/min.)] [2.0 gpm (7.6 L/min.)] for each shower head.

9. Supplies: 3/4 NPT pipe connection from below unit. Provide unit with O-ring adapter for assembling shower in ground base.
10. Material: Type 304 stainless steel, [14 gauge] [0.078 inch (2.0 mm)] thick.

a. Provide stainless steel control valve access plate with stainless steel, tamper-resistant fasteners.

11. Finish, Exposed Surfaces: [No. 4 satin finish] [Powder coat from manufacturer's standard color selection].

12. Provide shower unit with factory-installed internal piping.
13. Provide foot shower with individual, control valve at one shower station.

14. Provide hand shower with individual, control valve at one shower station.
15. Mounting: Provide in-ground base with 1/4 inch (6 mm) thick steel plate and number 4 rebar, with bolt holes to match shower unit flange.
a. Provide baste with rust-preventive coating.

Accessories listed in subparagraph below are optional. Retain only subparagraphs needed to comply with Project design requirements.

16. Accessories:

a. High-low mounting brackets for handheld shower head.

b. Provide unit shutoff valve.

2.7 INDIVIDUAL SHOWERS
A. Wall-Mounted, Individual, Non-Accessible, Stainless Steel Shower: <Insert drawing designation>.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

1. Basis-of-Design Product: Subject to compliance with requirements, provide Acorn Engineering; Morris Group International, model [410B] [420B] [450B]; <Insert drawing designation> or comparable product by one of the following:

a. Bradley Corporation.

b. Willoughby Industries.

c. <Insert manufacturer's name>.

2. Source Limitations: Obtain showers from single source from single manufacturer.

3. Housing:

a. Mounting: [Surface, wall-mounted] [Flush-mounted, with in-wall mounting frame] [Surface, corner, wall-mounted] with exposed, tamper resistant, stainless steel fasteners.

b. Material: Type 304 stainless steel, [18 gauge] [0.050 inch (1.3 mm)] thick.

4. Finish, Exposed Surfaces: [No. 4 satin finish] [Powder coat from manufacturer's standard color selection].
5. Control:

Retain one of first three subparagraphs below for manual, bather-operated water controls.

a. Single-handle, ADA-compliant, [ligature-resistant] [lever] handle thermostatic and pressure-balancing mixing valve and shower head.

1) Indicators: Hot and cold.

2) Antiscald Device: Integral with mixing valve.

3) Valve Body: Solid brass.

4) Check Stops: Check-valve type, integral with or attached to body, on hot- and cold-water supply connections. Include replaceable strainers.

Retain first subparagraph below when pneumatic push buttons are included in Project design.

b. Pneumatic Push Button: Single-temperature, air-controlled, pneumatic push-button-operated metering valve with ADA-compliant[ ligature-resistant hemispherical] push-button control.

1) Valve Body: Noryl.

2) Check Stops: Check-valve type, integral with or attached to body, on hot- and cold-water supply connections. Include replaceable strainers.

c. Electronic Push Button: Provide single-temperature electronic metering valve and shower head, with [piezo-electric programmable] [Time-trol, pre-programmed controller, with pneumatic] [Master-trol, field programmable controller, with pneumatic] [Master-trol, field programmable controller, with piezo-electric] [Master-trol Plus, field programmable controller, with pneumatic] [Master-trol Plus, field-programmable controller, with piezo-electric] type push button and 24 Vac, 50/60 Hz solenoid with electro-polished stainless steel plunger.

1) Valve Body: Noryl.

2) Check Stops: Check-valve type, integral with or attached to body, on hot- and cold-water supply connections. Include replaceable strainers.

Retain "Operation" Subparagraph below when remote-activated shower controls are included in Project design.

d. Operation: Provide shower without valves, for remote activation.

Retain first subparagraph below for showers with non-metering, single-handle mixing valve types, to prevent bather from leaving water running indefinitely.
6. Provide metering pneumatic push-button valve in shower head riser.

Retain "Vertical Shroud" Subparagraph below for showers with top supply connections, and when shroud is included in Project design.

7. Vertical Shroud: Type 304 stainless steel, with No. 4 finish. Size shroud to cover vertical supply lines.

8. Shower Head:

a. Standard: ASME A112.18.1/CSA B125.1.

b. Function: [Multi-stream with ball joint] [Security, non-adjustable] [Universal ball joint and head with adjustable stream] [Lockable universal ball joint and head with adjustable stream] [Conical, fixed spray] [WaterSense-certified conical, fixed spray] [Handheld shower head and hose (non-ADA)] <Insert type>.

Retain "EPA WaterSense" Subparagraph below if required for Project. WaterSense labeling is required for compliance with LEED v4 and IgCC.

When Acorn Engineering is selected as basis of design, EPA WaterSense-compliant shower head is available only with conical, fixed spray type head having maximum 1.5 gpm (5.7 L/min.) flow rate.

c. EPA WaterSense: Provide EPA WaterSense-compliant shower head.

Shower head flows in usage-based calculations are limited to 2.5 gpm (9.5 L/min.) per shower stall for LEED v4 and 2.0 gpm (7.6 L/min.) for IgCC. Shower head flows for Green Globes prescriptive compliance are limited to 2.0 gpm (7.6 L/min.).

When Acorn Engineering is selected as basis of design, manufacturer's standard product delivers 1.6 gpm (6.1 L/min.). 1.5 gpm (5.7 L/min.) delivery is available only with conical, fixed spray type head.

d. Shower Head Maximum Flow Rate: [1.5 gpm (5.7 L/min.)] [1.6 gpm (6.1 L/min.)] [2.0 gpm (7.6 L/min.)] [2.5 gpm (9.5 L/min.)].

e. Shower Head Material: Metallic with chrome-plated finish.

In "Spray Pattern" Subparagraph below, retain second option for fixed conical and security shower heads only. Otherwise, retain first option only.

f. Spray Pattern: [Adjustable] [Fixed].

9. Accessories:

a. Surface-mounted soap dish.

b. Recessed soap dish.

c. Liquid soap dispenser.

Retain one or both of first two subparagraphs below when handheld shower head is included in Project design.

d. Provide quick disconnect for handheld shower head.

e. Quick disconnect with positive shut-off for handheld shower head.
Retain first subparagraph below only when handheld shower is selected.

f. High-low mounting brackets for handheld shower head.
Retain first subparagraph below for non-ADA-compliant designs that require glide rails for handheld shower heads.

g. Provide 24 in. (610 mm) glide rail for handheld shower head.
Retain first two subparagraphs below when basis-of-design products are equipped with Acorn Engineering's model "MVC Time-trol" electronic valve.

h. Transformer: 120 V ac to 24 V ac.

i. Cycle interrupt.

10. Provide wall mounting hardware in field.

B. Wall-Mounted, Individual, Accessible, Stainless Steel Shower: <Insert drawing designation>.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

1. Basis-of-Design Product: Subject to compliance with requirements, provide Acorn Engineering; Morris Group International, model [410BADA] [410BADAWH] [410CBCWH] [410BBF] [450BADA] [450BADAWH] [450BBF]; <Insert drawing designation> or comparable product by one of the following:

a. Bradley Corporation.

b. Willoughby Industries.

c. <Insert manufacturer's name>.

2. Source Limitations: Obtain showers from single source from single manufacturer.

Retain option in "Standards" Subparagraph below when automatic pressure or temperature-pressure compensating mixing valves are included in Project design.

3. Standards: ASME A112.18.1/CSA B125.1[ [and ASSE 1016/ASME A112.1016/ CSA B125.16].

Flush-mounted shower designs are recommended for ADA-compliance because surface-mounted shower housings interfere with user's ability to grasp grab bar. Verify with AHJ for compliance if site conditions require surface-mounted accessible shower designs.
4. Housing:

a. Mounting: [Surface, wall-mounted] [Flush-mounted, with in-wall mounting frame] [Surface, corner, wall-mounted] with exposed, tamper-resistant, stainless steel fasteners.

b. Material: Type 304 stainless steel, [18 gauge] [0.050 inch (1.3 mm)] thick.

5. Finish, Exposed Surfaces: [No. 4 satin finish] [Powder coat from manufacturer's standard color selection].

For scald and thermal shock protection of bather, provide field-supplied, upstream, approved tempering valve complying with applicable codes.

6. Control:

Retain one of first three subparagraphs below for manual, bather-operated water controls.

a. Single-handle, ADA-compliant, [ligature-resistant] [lever] handle thermostatic and pressure-balancing mixing valve and shower head.

1) Indicators: Hot and cold.

2) Antiscald Device: Integral with mixing valve.

3) Valve Body: Solid brass.

4) Check Stops: Check-valve type, integral with or attached to body, on hot- and cold-water supply connections. Include replaceable strainers.

Retain first subparagraph below when pneumatic push buttons are included in Project design.

b. Pneumatic Push Button: Single-temperature, air-controlled, pneumatic push-button-operated metering valve with ADA-compliant[ ligature-resistant hemispherical] push-button control.

1) Valve Body: Noryl.

2) Check Stops: Check-valve type, integral with or attached to body, on hot- and cold-water supply connections. Include replaceable strainers.

c. Electronic Push Button: Provide single-temperature electronic metering valve and shower head, with [piezo-electric programmable] [Time-trol, pre-programmed controller, with pneumatic] [Master-trol, field programmable controller, with pneumatic] [Master-trol, field programmable controller, with piezo-electric] [Master-trol Plus, field programmable controller, with pneumatic] [Master-trol Plus, field-programmable controller, with piezo-electric] type push button and 24 Vac, 50/60 Hz solenoid with electro-polished stainless steel plunger.

1) Valve Body: Noryl.

2) Check Stops: Check-valve type, integral with or attached to body, on hot- and cold-water supply connections. Include replaceable strainers.

Retain "Operation" Subparagraph below when remote-activated shower controls are included in Project design.

d. Operation: Provide shower without valves, for remote activation.

e. Supply Connections: NPS 1/2 (DN 15), [wall] [top] supply.

f. Height to Nozzles: [60 in. (1525 mm)] [66 in. (1675 mm)] [72 in. (1830 mm)] <Insert dimension>.

Retain first subparagraph below for showers with non-metering, single-handle mixing valve types, to prevent bather from leaving water running indefinitely.
7. Provide metering pneumatic push-button valve in shower head riser.

Retain "Vertical Shroud" Subparagraph below for showers with top supply connections, and when shroud is included in Project design.

8. Vertical Shroud: Type 304 stainless steel, with No. 4 finish. Size shroud to cover vertical supply lines.

9. Shower Head:

a. Standard: ASME A112.18.1/CSA B125.1.

b. Function: [Multi-stream with ball joint] [Security, non-adjustable] [Universal ball joint and head with adjustable stream] [Lockable universal ball joint and head with adjustable stream] [Conical, fixed spray] [WaterSense-certified conical, fixed spray] [Handheld shower head and hose (non-ADA)] <Insert type>.

Retain "EPA WaterSense" Subparagraph below if required for Project. WaterSense labeling is required for compliance with LEED v4 and IgCC.

When Acorn Engineering is selected as basis of design, EPA WaterSense-compliant shower head is available only with conical, fixed spray type head having maximum 1.5 gpm (5.7 L/min.) flow rate.

c. EPA WaterSense: Provide EPA WaterSense-compliant shower head.

Shower head flows in usage-based calculations are limited to 2.5 gpm (9.5 L/min.) per shower stall for LEED v4 and 2.0 gpm (7.6 L/min.) for IgCC. Shower head flows for Green Globes prescriptive compliance are limited to 2.0 gpm (7.6 L/min.).

When Acorn Engineering is selected as basis of design, manufacturer's standard product delivers 1.6 gpm (6.1 L/min.). 1.5 gpm (5.7 L/min.) delivery is available only with conical, fixed spray type head.

d. Shower Head Maximum Flow Rate: [1.5 gpm (5.7 L/min.)] [1.6 gpm (6.1 L/min.)] [2.0 gpm (7.6 L/min.)] [2.5 gpm (9.5 L/min.)].

e. Shower Head Material: Metallic with chrome-plated finish.

In "Spray Pattern" Subparagraph below, retain second option for fixed conical and security shower heads only. Otherwise, retain first option only.

f. Spray Pattern: [Adjustable] [Fixed].

Retain "Accessible Components" Subparagraph below for ADA-compliant shower requirements.

When used with horizontal modular wall-mounted showers, ADA conformance of accessible shower stations typically requires special adaptation for roll-in or transfer shower stall types. When included in Project design, consult with AHJ to ensure compliance.

10. Accessible Components:

a. Diverter Valve: Provide concealed two-way with accessible chrome plated [ligature-resistant] [lever] style handle and stainless steel trim plate.

b. Accessible Shower Head: Provide [handheld shower head with ON-OFF control, 60 in. (1524 mm) stainless steel hose, and quick-disconnect] [handheld shower head with ON-OFF control, 60 in. (1524 mm) stainless steel hose, and quick-disconnect with positive shut-off] [fixed shower head for mounting 48 in. (1219 mm) above finished floor with shower head that matches upper shower head].
When Acorn Engineering models 410BBF, 410BADAWH, 450BBF, or 450BADAWH are selected, privacy curtain, folding seat, and grab bar are provided as standard equipment. Retain one or more of first three subparagraphs below when included in Project design.

c. Privacy Curtain: Provide Herculite material curtain, 36 in. (9140 mm)-long shower rod and wall mounting clips, curtain hooks.
d. Grab Bar: Two-wall, 1-1/2 in. (38 mm) OD stainless steel.

e. Folding seat: Provide ADA-compliant [padded vinyl] [phenolic] [stainless steel] folding seat.
f. Recessed soap dish.

11. Provide wall mounting hardware in field.

12. Accessories:

a. Surface-mounted soap dish.

b. Recessed soap dish.

c. Liquid soap dispenser.

Retain first two subparagraphs below when basis-of-design products are equipped with Acorn Engineering's model "MVC Time-trol" electronic valve.

d. Transformer: 120 V ac to 24 V ac.

e. Cycle interrupt.

13. Provide wall mounting hardware in field.

2.8 GROUT

A. Standard: ASTM C1107/C1107M, Grade B, post-hardening and volume-adjusting, dry, hydraulic-cement grout.

B. Characteristics: Nonshrink; recommended for interior and exterior applications.

C. Design Mix: 5000 psi (34.5 MPa), 28-day compressive strength.

D. Packaging: Premixed and factory packaged.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine rough-in of water-supply and sanitary drainage and vent piping systems to verify actual locations of piping connections before shower installation.

B. Examine walls and floors for suitable conditions where showers will be installed.

C. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 INSTALLATION

A. Assemble shower components in accordance with manufacturers' written instructions.

B. Install showers level and plumb.
C. Install ball[ or gate] valves in water-supply piping to the shower if supply stops are specified with the shower valve. Comply with valve requirements specified in Section 220523.12 "Ball Valves for Plumbing Piping"[ and Section 220523.15 "Gate Valves for Plumbing Piping."] Install valves in locations that are accessible for ease of operation.
D. Install shower flow-control fittings with specified maximum flow rates in shower arms.

E. Set [shower receptors] [and] [shower basins] in leveling bed of cement grout.

F. Install wall flanges or escutcheons at piping wall penetrations in exposed, finished locations. Use deep-pattern escutcheons if required to conceal protruding fittings. Comply with escutcheons requirements specified in Section 220518 "Escutcheons for Plumbing Piping."
Retain paragraph below if sealants are not specified in Section 079200 "Joint Sealants."
G. Seal joints between showers and floors and walls using sanitary-type, one-part, mildew-resistant silicone sealant. Match sealant color to fixture color. Comply with sealant requirements specified in Section 079200 "Joint Sealants."
3.3 PIPING CONNECTIONS

Coordinate piping installations and specialty arrangements with Drawings and with requirements specified in piping systems. If Drawings are explicit enough, these requirements may be reduced or omitted.

A. Connect fixtures with water supplies, stops, and risers, and with traps, soil, waste, and vent piping. Use size fittings required to match fixtures.

B. Comply with water piping requirements specified in Section 221116 "Domestic Water Piping."
C. Comply with traps and soil and waste piping requirements specified in Section 221316 "Sanitary Waste and Vent Piping."
3.4 ADJUSTING

A. Operate and adjust showers and controls. Replace damaged and malfunctioning showers, fittings, and controls.

B. Adjust water pressure at shower valves to produce proper flow.

3.5 CLEANING AND PROTECTION

A. After completing installation of showers[ and basins], inspect and repair damaged finishes.

B. Clean showers[ and basins], shower valves, and other fittings with manufacturers' recommended cleaning methods and materials.

C. Provide protective covering for installed fixtures and fittings.

D. Do not allow use of showers[ and basins] for temporary facilities unless approved in writing by Owner.

END OF SECTION 224223
	COMMERCIAL SHOWERS
	224223 - 15



