Copyright 2017 AIA
MasterSpec Full Length
03/17 (PM 08/21)
PRODUCT MASTERSPEC LICENSED BY DELTEK, INC. TO ACORN ENGINEERING; MORRIS GROUP INTERNATIONAL.


Copyright 2017 by The American Institute of Architects (AIA)

Exclusively published and distributed by Deltek, Inc for the AIA
This Product MasterSpec Section is licensed by Deltek, Inc. to Acorn Engineering; Morris Group International ("Licensee").

This Product MasterSpec Section modifies the original MasterSpec text and does not include the full content of the original MasterSpec Section.

Revisions made to the original MasterSpec text are made solely by the Licensee and are not endorsed by, or representative of the opinions of, Deltek or The American Institute of Architects (AIA). Neither AIA nor Deltek are liable in any way for such revisions or for the use of this Product MasterSpec Section by any end user. A qualified design professional should review and edit the document to suit project requirements.

For more information, contact Acorn Engineering; Morris Group International, 15125 Proctor Ave., City of Industry, CA 91746; Phone: (626) 336-4561 | (800) 488-8999; Fax: <Insert Fax number>; Website: www.acorneng.com; Email: dyoung@acorneng.com.

For information about MasterSpec, contact Deltek at (800) 424-5080 or visit Masterspec.com

 HYPERLINK "http://" .

SECTION 224216.13 - COMMERCIAL LAVATORIES
Access Product MasterSpec Sections:

<Double click here to view the list of manufacturer Sections available at ProductMasterSpec.com.>
Revise this Section by deleting and inserting text to meet Project-specific requirements.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:

1. Lavatories.

2. Shampoo bowls.

3. Faucets.

4. Supply fittings.

5. Waste fittings.

6. Supports.

1.2 ACTION SUBMITTALS

A. Product Data: For each type of product.

1. Include construction details, material descriptions, dimensions of individual components and profiles, and finishes for lavatories.

2. Include rated capacities, operating characteristics, electrical characteristics, and furnished specialties and accessories.

B. Sustainable Design Submittals:

"Product Data" Subparagraph below applies to LEED (including v4), IgCC, ASHRAE 189.1, and Green Globes for fixtures and equipment that consume water.

1. Product Data: For water consumption.
Retain "Shop Drawings" Paragraph below if automatic, electronic-sensor faucets are required for Project.

C. Shop Drawings: Include diagrams for power, signal, and control wiring of automatic faucets.

1.3 INFORMATIONAL SUBMITTALS

Retain "Coordination Drawings" Paragraph below if coordination is required for installation of products and materials by separate installers.

A. Coordination Drawings: Counter cutout templates for mounting of counter-mounted lavatories.

1.4 CLOSEOUT SUBMITTALS

A. Operation and Maintenance Data: For lavatories and faucets to include in operation and maintenance manuals.

Retain first subparagraph below if automatic, electronic-sensor faucets are required for Project.

1. In addition to items specified in Section 017823 "Operation and Maintenance Data," include the following:

a. Servicing and adjustments of automatic faucets.

1.5 MAINTENANCE MATERIAL SUBMITTALS

A. Furnish extra materials that match products installed and that are packaged with protective covering for storage and identified with labels describing contents.

1. Faucet Washers and O-Rings: Equal to [10] <Insert number> percent of amount of each type and size installed.

2. Faucet Cartridges and O-Rings: Equal to [5] <Insert number> percent of amount of each type and size installed.

PART 2 -  PRODUCTS

Manufacturers and products listed in this Section are neither recommended nor endorsed by the AIA or Deltek. Before selecting manufacturers and products, verify availability, suitability for intended applications, and compliance with minimum performance requirements. For definitions of terms and requirements for Contractor's product selection, see Section 016000 "Product Requirements."
Product options commonly available from manufacturers are included in square brackets throughout the Section Text. Not every manufacturer listed can provide every option offered; verify availability with manufacturers. For definitions of terms and requirements for Contractor's product selection, see Section 016000 "Product Requirements."

Do not use same lavatory designation as is used for another lavatory in Section 224100 "Residential Plumbing Fixtures," Section 224300 "Medical Plumbing Fixtures," and Section 224600 "Security Plumbing Fixtures."

2.1 ENAMELED, CAST-IRON, COUNTER-MOUNTED LAVATORIES

Copy "Lavatory" Paragraph below and re-edit for each type of rectangular, flat-rim, enameled, cast-iron, flush-counter-mounted lavatory required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each lavatory.

A. Lavatory <Insert drawing designation>: Rectangular, flat rim, enameled, cast iron, flush counter mounted.

Retain "Manufacturers" Subparagraph below and list of manufacturers to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by one of the following:

a. Commercial Enameling Company.

b. Kohler Co.

c. <Insert manufacturer's name>.

2. Fixture:

a. Standard: ASME A112.19.1/CSA B45.2.

b. Type: For flush mounting with kit.

c. Nominal Size: Rectangular, [18 by 15 inches (457 by 381 mm)] [20 by 18 inches (508 by 457 mm)].

d. Faucet-Hole Punching: [Three holes, 2 inch (51 mm)] [Three holes, 4 inch (102 mm)] centers.

e. Faucet-Hole Location: Top.

f. Color: [White] <Insert color>.

g. Mounting Materials: With stainless steel ring, and sealant.

3. Faucet: <Insert lavatory faucet designation from "Solid-Brass, Manually Operated Faucets" or "Solid-Brass, Automatically Operated Lavatory Faucets" Article>.

Copy "Lavatory" Paragraph below and re-edit for each type of oval, self-rimming, enameled, cast-iron, counter-mounted lavatory required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each lavatory.

B. Lavatory <Insert drawing designation>: Oval, self-rimming, enameled, cast iron, counter mounted.

Retain "Manufacturers" Subparagraph below and list of manufacturers to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by one of the following:

a. Kohler Co.

b. Zurn Industries, LLC.

c. <Insert manufacturer's name>.

2. Fixture:

a. Standard: ASME A112.19.1/CSA B45.2.

b. Type: Self-rimming for above-counter mounting.

c. Nominal Size: Oval, [20 by 17 inches (508 by 432 mm)] [24 by 18 inches (610 by 457 mm)] <Insert dimensions>.

d. Faucet-Hole Punching: [One hole] [Three holes, 2 inch (51 mm) centers] [Three holes, 4 inch (102 mm) centers].

e. Faucet-Hole Location: Top.

f. Color: [White] <Insert color>.

g. Mounting Material: Sealant.

3. Faucet: <Insert lavatory faucet designation from "Solid-Brass, Manually Operated Faucets" or "Solid-Brass, Automatically Operated Lavatory Faucets" Article>.

Copy "Lavatory" Paragraph below and re-edit for each type of oval, enameled, cast-iron, undercounter-mounted lavatory required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each lavatory.

C. Lavatory <Insert drawing designation>: Oval, enameled, cast iron, undercounter mounted.

Retain "Manufacturers" Subparagraph below and list of manufacturers to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by the following:

a. Kohler Co.

b. <Insert manufacturer's name>.

2. Fixture:

a. Standard: ASME A112.19.1/CSA B45.2.

b. Type: For undercounter mounting.

c. Nominal Size: Oval, [24 by 18 inches (610 by 457 mm)] <Insert dimensions>.

d. Faucet-Hole Punching: No holes.

e. Faucet-Hole Location: On countertop.

f. Color: [White] <Insert color>.

g. Mounting Materials: Sealant and undercounter mounting kit.

3. Faucet: <Insert lavatory faucet designation from "Solid-Brass, Manually Operated Faucets" or "Solid-Brass, Automatically Operated Lavatory Faucets" Article>.

2.2 VITREOUS-CHINA, COUNTER-MOUNTED LAVATORIES

Copy "Lavatory" Paragraph below and re-edit for each type of rectangular, self-rimming, vitreous-china, counter-mounted lavatory required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each lavatory.

A. Lavatory <Insert drawing designation>: Rectangular, self-rimming, vitreous china, counter mounted.

Retain "Manufacturers" Subparagraph below and list of manufacturers to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by one of the following:

a. American Standard.

b. Gerber Plumbing Fixtures LLC.

c. Kohler Co.

d. Mansfield Plumbing Products LLC.

e. TOTO USA, INC.

f. <Insert manufacturer's name>.

2. Fixture:

a. Standard: ASME A112.19.2/CSA B45.1.

b. Type: Self-rimming for above-counter mounting.

c. Nominal Size: Rectangular, [21 by 19 inches (533 by 483 mm)] [24 by 20 inches (610 by 508 mm)] <Insert dimensions>.

d. Faucet-Hole Punching: [One hole] [Three holes, 2 inch (51 mm) centers] [Three holes, 4 inch (102 mm) centers].

e. Faucet-Hole Location: Top.

f. Color: [White] <Insert color>.

g. Mounting Material: Sealant.

3. Faucet: <Insert lavatory faucet designation from "Solid-Brass, Manually Operated Faucets" or "Solid-Brass, Automatically Operated Lavatory Faucets" Article>.

Copy "Lavatory" Paragraph below and re-edit for each type of oval and round self-rimming, vitreous-china, counter-mounted lavatory required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each lavatory.

B. Lavatory <Insert drawing designation>: [Oval] [Round], self-rimming, vitreous china, counter mounted.

Retain "Manufacturers" Subparagraph below and list of manufacturers to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by one of the following:

a. American Standard.

b. Briggs Plumbing Products, Inc.

c. Crane Plumbing, L.L.C.

d. FNW; Ferguson Enterprises, Inc.

e. Gerber Plumbing Fixtures LLC.

f. Kohler Co.

g. Mansfield Plumbing Products LLC.

h. Peerless Pottery Sales, Inc.

i. TOTO USA, INC.

j. Zurn Industries, LLC.

k. <Insert manufacturer's name>.

2. Fixture:

a. Standard: ASME A112.19.2/CSA B45.1.

b. Type: Self-rimming for above-counter mounting.

Retain one of two "Nominal Size" subparagraphs below. Retain first for oval lavatories and second for round lavatories.

c. Nominal Size: Oval, [19 by 17 inches (483 by 432 mm)] [20 by 17 inches (508 by 432 mm)] <Insert dimensions>.

d. Nominal Size: Round, [19 inches (483 mm)] <Insert dimension>.

e. Faucet-Hole Punching: [One hole] [Three holes, 2 inch (51 mm) centers] [Three holes, 4 inch (102 mm) centers].

f. Faucet-Hole Location: Top.

g. Color: [White] <Insert color>.

h. Mounting Material: Sealant.

3. Faucet: <Insert lavatory faucet designation from "Solid-Brass, Manually Operated Faucets" or "Solid-Brass, Automatically Operated Lavatory Faucets" Article>.

Copy "Lavatory" Paragraph below and re-edit for each type of oval, vitreous-china, undercounter-mounted lavatory required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each lavatory.

C. Lavatory <Insert drawing designation>: Oval, vitreous china, undercounter mounted.

Retain "Manufacturers" Subparagraph below and list of manufacturers to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by one of the following:

a. American Standard.

b. Gerber Plumbing Fixtures LLC.

c. Kohler Co.

d. Mansfield Plumbing Products LLC.

e. Peerless Pottery Sales, Inc.

f. Sloan Valve Company.

g. TOTO USA, INC.

h. Zurn Industries, LLC.

i. <Insert manufacturer's name>.

2. Fixture:

a. Standard: ASME A112.19.2/CSA B45.1.

b. Type: For undercounter mounting.

c. Nominal Size: Oval, [19 by 16 inches (483 by 406 mm)] [22 by 14 inches (559 by 356 mm)] [23 by 15 inches (584 by 381 mm)] <Insert dimensions>.

d. Faucet-Hole Punching: No holes.

e. Faucet-Hole Location: On countertop.

f. Color: [White] <Insert color>.

g. Mounting Material: Sealant and undercounter mounting kit.

3. Faucet: <Insert lavatory faucet designation from "Solid-Brass, Manually Operated Faucets" or "Solid-Brass, Automatically Operated Lavatory Faucets" Article>.

2.3 STAINLESS STEEL, WALL-MOUNTED LAVATORIES

Copy "Lavatory" Paragraph below and re-edit for each type of rectangular, enameled, cast-iron, wall-mounted lavatory required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each lavatory.

A. Lavatory <Insert drawing designation>: Stainless steel, wall mounted.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

Retain Acorn Engineering model 1950, 1951, 1953, or 1955 when mounting to reinforced wall is required.

Retain model 1950LC, 1951LC, or 1953LC when mounting with arm-type carrier is required.

Retain model 1953 or 1953LC when ADA compliance is required.

1. Basis-of-Design Product: Subject to compliance with requirements, provide Acorn Engineering; Morris Group International; Dura-Ware model [1950] [1950LC] [1951] [1951LC] [1953] [1953LC] [1955] <Insert product name or designation> or comparable by one of the following:

a. Metcraft Industries, Inc.

b. Willoughby Industries.

c. <Insert manufacturer's name>.
2. Fixture:

a. Applicable Standards:

Retain one or more of first three subparagraphs below when compliance with referenced standards is required to comply with Project design objectives, or when required by state or local code or AHJ.

1) ASME A112.19.1/CSA B45.2.
Retain first subparagraph below when selected units are ADA-compliant design.

2) ICC A117.1.

3) NSF/ANSI 61, NSF/ANSI 372.
In "Material" Subparagraph below, basis-of-design product manufacturer's standard material thickness is 16 gauge for all units with the exception of "Model 1955" which is fabricated from 18 gauge.

b. Material: [16 gauge] [18 gauge] thickness, Type 304 stainless steel.

c. Finish: [No. 4 satin] [Powder-coated] finish on exposed surfaces <Insert color from manufacturer's color chart>.
d. Receptor: Provide manufacturer's standard unit shape and configuration for each model number furnished. Provide units with integral soap depression and integral backsplash.

In "Type" Subparagraph below, retain fifth option and delete the rest of subparagraph when Acorn Engineering model 1955 is selected.
e. Hot- and Cold-Water Supply Valves:

1) Type: [Pneumatic, nonmetering] [Pneumatic, metering] [Pneumatic, nonmetering on hot water side only] [Electronic] type <Insert designation>, with push-button actuation and individual check stops complying with ASME A112.18.1/CSA B125.1.[ Fixture punched for valve furnished separately.]

2) Temperature: [Single] [Separate hot and cold] temperature.

f. Valve Water Outlet:
Retain one of first three subparagraphs below to coincide with lavatory faucet configuration selected.
Deck-mounted spout is only available with Acorn Engineering "Air-control, Time-trol," piezo valve type.

1) Deck-mounted spout.

2) Centerset faucet with gooseneck spout and wrist blade handles.
3) Centerset faucet with spout.
g. Drain: 1-1/2 inch (38 mm) punching.

h. Waste Connection: [Grid strainer with close elbow] [Grid strainer with 1-1/2 inch (38 mm) OD tailpiece] [Tubular P-trap with 1-1/2 inch (38 mm) OD plain-end] <Insert type>.

All accessories listed in first subparagraph below are optional. Retain only subparagraphs needed to comply with Project design requirements.

3. Accessories:

In "Angle braces" Subparagraph below, angle braces are provided standard with Acorn Engineering model 1953 and 1953LC ADA compliant models. Braces are not included with model 1955.

a. Angle braces.

In "Brass valve body" Subparagraph below, this valve is only offered with Acorn Engineering model "Air-control, Time-trol" piezo valve type.

b. Brass valve body.

c. 14 gauge housing.

If Acorn model 1955 fixture is specified, delete first three subparagraphs below.
d. Integral shelf.

e. Lavatory overflow.

f. Elbow enclosure.

Retain "Integral Transformer" Subparagraph below if MVC valve is specified.

g. Integral Transformer: 120 V ac to 24 V ac.

4. Mounting: 

a. Wall-Mounted: Installed from fixture side to reinforced wall with backing to match manufacturers mounting locations.

Retain "Carrier Support" Subparagraph below when Acorn Engineering models 1950LC, 1951LC, and 1953LC are selected. These fixtures are intended for mounting with a carrier support.

b. Carrier Support: [Lavatory carrier] <Insert carrier> with fixture support arms, fixture bolts and hardware matching fixture.[ Include rectangular, steel uprights.]

2.4 ENAMELED, CAST-IRON, WALL-MOUNTED LAVATORIES

Copy "Lavatory" Paragraph below and re-edit for each type of rectangular, enameled, cast-iron, wall-mounted lavatory required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each lavatory.

A. Lavatory <Insert drawing designation>: Rectangular, enameled, cast iron, wall mounted.

Retain "Manufacturers" Subparagraph below and list of manufacturers to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by one of the following:

a. American Standard.

b. Kohler Co.

c. Zurn Industries, LLC.
d. <Insert manufacturer's name>.
2. Fixture:

a. Standard: ASME A112.19.1/CSA B45.2.

b. Type: Straight-front apron with straight back.

c. Nominal Size: Rectangular, [19 by 17 inches (483 by 432 mm)] [20 by 18 inches (508 by 457 mm)].

d. Faucet-Hole Punching: [One hole] [Three holes, 2 inch (51 mm) centers] [Three holes, 4 inch (102 mm) centers].

e. Faucet-Hole Location: Top.

f. Color: [White] <Insert color>.

g. Mounting Material: Wall bracket.

3. Faucet: <Insert lavatory faucet designation from "Solid-Brass, Manually Operated Faucets" or "Solid-Brass, Automatically Operated Lavatory Faucets" Article>.

Coordinate "Support" Subparagraph below with "Supports" Article.

4. Support: [Type III lavatory carrier.] [ Include rectangular, steel uprights.] <Insert carrier>.

5. Lavatory Mounting Height: [Standard] [Child] [Handicapped/elderly in accordance with ICC A117.1].

Copy "Lavatory" Paragraph below and re-edit for each type of corner, enameled, cast-iron, wall-mounted lavatory required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each lavatory.

B. Lavatory <Insert drawing designation>: Corner, enameled, cast iron, wall mounted.

Retain "Manufacturers" Subparagraph below and list of manufacturers to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by the following:

a. Kohler Co.

b. <Insert manufacturer's name>.

2. Fixture:

a. Standard: ASME A112.19.1/CSA B45.2.

b. Type: Three-sided-front apron with three-sided back.

c. Nominal Size: Corner, 11 by 11 inches (279 by 279 mm).

d. Faucet-Hole Punching: Three holes, 2 inch (51 mm) centers.

e. Faucet-Hole Location: Top.

f. Color: [White] <Insert color>.

g. Mounting Material: Wall brackets.

3. Faucet: Manufacturer's standard; factory installed.

Coordinate "Support" Subparagraph below with "Supports" Article.

4. Support: Type III lavatory carrier with two hanger plates made for corner lavatories.[ Include rectangular, steel uprights.] <Insert carrier>.
5. Lavatory Mounting Height: [Standard] [Child] [Handicapped/elderly in accordance with ICC A117.1].

2.5 VITREOUS-CHINA, WALL-MOUNTED LAVATORIES

Copy "Lavatory" Paragraph below and re-edit for each type of vitreous-china, wall-mounted lavatory with back required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each lavatory.

A. Lavatory <Insert drawing designation>: Vitreous china, wall mounted, with back.

Retain "Manufacturers" Subparagraph below and list of manufacturers to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by one of the following:

a. American Standard.

b. Briggs Plumbing Products, Inc.

c. Gerber Plumbing Fixtures LLC.

d. Kohler Co.

e. Mansfield Plumbing Products LLC.

f. Peerless Pottery Sales, Inc.

g. Sloan Valve Company.

h. Zurn Industries, LLC.

i. <Insert manufacturer's name>.

2. Fixture:

a. Standard: ASME A112.19.2/CSA B45.1.

b. Type: For wall hanging.

c. Nominal Size: Oval, [19 by 16 inches (483 by 406 mm)] [22 by 14 inches (559 by 356 mm)] [23 by 15 inches (584 by 381 mm)] <Insert dimensions>.

d. Faucet-Hole Punching: [One hole] [Three holes, 2 inch (51 mm) centers] [Three holes, 4 inch (102 mm) centers].

e. Faucet-Hole Location: Top.

f. Color: [White] <Insert color>.

g. Mounting Material: Chair carrier.

3. Faucet: <Insert lavatory faucet designation from "Solid-Brass, Manually Operated Faucets" or "Solid-Brass, Automatically Operated Lavatory Faucets" Article>.

Coordinate "Support" Subparagraph below with "Supports" Article.

4. Support: [Type I, exposed-arm lavatory carrier] [Type II, concealed-arm lavatory carrier] [Type II, concealed-arm lavatory carrier with escutcheons].[ Include rectangular, steel uprights.]

5. Lavatory Mounting Height: [Standard] [Child] [Handicapped/elderly in accordance with ICC A117.1].

Copy "Lavatory" Paragraph below and re-edit for each type of ledge-back, vitreous-china, wall-mounted lavatory required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each lavatory.

B. Lavatory <Insert drawing designation>: Ledge back, vitreous china, wall mounted.

Retain "Manufacturers" Subparagraph below and list of manufacturers to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by one of the following:

a. American Standard.

b. Briggs Plumbing Products, Inc.

c. Gerber Plumbing Fixtures LLC.

d. Kohler Co.

e. Mansfield Plumbing Products LLC.

f. Peerless Pottery Sales, Inc.

g. Sloan Valve Company.

h. <Insert manufacturer's name>.

2. Fixture:

a. Standard: ASME A112.19.2/CSA B45.1.

b. Type: For wall hanging.

c. Nominal Size: Oval, [19 by 16 inches (483 by 406 mm)] [22 by 14 inches (559 by 356 mm)] [23 by 15 inches (584 by 381 mm)] <Insert dimensions>.

d. Faucet-Hole Punching: [One hole] [Three holes, 2 inch (51 mm) centers] [Three holes, 4 inch (102 mm) centers].

e. Faucet-Hole Location: Top.

f. Color: [White] <Insert color>.

g. Mounting Material: Chair carrier.

3. Faucet: <Insert lavatory faucet designation from "Solid-Brass, Manually Operated Faucets" or "Solid-Brass, Automatically Operated Lavatory Faucets" Article>.

Coordinate "Support" Subparagraph below with "Supports" Article.

4. Support: [Type I, exposed-arm lavatory carrier] [Type II, concealed-arm lavatory carrier] [Type II, concealed-arm lavatory carrier with escutcheons].[ Include rectangular, steel uprights.] <Insert carrier>.
5. Lavatory Mounting Height: [Standard] [Child] [Handicapped/elderly in accordance with ICC A117.1].

Copy "Lavatory" Paragraph below and re-edit for each type of slab-type, vitreous-china, wall-mounted lavatory required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each lavatory.

C. Lavatory <Insert drawing designation>: Slab type, vitreous china, wall mounted.

Retain "Manufacturers" Subparagraph below and list of manufacturers to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by one of the following:

a. American Standard.

b. Gerber Plumbing Fixtures LLC.

c. Kohler Co.

d. Zurn Industries, LLC.

e. <Insert manufacturer's name>.

2. Fixture:

a. Standard: ASME A112.19.2/CSA B45.1.

b. Type: For wall hanging.

c. Nominal Size: Oval, [19 by 16 inches (483 by 406 mm)] [22 by 14 inches (559 by 356 mm)] [23 by 15 inches (584 by 381 mm)] <Insert dimensions>.

d. Faucet-Hole Punching: [One hole] [Three holes, 2 inch (51 mm) centers] [Three holes, 4 inch (102 mm) centers].

e. Faucet-Hole Location: Top.

f. Color: [White] <Insert color>.

g. Mounting Material: Chair carrier.

3. Faucet: <Insert lavatory faucet designation from "Solid-Brass, Manually Operated Faucets" or "Solid-Brass, Automatically Operated Lavatory Faucets" Article>.

Coordinate "Support" Subparagraph below with "Supports" Article.

4. Support: [Type I, exposed-arm lavatory carrier] [Type II, concealed-arm lavatory carrier] [Type II, concealed-arm lavatory carrier with escutcheons].[ Include rectangular, steel uprights.]<Insert carrier>.

5. Lavatory Mounting Height: [Standard] [Child] [Handicapped/elderly in accordance with ICC A117.1].

Copy "Lavatory" Paragraph below and re-edit for each type of wheelchair, vitreous-china, wall-mounted lavatory required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each lavatory.

D. Lavatory <Insert drawing designation>: Wheelchair, vitreous china, wall mounted.

Retain "Manufacturers" Subparagraph below and list of manufacturers to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by one of the following:

a. American Standard.

b. Gerber Plumbing Fixtures LLC.

c. Kohler Co.

d. Mansfield Plumbing Products LLC.

e. Peerless Pottery Sales, Inc.

f. Sloan Valve Company.

g. Zurn Industries, LLC.

h. <Insert manufacturer's name>.

2. Fixture:

a. Standard: ASME A112.19.2/CSA B45.1.

b. Type: Slab or wheelchair.

c. Nominal Size: Rectangular, 27 by 20 inches (686 by 508 mm).

d. Faucet-Hole Punching: Three holes, [2 inch (51 mm)] <Insert dimension> centers.

e. Faucet-Hole Location: Top.

f. Color: [White] <Insert color>.

g. Mounting: For concealed-arm carrier.

3. Faucet: <Insert lavatory faucet designation from "Solid-Brass, Manually Operated Faucets" or "Solid-Brass, Automatically Operated Lavatory Faucets" Article>.

Coordinate "Support" Subparagraph below with "Supports" Article.

4. Support: [Type II, concealed-arm lavatory carrier] [Type II, concealed-arm lavatory carrier with escutcheons].[ Include rectangular, steel uprights.]

5. Lavatory Mounting Height: [Child] [Handicapped/elderly in accordance with ICC A117.1].

Copy "Lavatory" Paragraph below and re-edit for each type of corner-type, vitreous-china, wall-mounted lavatory required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each lavatory.

E. Lavatory <Insert drawing designation>: Corner type, vitreous china, wall mounted.

Retain "Manufacturers" Subparagraph below and list of manufacturers to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by the following:

a. American Standard.

b. <Insert manufacturer's name>.

2. Fixture:

a. Standard: ASME A112.19.2/CSA B45.1.

b. Type: Three-sided-front apron with three-sided back.

c. Nominal Size: Corner, 16 by 16 inches (406 by 406 mm).

d. Faucet-Hole Punching: Three holes, 2-inch (51-mm) centers.

e. Faucet-Hole Location: Back wall.

f. Color: [White] <Insert color>.

g. Mounting Materials: Wall brackets.

3. Faucet: Manufacturer's standard; solid brass; factory installed.

Coordinate "Support" Subparagraph below with "Supports" Article.

4. Support: [Type III lavatory carrier with two hanger plates made for corner lavatories.][ Include rectangular, steel uprights.] <Insert carrier>.
5. Lavatory Mounting Height: [Standard] [Child] [Handicapped/elderly in accordance with ICC A117.1].

2.6 SHAMPOO BOWLS

Caution: Shampoo bowls in this article can be counter mounted, wall mounted using a manufacturer-supplied bracket, or mounted in a base unit. Wall-mounted bowls may require additional underbowl or other support.

Copy "Shampoo Bowls" Paragraph below and re-edit for each type of enameled, cast-iron shampoo bowl required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each shampoo bowl.

A. Shampoo Bowls <Insert drawing designation>: Enameled, cast iron.

Retain "Manufacturers" Subparagraph below and list of manufacturers to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by one of the following:

a. Belvedere, LLC.

b. Takara Belmont.

c. <Insert manufacturer's name>.

2. Fixture:

a. Standard: ASME A112.19.2/CSA B45.1.

b. Bowl: Shaped for head rest.

c. Nominal Size: [19 by 19 by 10 inches (483 by 483 by 250 mm)] <Insert dimensions>.

d. Color: [White] <Insert color>.

3. Faucet: Manufacturer's standard with vacuum breaker complying with ASME A112.18.3 and with hose spray head.

4. Waste Fittings: Comply with requirements in "Waste Fittings" Article except as follows:

a. Drain: Cup type with hair basket and NPS 1-1/2 (DN 40) tailpiece.

b. Trap Size: NPS 1-1/2 (DN 40).

5. Mounting Material: [Bracket or devices for attaching to counter] [Wall bracket].

Copy "Shampoo Bowls" Paragraph below and re-edit for each type of plastic shampoo bowl required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each shampoo bowl.

B. Shampoo Bowls <Insert drawing designation>: Plastic.

Retain "Manufacturers" Subparagraph below and list of manufacturers to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by the following:

a. Belvedere, LLC.

b. <Insert manufacturer's name>.

2. Fixture:

a. Standard: ANSI Z124.3 or ANSI Z124.6.

b. Material: [Plastic] [FRP] [PMMA] <Insert material>.

c. Bowl: Shaped for head rest.

d. Nominal Size: [19 by 19 by 10 inches (483 by 483 by 250 mm)] <Insert dimensions>.

e. Color: [White] <Insert color>.

f. Mounting Material: [Bracket or devices for attaching to counter] [Wall bracket].

3. Faucet: Manufacturer's standard with vacuum breaker complying with ASME A112.18.3 and with hose spray head.

4. Waste Fittings: Comply with requirements in "Waste Fittings" Article except as follows:

a. Drain: Cup type with hair basket and NPS 1-1/2 (DN 40) tailpiece.

b. Trap Size: NPS 1-1/2 (DN 40).

Copy "Shampoo Bowls" Paragraph below and re-edit for each type of solid-surface-material shampoo bowl required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each shampoo bowl.

C. Shampoo Bowls <Insert drawing designation>: Solid-surface material.

Retain "Manufacturers" Subparagraph below and list of manufacturers to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by the following:

a. Willoughby Industries.

b. <Insert manufacturer's name>.

2. Fixture:

a. Standard: ANSI/ICPA SS-1 for solid-surface materials.

b. Material: Molded, cast polymer.

c. Bowl: Shaped for head rest.

d. Nominal Size: [19 by 19 by 9 inches (483 by 483 by 229 mm)] [20 by 18 by 9 inches (508 by 457 by 229 mm)] <Insert dimensions>.

e. Color: [Gray granite] [Sandstone] [White granite] <Insert color>.

f. Mounting Material: [Bracket or devices for attaching to counter] [Wall bracket].

3. Faucet: Manufacturer's standard with vacuum breaker complying with ASME A112.18.3 and with hose spray head.

4. Waste Fittings: Comply with requirements in "Waste Fittings" Article except as follows:

a. Drain: Cup type with hair basket and NPS 1-1/2 (DN 40) tailpiece.

b. Trap Size: NPS 1-1/2 (DN 40).

2.7 SOLID-BRASS, MANUALLY OPERATED FAUCETS

A. NSF Standard: Comply with NSF 372 for faucet materials that will be in contact with potable water.

Copy "Lavatory Faucets" Paragraph below and re-edit for each type of manual-type, solid-brass valve required.

Insert number to complete drawing designation. Use these designations in lavatory description to identify required faucet for that lavatory.

B. Lavatory Faucets <Insert designation>: Manual-type, [single-control mixing] [single-control nonmixing] [two-handle mixing], [commercial] [general-duty], solid-brass valve.

Retain "Manufacturers" Subparagraph below and list of manufacturers to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by one of the following:

a. American Standard.

b. CHG; Component Hardware Group, Inc.

c. Chicago Faucets; Geberit Company.

d. Delta Faucet Company.

e. Elkay Manufacturing Co.

f. Gerber Plumbing Fixtures LLC.

g. GROHE America, Inc.

h. Just Manufacturing.

i. Kohler Co.

j. Moen Incorporated.

k. Speakman Company.

l. T&S Brass and Bronze Works, Inc.

m. Zurn Industries, LLC.

n. <Insert manufacturer's name>.

2. Standard: ASME A112.18.1/CSA B125.1.

3. General: Include hot- and cold-water indicators; coordinate faucet inlets with supplies and fixture hole punchings; coordinate outlet with spout and fixture receptor.

Body type in "Body Type" Subparagraph below must match fixture hole punching.

4. Body Type: [Centerset] [Widespread] [Single hole] <Insert type>.

5. Body Material: Commercial, solid brass.

6. Finish: [Polished chrome plate] <Insert finish>.

Retain "Maximum Flow Rate" or "Maximum Flow" Subparagraph below.

7. Maximum Flow Rate: [0.5 gpm (1.5 L/min.)] <Insert value>.

8. Maximum Flow: [0.25 gal. (0.95 L)] <Insert value> per metering cycle.

9. Mounting Type: [Deck, exposed] [Deck, concealed] [Back/wall, exposed] [Back/wall, concealed].

10. Valve Handle(s): [Single lever] [Knob] [Knob, nonmetallic] [Cross, three arm] [Cross, four arm] [Wrist blade, 4 inches (102 mm)] [Elbow, 6 inches (152 mm)] [Push button] <Insert type>.

11. Spout: [Rigid] [Swing] [Rigid, gooseneck] [Swivel, gooseneck] type.

12. Spout Outlet: [Aerator] [Laminar flow] [Spray] <Insert type>.

13. Operation: [Compression, manual] [Noncompression, manual].

14. Drain: [Not part of faucet] <Insert type>.

2.8 SOLID-BRASS, AUTOMATICALLY OPERATED LAVATORY FAUCETS

A. NSF Standard: Comply with NSF 372 for faucet materials that will be in contact with potable water.

Copy "Lavatory Faucets" Paragraph below and re-edit for each type of automatic-type, electronic-sensor-operated, solid-brass valve required.

Insert number to complete drawing designation. Use these designations in lavatory description to identify required faucet for that lavatory.

B. Lavatory Faucets <Insert designation>: Automatic-type, [battery-powered,] [hard-wired,] electronic-sensor-operated, [mixing] [nonmixing], solid-brass valve.

Retain "Manufacturers" Subparagraph below and list of manufacturers to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by one of the following:

a. Advanced Modern Technologies Corporation - AMTC.

b. American Standard.

c. Bradley Corporation.

d. Chicago Faucets; Geberit Company.

e. Gerber Plumbing Fixtures LLC.

f. GROHE America, Inc.

g. Hydrotek International, Inc.

h. Kohler Co.

i. Moen Incorporated.

j. Sloan Valve Company.

k. Speakman Company.

l. Stern Engineering Ltd.

m. T&S Brass and Bronze Works, Inc.

n. TOTO USA, INC.

o. Zurn Industries, LLC.

p. <Insert manufacturer's name>.

2. Standards: ASME A112.18.1/CSA B125.1 and UL 1951.

3. Electrical Components, Devices, and Accessories: Listed and labeled as defined in NFPA 70, by a qualified testing agency, and marked for intended location and application.

4. General: Include hot- and cold-water indicators; coordinate faucet inlets with supplies and fixture hole punchings; coordinate outlet with spout and fixture receptor.

Body type in "Body Type" Subparagraph below must match fixture hole punching.

5. Body Type: [Single hole] <Insert type>.

6. Body Material: [Commercial] [General-duty], solid brass.

7. Finish: [Polished chrome plate] <Insert finish>.

8. Maximum Flow Rate: [0.5 gpm (1.5 L/min.)] <Insert value>.

9. Mounting Type: [Deck, concealed] [Back/wall, concealed] <Insert type>.

10. Spout: [Rigid] [Swing] [Rigid, gooseneck] [Swivel, gooseneck] type.

11. Spout Outlet: [Aerator] [Laminar flow] [Spray] <Insert type>.

12. Drain: [Not part of faucet] <Insert type>.

2.9 LAMINAR-FLOW, FAUCET-SPOUT OUTLETS

Spout outlets in this article are non-aerating, produce less splashing than conventional faucet spouts, and help reduce bacteria growth.

A. NSF Standard: Comply with NSF 372 for faucet-spout-outlet materials that will be in contact with potable water.

Retain "Manufacturers" Paragraph below and list of manufacturers to require products from manufacturers listed or a comparable product from other manufacturers.

B. Manufacturers: Subject to compliance with requirements, provide products by one of the following:

1. AM Conservation Group, Inc.

2. Chronomite Laboratories, Inc; a division of Morris Group International.

3. NEOPERL, Inc.

4. T&S Brass and Bronze Works, Inc.

5. <Insert manufacturer's name>.

C. Description: Chrome-plated-brass, faucet-spout outlet that produces non-aerating, laminar stream. Include external or internal thread that mates with faucet outlet for attachment to faucets where indicated and flow-rate range that includes flow of faucet.

Retain "Manufacturers" Subparagraph below and list of manufacturers to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by one of the following:

a. Jay R. Smith Mfg Co; a division of Morris Group International.

b. Josam Company.

c. MIFAB, Inc.

d. Wade Drains.

e. WATTS.

f. Zurn Industries, LLC.

g. <Insert manufacturer's name>.

2.10 SUPPLY FITTINGS

A. NSF Standard: Comply with NSF 372 for supply-fitting materials that will be in contact with potable water.

B. Standard: ASME A112.18.1/CSA B125.1.

C. Supply Piping: Chrome-plated-brass pipe or chrome-plated copper tube matching water-supply piping size. Include chrome-plated-brass or stainless steel wall flange.

D. Supply Stops: Chrome-plated-brass, one-quarter-turn, ball-type or compression valve with inlet connection matching supply piping.

Retain "Wheel handle" option in "Operation" Paragraph below for one-quarter-turn, ball-type stops.

E. Operation: [Loose key] [Wheel handle] <Insert type>.

F. Risers:

1. [NPS 3/8 (DN 10)] [NPS 1/2 (DN 15)].

2. [Chrome-plated, rigid-copper-pipe and brass straight or offset tailpieces] [Chrome-plated, soft-copper flexible tube] [ASME A112.18.6, braided- or corrugated-stainless steel, flexible hose] riser.

2.11 WASTE FITTINGS

A. Standard: ASME A112.18.2/CSA B125.2.

B. Drain: Grid type with NPS 1-1/4 (DN 32) offset and straight tailpiece.

C. Trap:

1. Size: [NPS 1-1/2 by NPS 1-1/4 (DN 40 by DN 32)] [NPS 1-1/4 (DN 32)].

Retain one of two "Material" subparagraphs below.

2. Material: Chrome-plated, [two-piece, cast-brass trap and swivel elbow with 0.032 inch- (0.83 mm-) thick brass tube to wall] [two-piece, cast-brass trap and ground-joint swivel elbow with 0.032 inch- (0.83 mm-) thick brass tube to wall] [one-piece, cast-brass trap with swivel 0.029 inch- (73 mm-) thick tubular brass wall bend] <Insert trap type>; and chrome-plated, brass or steel wall flange.

3. Material: Stainless steel, two-piece trap and swivel elbow with 0.012 inch- (0.30 mm-) thick stainless steel tube to wall; and stainless steel wall flange.

2.12 SUPPORTS

Copy "Lavatory Carrier" Paragraph below and re-edit for each type of support required.

A. Type II Lavatory Carrier:

Retain "Manufacturers" Subparagraph below and list of manufacturers to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by one of the following:

a. Jay R. Smith Mfg. Co.

b. Josam Company.

c. MIFAB, Inc.

d. Wade Drains.

e. Watts; a Watts Water Technologies company.

f. Zurn Industries, LLC.

g. <Insert manufacturer's name>.

2. Standard: ASME A112.6.1M.

B. Type III Lavatory Carrier:

Retain "Manufacturers" Subparagraph below and list of manufacturers to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by one of the following:

a. Jay R. Smith Mfg. Co.

b. Josam Company.

c. MIFAB, Inc.

d. Wade Drains.

e. Watts; a Watts Water Technologies company.

f. Zurn Industries, LLC.

g. <Insert manufacturer's name>.

2. Standard: ASME A112.6.1M.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine roughing-in of water supply and sanitary drainage and vent piping systems to verify actual locations of piping connections before lavatory installation.

B. Examine counters and walls for suitable conditions where lavatories will be installed.

C. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 INSTALLATION

A. Install lavatories level and plumb in accordance with roughing-in drawings.

B. Install supports, affixed to building substrate, for wall-mounted lavatories.

Indicate on Drawing those lavatories that are required to be accessible.

C. Install accessible wall-mounted lavatories at handicapped/elderly mounting height for people with disabilities or the elderly, in accordance with ICC/ANSI A117.1.

D. Install wall flanges or escutcheons at piping wall penetrations in exposed, finished locations. Use deep-pattern escutcheons if required to conceal protruding fittings. Comply with escutcheon requirements specified in Section 220518 "Escutcheons for Plumbing Piping."

E. Seal joints between lavatories, counters, and walls using sanitary-type, one-part, mildew-resistant silicone sealant. Match sealant color to fixture color. Comply with sealant requirements specified in Section 079200 "Joint Sealants."

Indicate on Drawings those lavatories that are required to be accessible.

F. Install protective shielding pipe covers and enclosures on exposed supplies and waste piping of accessible lavatories. Comply with requirements in Section 220719 "Plumbing Piping Insulation."

3.3 CONNECTIONS

Coordinate piping installations and specialty arrangements with schematics on Drawings and with requirements specified in piping systems. If Drawings are explicit enough, these requirements may be reduced or omitted.

A. Connect fixtures with water supplies, stops, and risers, and with traps, soil, waste, and vent piping. Use size fittings required to match fixtures.

B. Comply with water piping requirements specified in Section 221116 "Domestic Water Piping."

C. Comply with soil and waste piping requirements specified in Section 221316 "Sanitary Waste and Vent Piping."

3.4 ADJUSTING

A. Operate and adjust lavatories and controls. Replace damaged and malfunctioning lavatories, fittings, and controls.

B. Adjust water pressure at faucets to produce proper flow.

C. Install fresh batteries in battery-powered, electronic-sensor mechanisms.

3.5 CLEANING AND PROTECTION

A. After completing installation of lavatories, inspect and repair damaged finishes.

B. Clean lavatories, faucets, and other fittings with manufacturers' recommended cleaning methods and materials.

C. Provide protective covering for installed lavatories and fittings.

D. Do not allow use of lavatories for temporary facilities unless approved in writing by Owner.

END OF SECTION 224216.13
	COMMERCIAL LAVATORIES
	224216.13 - 14



