Copyright 2015 AIA
MasterSpec Full Length
03/15 (PM 05/21)

PRODUCT MASTERSPEC LICENSED BY DELTEK, INC. TO ACORN ENGINEERING; MORRIS GROUP INTERNATIONAL.


Copyright 2015 by The American Institute of Architects (AIA)

Exclusively published and distributed by Deltek, Inc. for the AIA
This Product MasterSpec Section is licensed by Deltek, Inc. to Acorn Engineering; Morris Group International ("Licensee").

This Product MasterSpec Section modifies the original MasterSpec text and does not include the full content of the original MasterSpec Section.

Revisions made to the original MasterSpec text are made solely by the Licensee and are not endorsed by, or representative of the opinions of, Deltek or The American Institute of Architects (AIA). Neither AIA nor Deltek are liable in any way for such revisions or for the use of this Product MasterSpec Section by any end user. A qualified design professional should review and edit the document to suit project requirements.

For more information, contact Acorn Engineering; Morris Group International, 15125 Proctor Ave., City of Industry, CA 91746; Phone: (626) 336-4561 | (800) 488-8999; Fax: (626) 961-2200; Website: www.acorneng.com; Email: SalesEngineering@AcornEng.com.

For information about MasterSpec, contact Deltek at (800) 424-5080 or visit masterspec.com.

SECTION 224600 - SECURITY PLUMBING FIXTURES
TIPS:
To view non-printing Editor's Notes that provide guidance for editing, click on MasterWorks/Single-File Formatting/Toggle/Editor's Notes.

To read detailed research, technical information about products and materials, and coordination checklists, click on MasterWorks/Supporting Information.

Access Product MasterSpec Sections:

<Double click here to view the list of manufacturer Sections available at ProductMasterSpec.com.>
Revise this Section by deleting and inserting text to meet Project-specific requirements.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section Includes:

1. Combination units.

2. Water closets.

3. Urinals.

4. Lavatories.

5. Drinking fountains.

6. Showers.

7. Electronic controls.
8. Service sinks.

9. Supports.

B. Related Requirements:

Retain subparagraphs below to cross-reference requirements Contractor might expect to find in this Section but are specified in other Sections.

1. Section 224213.13 "Commercial Water Closets."

2. Section 224213.16 "Commercial Urinals."

3. Section 224216.13 "Commercial Lavatories."

4. Section 224216.16 "Commercial Sinks."

5. Section 224223 "Commercial Showers."

6. Section 224233 "Wash Fountains."

7. Section 224300 "Healthcare Plumbing Fixtures."

8. Section 224500 "Emergency Plumbing Fixtures" for emergency showers.

9. Section 224713 "Drinking Fountains" for standard drinking fountains.

1.2 DEFINITIONS

Retain terms that remain after this Section has been edited for a project.

A. Accessible Service Space: Service area in secure space behind wall-mounted fixtures.

B. Back-Access Fixture: Security plumbing fixture designed to mount on wall sleeve built into wall or on wall, so installation and removal of fixture, piping, and other components are accessible only from service space behind wall.

C. Front-Access Fixture: Security plumbing fixture designed to mount on wall with installation and removal from fixture side of wall, and with piping and other components accessible only from access panel in fixture.

1.3 ACTION SUBMITTALS

A. Product Data: For each type of product.

1. Include construction details, material descriptions, dimensions of individual components and profiles, and finishes for security plumbing fixtures.

2. Include rated capacities, operating characteristics, and furnished specialties and accessories.

B. Sustainable Design Submittals:

"Product Data" Subparagraph below applies to LEED (including v4), IgCC, ASHRAE 189.1, and Green Globes for fixtures and equipment that consume water.

1. Product Data: For water consumption.
1.4 CLOSEOUT SUBMITTALS

A. Maintenance Data: For security plumbing fixtures and components to include in maintenance manuals.

1.5 MAINTENANCE MATERIAL SUBMITTALS

A. Furnish extra materials that match products installed and that are packaged with protective covering for storage and identified with labels describing contents.

1. Flushometer-Valve Repair Kits: Equal to [10] <Insert number> percent of quantity of each type installed, but no fewer than [one] [six] <Insert number> of each type.

2. Lavatory Valve Repair Kits.

3. Shower Valve Repair Kits.

PART 2 -  PRODUCTS

Manufacturers and products listed in SpecAgent and MasterWorks Paragraph Builder are neither recommended nor endorsed by the AIA or Deltek. Before inserting names, verify that manufacturers and products listed there comply with requirements retained or revised in descriptions and are both available and suitable for the intended applications. For definitions of terms and requirements for Contractor's product selection, see Section 016000 "Product Requirements."

Do not use the same plumbing-fixture designation as is used for a plumbing fixture in another plumbing Section.

2.1 COMBINATION UNITS

Copy "Combination Units" Paragraph below and re-edit for each type of back-access, cabinet combination unit required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each combination unit.

A. Combination Units <Insert drawing designation>: Back access, [off] [on] floor, cabinet, with water closet and lavatory.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.
Combination model designs offer compact housing width (1415), standard width (1418), and increased lavatory countertop space (1418LMB, 1420, 1426). Coordinate housing width and toilet bowl orientation with cell layout.
1. Basis-of-Design Product: Subject to compliance with requirements, provide Acorn Engineering; Morris Group International; Model [1415] [1418] [1418LMB] [1420] [1420LRB] [1426] [LR1415] [LR1418] [LR1440]<Insert product name or designation> or comparable product by one of the following:

a. Metcraft Industries, Inc.

b. Willoughby Industries.

c. <Insert manufacturer's name>.

2. Material: 14 gauge minimum-thickness, Type 304 stainless steel.

In "Finish" Subparagraph below, first option is standard finish for basis-of-design products. Retain second or third option for powder coated finish.

3. Finish: [No. 4 satin finish on exposed surfaces] [Powder coated finish on exposed surfaces] [Powder coated finish on exposed surfaces, except interior of toilet bowl] <Insert color from manufacturer's color chart>.
4. Cabinet: Provide manufacturer's standard unit shape and configuration for each model number furnished. Provide units with integral backsplash.
In "Water-Closet Bowl Location" Subparagraph below, select water-closet shape, size, and bowl location as viewed while standing in front of unit.

a. Water-Closet Bowl Location: [Centered on front] [Left of center, on front] [Right of center, on front] [On angled left side] [On angled right side] <Insert location> of apron.

In "Cabinet Mounting" Subparagraph below, coordinate cabinet mounting with waste outlet location. An on-floor cabinet is required for units with floor waste outlet.
b. Cabinet Mounting: [Off] [On]-floor.
Accessories listed in first subparagraph below are optional. Retain only subparagraphs needed to comply with Project design requirements.

5. Accessories:

a. Toilet-Paper Holder: Recessed; non-ADA-compliant, stainless steel located [front] [left side] [right side] [left-angled side] [right-angled side] of apron.

b. Towel Hooks: [One] [Two] on [each] [left] [right] side of fixture.

In "Ventilation Grille" Subparagraph below, ventilation grilles are not offered on ligature-resistant models.
c. Ventilation Grille: [Left][Right] [Left front] [Right front] [Bottom].
First two subparagraphs below are standard features of Acorn's "Model 1449" and "Model LR1449."
d. Ligature-resistant water-closet skirt.

e. Hemispherical Valve Push Button: Include with ligature-resistant models.
f. Integral shelf.

g. Lavatory overflow.

h. Toothbrush Holders: One on [each] [left] [right] side of backsplash.
i. Brass valve body.
j. Pushrod-activated valve push buttons.
k. Fixture-mounted trim.

l. Toilet waste cleanout fitting [IPS 2 to IPS 3 (DN 50 to DN 75)] [IPS 2 to IPS 4 (DN 50 to DN 100)], no-hub.

m. Pinned cleanout plug for cleanout fittings.

n. Cleanout hook assembly.

o. Toilet shipping cover.

p. Metal Template: Provide one per Project.
First two subparagraphs below are available with Acorn Engineering's products equipped with Acorn's "Model MVC Time-trol" electronic flush valve.

q. Transformer: 120 V ac to 24 V ac.

r. Cycle interrupt.

For first subparagraph below, contact basis-of-design product manufacturer for supplemental details.

s. Vacuum flush system.

6. Mounting: Provide threaded mounting points on fixture and 1/2-in. (13-mm) threaded rod, with nuts and washers, to bolt through wall into accessible rear chase.
7. Water Closet:
a. Applicable Standards:
Retain one or more of first four subparagraphs below when compliance with referenced standards is required to comply with Project design objectives, or when required by state or local code or AHJ.

1) ASME A112.19.3/CSA B45.4.

2) Cal Green.
Retain first subparagraph below when EPA WaterSense guideline applies.
3) EPA WaterSense Specifications for High Efficiency Flushometer Water Closets.

4) U.S. Energy Policy Act of 1992 for Water Closets.
b. Bowl:

1) Type: Elongated, with back inlet, seat surface, and integral trap.
In "Seat Surface" Subparagraph below, No. 4 satin finish is standard. No. 8 finish and plastic hinged toilet seat selections are options.

2) Seat Surface: [No. 4 satin] [No. 8 high-polish] finish on integral toilet seat. [Plastic hinged toilet seat] [Punched for field-mounted toilet seat].

3) Rim Height: 15 inches (381 mm) above finished floor.

c. Toilet Waste: 

Retain either "Wall Outlet Waste Connection (Blowout)" or “Floor Outlet Waste Connection (Siphon-Jet)" Subparagraph below. Wall outlet connection variations exist to increase length of standard extension or provide gasket flange.
1) Wall Outlet Waste Connection (Blowout): [NPS 2 (DN 50)] [3 inches (76 mm) OD], plain end extended [3 inches (76 mm)] <Insert length> beyond back of unit.[ Gasket waste flange.]
2) Floor Outlet Waste Connection (Siphon-Jet): Water-closet gasket waste flange.

In "Water Consumption" Subparagraph below, verify state and local gallon per flush requirements. California requires maximum 1.28 gal. (4.8 L) per flush for water closets.

d. Water Consumption: [1.28 gal. (4.8 L)] [1.6 gal. (6 L)] [3.5 gal. (13.2 L)] per flush.
e. Supply Pressure: 25 psig (172 kPa), minimum.

Coordinate first subparagraph below with "Flushometer Valves" Article.

8. Flushometer Valve <Insert designation>:
a. Style: [Mechanical] [Hydraulic] [Electronic] type.
b. Push-Button Location: [Standard backsplash punching on right-hand side for centered and angled right toilet bowl] [Standard backsplash punching on left-hand side for angled left toilet bowl] [Backsplash punching opposite standard] [Less punching for flush valve control].
Retain "Toilet Flush Disabler/Overflow Prevention Device" Subparagraph below when this feature is required.

9. Toilet Flush Disabler/Overflow Prevention Device: [None] [Manual-reset] [Automatic-reset] [Electronic] <Insert designation> type.
10. Lavatory:

a. Standard: 
1) ASME A 112.19.3/CSA B45.4.
2) NSF/ANSI 61, NSF/ANSI 372.
b. Location: In top of cabinet.

c. Receptor: Provide with integral, self-draining soap depression. Provide manufacturer's standard bowl shape and configuration for each model number furnished.
d. Lavatory Water Supply Valves:

1) [Pneumatic, nonmetering] [Pneumatic, metering] [Pneumatic, metering on hot water side only] [Electronic] type <Insert designation> with push-button actuation and individual check stops complying with ASME A112.18.1/CSA B125.1.[ Fixture punched for valve furnished separately.]
2) Temperature: [Single] [Separate hot and cold] temperature.
Retain "Manifolded" Subparagraph below when manifolded supply valves are required.

3) Manifolded: [Two] [Three] [Four]-stack.
e. Bubbler/Filler, Backsplash-mounted: [Penal] [Code] [Ligature-resistant-hemispherical bubbler] [Lavatory filler]. Fabricate from machined, Type 303 stainless steel.

f. Drain:
Retain first subparagraph below for manufacturer's standard product.

1) Integral punched fast-drain grid.

Retain first subparagraph below for ligature-resistant applications.

2) Ligature Resistant: Integral punched grid with concealed adapter.

g. Lavatory Waste Connection: [Elbow connection] [Removable P-trap], with 1-1/2-inch (38-mm) OD plain-end, extended [3 inches (76 mm) <Insert length> beyond back of fixture].[ Combined waste.]
11. Mounting: Provide threaded mounting points on fixture and 1/2-inch (13-mm) threaded rod, with nuts and washers to bolt through wall into accessible service space.

Retain "Wall Sleeve" Subparagraph below when required by Project design.

12. Wall Sleeve: Galvanized-steel frame with anchoring locations to allow for mounting fixture from rear. Include steel reinforcing bars.

Copy "Combination Units" Paragraph below and re-edit for each type of combination unit required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each combination unit.

B. Combination Units <Insert drawing designation>: Back access, ADA-compliant, [off] [on] floor, cabinet, with water closet and lavatory.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

Coordinate housing width and toilet bowl orientation with cell layout.
Retain Acorn's "Model 1432" for applications with angled plumbing chase wall cell layouts.
Retain Acorn's "Model 1449" for applications with straight cell wall. "Model LR1449" is designed for ligature resistance.

Code compliance for ADA combination fixtures is subject to requirements of local code authority.
1. Basis-of-Design Product: Subject to compliance with requirements, provide Acorn Engineering; Morris Group International; Model [1432] [1449] [LR1449] <Insert product name or designation> or comparable product by one of the following:

a. Metcraft Industries, Inc.

b. Willoughby Industries.

c. <Insert manufacturer's name>.

2. Material: 14 gauge minimum-thickness, Type 304 stainless steel.

In "Finish" Subparagraph below, first option is standard finish for basis-of-design products. Retain second or third option for powder coated finish.

3. Finish: [No. 4 satin finish on exposed surfaces] [Powder coated finish on exposed surfaces] [Powder coated finish on exposed surfaces, except interior of toilet bowl] <Insert color from manufacturer's color chart>.
4. Cabinet: Provide manufacturer's standard unit shape and configuration for each model number furnished. Provide units with integral backsplash and access panels secured with vandal-resistant fasteners.

In "Water-Closet Bowl Location" Subparagraph below, select water-closet shape, size, and bowl location as viewed while standing in front of unit.

a. Water-Closet Bowl Location: [Left of lavatory, on front] [Right of lavatory, on front] [On angled left side] [On angled right side] <Insert location> of apron.
In "Cabinet Mounting" Subparagraph below, coordinate cabinet mounting with waste outlet location. An on-floor cabinet is required for units with floor waste outlet.

Acorn's "Model 1449" and "Model LR1449" are available only in on-floor mounting configuration.

b. Cabinet Mounting: [Off] [On]-floor.
Retain "Grab Bar" Subparagraph below when grab bars are required. Grab bars are not required in detention facilities when cells are specially designed for suicide prevention.

5. Grab Bar:

When grab bar is required, retain one of first three subparagraphs below. Grab bar behind water closet is provided standard with ADA-compliant combinations.

a. Provide grab bar behind toilet, minimum 36 inches (914 mm) long, minimum 1-1/4-inch (32-mm) diameter, positioned in accordance with ADA requirements.

Retain closure plate option for ligature-resistant installations. Ligature-resistant closure plates are provided as standard on Acorn's LR models.

b. Provide grab bar with closure plate behind toilet, minimum 36 inches (914 mm) long, minimum 1-1/4-inch (32-mm) diameter, positioned in accordance with ADA requirements.

Retain first subparagraph below for ligature-resistant options when grab bars are required for applications of Acorn's "Model 1432."
c. Provide grab bar, minimum 36 inches (914 mm) long, minimum 1-1/4-inch (32-mm) diameter, behind toilet with closure plate. Position grab bar in accordance with ADA requirements. Provide lavatory closure plate assembly to conceal gap between lavatory and wall.

All accessories listed in first subparagraph below are optional. Retain only subparagraphs needed to comply with Project design requirements.

6. Accessories:

a. Toilet-Paper Holder: Recessed; non-ADA-compliant, stainless steel, located [front] [left side] [right side] [left-angled side] [right-angled side] of apron.
b. Towel Hooks: [One] [Two] on [each] [left] [right] side of fixture.

In "Ventilation Grille" Subparagraph below, ventilation grilles are not offered on ligature-resistant models.

c. Ventilation Grille: [Left] [Right] [Left front] [Right front] [Bottom].
First subparagraph below is a standard feature of Acorn's "Model 1449" and "Model LR1449."

d. Ligature-resistant water-closet skirt.

e. Hemispherical Valve Push Button: Include with ligature-resistant models.
f. Lavatory overflow.

g. Toothbrush Holders: One on [each] [left] [right] side of backsplash.

h. Brass valve body.

i. Fixture-mounted trim.

j. Toilet waste cleanout fitting [IPS 2 to IPS 3 (DN 50 to DN 75)] [IPS 2 to IPS 4 (DN 50 to DN 100)], no-hub.

k. Pinned cleanout plug for cleanout fittings.

l. Cleanout hook assembly.

m. Toilet shipping cover.

n. Metal Template: Provide one per Project.

First two subparagraphs below are available with basis-of-design product manufacturer's products equipped with Acorn's "Model MVC Time-trol" electronic flush valve.

o. Transformer: 120 V ac to 24 V ac.

p. Cycle interrupt.

For first subparagraph below, contact basis-of-design product manufacturer for supplemental details.

q. Vacuum flush system.

7. Mounting: Provide threaded mounting points on fixture and 1/2-in. (13-mm) threaded rod, with nuts and washers, to bolt through wall into accessible rear chase.

8. Water Closet:

a. Applicable Standards:
Retain one or more of first six subparagraphs below when compliance with referenced standards is required to comply with Project design objectives, or when required by state or local code or AHJ.

Retain subparagraph below when selected units are ADA-compliant design.
1) ADA 2010.

2) ASME A112.19.3/CSA B45.4.

3) Cal Green.
Retain first subparagraph below when EPA WaterSense guideline applies.
4) EPA WaterSense Specifications for High Efficiency Flushometer Water Closets.
Retain first subparagraph below when selected units are ADA-compliant design.
5) ICC A117.1.

6) U.S. Energy Policy Act of 1992 for Water Closets.

b. Bowl:

1) Type: Elongated, with back inlet, seat surface, and integral trap.

In "Seat Surface" Subparagraph below, No. 4 satin finish is standard. No. 8 finish selection is an option.

2) Seat Surface: [No. 4 satin] [No. 8 high-polish] finish on integral toilet seat.

3) Rim Height for ADA-compliant Installation: 18 inches (457 mm) above finished floor.

9. Water Closet:

a. Bowl:

1) Type: Elongated, with back inlet, seat surface and integral trap.

In "Seat Surface" Subparagraph below, No. 4 satin finish is standard. No. 8 finish and plastic hinged toilet seat selections are options.

2) Seat Surface: [No. 4 satin] [No. 8 high-polish] finish on integral toilet seat. [Plastic hinged toilet seat] [Punched for field-mounted toilet seat].

b. Toilet Waste:

Retain either "Wall Outlet Waste Connection (Blowout)" or "Floor Outlet Waste Connection (Siphon-Jet)" Subparagraph below. Wall outlet connection variations exist for standard plain end, to increase diameter or length of extension or provide gasket flange.
1) Wall Outlet Waste Connection (Blowout): [NPS 2 (DN 50)] [3 inches (76 mm) OD], plain end extended [3 inches (76 mm)] <Insert length> beyond back of unit.[ Gasket waste flange.]
2) Floor Outlet Waste Connection (Siphon-Jet): Water-closet gasket waste flange.

In "Water Consumption" Subparagraph below, verify state and local gallon per flush requirements. California requires maximum 1.28 gal. (4.8 L) per flush for water closets.

c. Water Consumption: [1.28 gal. (4.8 L)] [1.6 gal. (6 L)] [3.5 gal. (13.2 L)] per flush.

d. Supply Pressure: 25 psig (172 kPa), minimum.
Coordinate first subparagraph below with "Flushometer Valves" Article.

10. Flushometer Valve: [Mechanical] [Hydraulic] [Electronic] type. <Insert designation>
Retain "Toilet Flush Disabler/Overflow Prevention Device" Subparagraph below when feature is required.

11. Toilet Flush Disabler/Overflow Prevention Device: [None] [Manual-reset] [Automatic-reset] [Electronic] type. <Insert designation>
12. Lavatory:

a. Standard:
1) ADA 2010.
2) ASME A112.19.3/CSA B45.4.

3) NSF/ANSI 61, NSF/ANSI 372.
b. Location: In top of cabinet.

c. Receptor: Provide with integral soap depression. Provide manufacturer's standard receptor shape and configuration for each model number furnished.
d. Lavatory Water Supply Valves:

1) [Pneumatic, nonmetering] [Pneumatic, metering] [Pneumatic, metering on hot water side only] [Electronic] type <Insert designation> with push-button actuation and individual check stops complying with ASME A112.18.1/CSA B125.1.[ Fixture punched for valve furnished separately.]

2) Temperature: [Single] [Separate hot and cold] temperature.

Retain "Manifolded" Subparagraph below when manifolded supply valves are required.

3) Manifolded: [Two] [Three] [Four]-stack.

e. Bubbler/Filler, Spout:

Retain one of first three subparagraphs below to coordinate with characteristics of product specified. Acorn's "Model 1449" and "Model LR1449" have deck-mounted trim.
1) Backsplash-Mounted: [Penal] [Code] [Ligature-resistant, hemispherical bubbler] [Lavatory filler]. Fabricate from machined, Type 303 stainless steel.

2) Deck-Mounted Spout: Fabricate from machined, Type 303 stainless steel.

3) Deck-Mounted Bubbler in lieu of Spout: [Penal] [Code] [Ligature-resistant, hemispherical bubbler]. Fabricate from machined, Type 303 stainless steel.

Retain "Deck-Mounted Cup Filler" Subparagraph below when cup filler is required.

f. Deck-Mounted Cup Filler: Provide at counter height, with reach, clearance, bubbler, and controls that conform to ADA standard for lavatories.
1) Type: [Penal] [Code] [Ligature-resistant, hemispherical]. Fabricate from machined, Type 303 stainless steel.

g. Drain:

Retain first subparagraph below for manufacturer's standard product.

1) Integral punched fast-drain grid.

Retain first subparagraph below for ligature-resistant applications.

2) Ligature Resistant: Integral punched grid with concealed adapter.
h. Lavatory Waste Connection: [Elbow connection] [Removable P-trap], with 1-1/2-inch (38-mm) OD plain-end, extended [3 inches (76 mm) <Insert length> beyond back of fixture].[ Combined waste.]
Retain "Wall Sleeve" Subparagraph below for formed wall openings for piping. A wall sleeve is not required.

13. Wall Sleeve: Galvanized-steel frame with anchoring locations to allow for mounting fixture from rear. Include steel reinforcing bars.

C. Combination Units <Insert drawing designation>: Front-access, on-floor cabinet, with water closet and lavatory.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

Combination model designs offer standard width (1418FA) and increased lavatory countertop space (1418LMBFA, 1420FA, 1426FA). Coordinate housing width and toilet bowl orientation with cell layout.

1. Basis-of-Design Product: Subject to compliance with requirements, provide Acorn Engineering; Morris Group International; Model [1418FA] [1418LMBFA] [1420FA] [1426FA] <Insert product name or designation> or comparable product by one of the following:

a. Metcraft Industries, Inc.

b. Willoughby Industries.

c. <Insert manufacturer's name>.

2. Material: 14 gauge minimum-thickness, Type 304 stainless steel.

In "Finish" subparagraph below, first option is standard finish for basis-of-design products. Retain second or third option for powder coated finish.

3. Finish: [No. 4 satin finish on exposed surfaces] [Powder coated finish on exposed surfaces] [Powder coated finish on exposed surfaces, except interior of toilet bowl] <Insert color from manufacturer's color chart>.
4. Cabinet: Provide manufacturer's standard unit shape and configuration for each model number furnished. Provide units with integral backsplash and access panels secured with vandal-resistant fasteners.

In "Water-Closet Bowl Location" Subparagraph below, select water-closet shape, size, and bowl location as viewed while standing in front of unit.

a. Water-Closet Bowl Location: [Centered on front] [Left of center, on front] [Right of center, on front] [On angled left side] [On angled right side] <Insert location> of apron.
b. Cabinet Mounting: On-floor.
Accessories listed in first subparagraph below are optional. Retain only subparagraphs needed to comply with Project design requirements.

5. Accessories:

a. Toilet-Paper Holder: Recessed; stainless steel, located [front] [left side] [right side] [left-angled side] [right-angled side] of apron.

b. Towel Hooks: [One] [Two] on [each] [left] [right] side of fixture.

c. Ventilation Grille: [Left] [Right] [Left front] [Right front].

Retain first subparagraph below when specifying ligature-resistant fixtures.

d. Ligature-resistant water-closet skirt.

e. Integral shelf.

f. Lavatory overflow.

g. Toothbrush Holders: One on [each] [left] [right] side of backsplash.

h. Brass valve body.

i. Fixture-mounted trim.

j. Toilet shipping cover.

First two subparagraphs below are available with basis-of-design product manufacturer's products equipped with Acorn's "Model MVC Time-trol" electronic flush valve.

k. Transformer: 120 V ac to 24 V ac.

l. Cycle interrupt.

For first subparagraph below, contact basis-of-design product manufacturer for supplemental details.

m. Vacuum flush system.

6. Mounting: Provide slotted mounting points on fixture and 1/2-in. (13-mm) threaded rod, with nuts and washers, to anchor cabinet to wall from fixture side.

7. Water Closet:

a. Applicable Standards:

Retain one or more of first four subparagraphs below when compliance with referenced standards is required to comply with Project design objectives, or when required by state or local code or AHJ.

1) ASME A112.19.3/CSA B45.4.

2) Cal Green.
Retain first subparagraph below when EPA WaterSense guideline applies and Acorn's "Model 1709 Series" urinals are specified.
3) EPA WaterSense Specifications for High Efficiency Flushometer Water Closets.
4) U.S. Energy Policy Act of 1992 for Water Closets.
b. Bowl:

1) Type: Elongated, with back inlet, seat surface and integral trap.

In "Seat Surface" Subparagraph below, No. 4 satin finish is standard. No. 8 finish and plastic hinged toilet seat selections are options.
2) Seat Surface: [No. 4 satin] [No. 8 high-polish] finish on integral toilet seat. [Plastic hinged toilet seat] [Punched for field-mounted toilet seat].

a) Rim Height: 15 inches (381 mm).

c. Toilet Waste: 

Retain either "Wall Outlet Waste Connection (Blowout)" or "Floor Outlet Waste Connection (Siphon-Jet)" Subparagraph below. Wall Outlet Connection variations exist to provide gasket flange or plain end with extension.
1) Wall Outlet Waste Connection (Blowout): [Gasket waste flange] [NPS 2 (DN 50)] [3 inches (76 mm) OD], plain end extended [3 inches (76 mm)] <Insert length> beyond back of unit.

2) Floor Outlet Waste Connection (Siphon-Jet): Water-closet gasket waste flange.

In "Water Consumption" Subparagraph below, verify state and local gallon per flush requirements. California requires maximum 1.28 gal. (4.8 L) per flush for water closets.

d. Water Consumption: [1.28 gal. (4.8 L)] [1.6 gal. (6 L)] [3.5 gal. (13.2 L)] per flush.

e. Supply Pressure: 25 psig (172 kPa), minimum.

Coordinate first subparagraph below with "Flushometer Valves" Article.

8. Flushometer Valve: [Mechanical] [Hydraulic] [Electronic] type. <Insert designation>
Retain "Toilet Flush Disabler/Overflow Prevention Device" Subparagraph below when feature is required.
9. Toilet Flush Disabler/Overflow Prevention Device: [None] [Manual-reset] [Automatic-reset] [Electronic] type. <Insert designation>

10. Lavatory:

a. Standard:

1) ASME A112.19.3/CSA B45.4.

2) NSF/ANSI 61, NSF/ANSI 372.

b. Location: In top of cabinet.

c. Receptor: Provide with integral soap depression. Provide manufacturer's standard receptor shape and configuration for each model number furnished.

d. Lavatory Water Supply Valve:

1) [Pneumatic, nonmetering] [Pneumatic, metering] [Pneumatic, metering on hot water side only] [Electronic] type <Insert designation> with ADA-compliant push-button actuation, and individual check stops complying with ASME A112.18.1/CSA B125.1.[ Fixture punched for valve furnished separately.]

2) Temperature: [Single] [Separate hot and cold] temperature.

e. Bubbler/Filler:

1) Bubbler/Filler, Backsplash-Mounted: [Penal] [Code] [Ligature-resistant hemispherical bubbler] [Lavatory filler]. Fabricate from machined Type 303 stainless steel.

f. Drain: Integral punched fast-drain grid.

g. Waste: Removable 1-1/2-inch (38-mm) P-trap.

11. Deck-Mounted Drinking Bubbler: Provide at counter height, with reach, clearance, bubbler, and controls in accordance with ADA requirements.

a. [Penal] [Code] [Ligature-resistant hemispherical bubbler].

Retain "Wall Sleeve" Subparagraph below for formed wall openings for piping. A wall sleeve is not required.

12. Wall Sleeve: Galvanized-steel frame with integral threaded anchors to allow for mounting fixture from front. Include steel reinforcing bars.

D. Combination Units <Insert drawing designation>: Front-access, ADA-compliant cabinet, with water closet and lavatory.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

Retain Acorn's "Model 1432FA" for applications in cells with angled walls and "Model 1449FA" for applications in cells with straight walls. Coordinate housing width and toilet bowl orientation with cell layout.

Code compliance for ADA combination fixtures is subject to requirements of local code authority.
1. Basis-of-Design Product: Subject to compliance with requirements, provide Acorn Engineering; Morris Group International; Model [1432FA] [1449FA] [LR1449FA] <Insert product name or designation> ADA-compliant combination unit, or comparable product by one of the following:

a. Metcraft Industries, Inc.

b. Willoughby Industries.

c. <Insert manufacturer's name>.

2. Material: 14 gauge minimum-thickness, Type 304 stainless steel.

In "Finish" subparagraph below, first option is standard finish for basis-of-design products. Retain second or third option for powder coated finish.

3. Finish: [No. 4 satin finish on exposed surfaces] [Powder coated finish on exposed surfaces] [Powder coated finish on exposed surfaces, except interior of toilet bowl] <Insert color from manufacturer's color chart>.
4. Cabinet: Provide manufacturer's standard unit shape and configuration for each model number furnished. Provide units with integral backsplash and access panels secured with vandal-resistant fasteners.

In "Water-Closet Bowl Location" Subparagraph below, select water-closet shape, size, and bowl location as viewed while standing in front of unit.

a. Water-Closet Bowl Location: [Left of lavatory, on front] [Right of lavatory, on front] [On angled left side] [On angled right side] <Insert location> of apron.

b. Cabinet Mounting: On floor.

Grab bars are not required in detention facilities when cells are specially designed for suicide prevention. Retain closure plate option for ligature-resistant installations. Ligature-resistant closure plates are provided as standard on Acorn's LR models.
5. Grab Bar:

When grab bar is required, retain one of first three subparagraphs below. Grab bar behind water closet is provided standard with ADA-compliant combinations.

a. Provide grab bar behind toilet, minimum 36 inches (914 mm) long, minimum 1-1/4 inches (32 mm), positioned in accordance with ADA requirements.

Retain first subparagraph below for ligature-resistant installations. Ligature-resistant closure plates are provided as standard on Acorn's FA models.

b. Provide grab bar with closure plate behind toilet, minimum 36-inches (914-mm) long, minimum 1-1/4-inches (32-mm) diameter, positioned in accordance with ADA requirements.

Retain first subparagraph below for ligature-resistant installations when grab bars are required for applications of Acorn's "Model 1432FA."
c. Provide grab bar, minimum 36-inches (914-mm) long, minimum 1-1/4-inches (32-mm) diameter, behind toilet with closure plate. Position grab bar in accordance with ADA requirements. Provide lavatory closure plate assembly to conceal gap between lavatory and wall.

All accessories listed in first subparagraph below are optional. Retain only subparagraphs needed to comply with Project design requirements.

6. Accessories:

a. Toilet-Paper Holder: Recessed; non-ADA-compliant, stainless steel, located [front] [left side] [right side] [left-angled side] [right-angled side] of apron.

b. Towel Hooks: [One] [Two] on [each] [left] [right] side of fixture.

c. Ventilation Grille: [Left] [Right] [Left front] [Right front] [Bottom].

First subparagraphs below is a standard feature of Acorn's "Model 1449FA" and "Model LR1449FA."

d. Ligature-resistant water-closet skirt.

e. Hemispherical Valve Push Button: Include with ligature-resistant models.
f. Lavatory overflow.

g. Toothbrush Holders: One on [each] [left] [right] side of backsplash.

h. Brass valve body.

i. Toilet shipping cover.

First two subparagraphs below are available with basis-of-design product manufacturer's products equipped with Acorn's "Model MVC Time-trol" electronic flush valve.

j. Transformer: 120 V ac to 24 V ac.

k. Cycle interrupt.

For first subparagraph below, contact basis-of-design product manufacturer for supplemental details.

l. Vacuum flush system.

7. Mounting: Provide slotted mounting points on fixture for 1/2-inch (13-mm) hardware to anchor cabinet to wall from fixture side.

8. Water Closet:

a. Applicable Standards:

Retain one or more of first five subparagraphs below when compliance with referenced standards is required to comply with Project design objectives, or when required by state or local code or AHJ.

1) ASME A112.19.3/CSA B45.4.

2) Cal Green.
Retain first subparagraph below when EPA WaterSense guideline applies.
3) EPA WaterSense Specifications for High Efficiency Flushometer Water Closets.
Retain first subparagraph below when selected units are ADA-compliant design.

4) ICC A117.1.

5) U.S. Energy Policy Act of 1992 for Water Closets.

b. Bowl:

1) Type: Elongated, with back inlet, integral trap, and integral contoured seat surface. Seat height and centerline to adjacent wall to conform to ADA standard.
In "Seat Surface" Subparagraph below, No. 4 satin finish is standard. No. 8 finish and plastic hinged toilet seat selections are options.

2) Seat Surface: [No. 4 satin] [No. 8 high-polish] finish on integral toilet seat. [Plastic hinged toilet seat] [Punched for field-mounted toilet seat].

3) Rim Height for ADA-Compliant Installation: 18 inches (457 mm) above finished floor.

4) Outlet Connection: [NPS 3 (DN 80)] [NPS 4 (DN 100)], horizontal with cleanout and slip joint.

c. Toilet Waste:

Retain either "Wall Outlet Waste Connection (Blowout)" or "Floor Outlet Waste Connection (Siphon-Jet)" Subparagraph below. Wall outlet connection variations exist to provide standard gasket flange plain end with extension.
1) Wall Outlet Waste Connection (Blowout): [Gasket waste flange] [NPS 2 (DN 50)] [3 inches (76 mm) OD], plain end extended [3 inches (76 mm)] <Insert length> beyond back of unit.

2) Floor Outlet Waste Connection (Siphon-Jet): Water-closet gasket waste flange.

d. Water Consumption: [1.28 gal. (4.8 L)] [1.6 gal. (6 L)] per flush.

e. Supply Pressure: 25 psig (172 kPa), minimum.

Coordinate first subparagraph below with "Flushometer Valves" Article.

9. Flushometer Valve: [Hydraulic] [Electronic] type. <Insert designation>

Retain "Toilet Flush Disabler/Overflow Prevention Device" Subparagraph below when feature is required.

10. Toilet Flush Disabler/Overflow Prevention Device: [Manual-reset] [Automatic-reset] [Electronic] type. <Insert designation>

11. Lavatory:

a. Standard:

1) ADA 2010.
2) ASME A112.19.3/CSA B45.4.

3) NSF/ANSI 61, NSF/ANSI 372.

b. Location: In top of cabinet.

c. Receptor: Provide with integral soap depression. Provide manufacturer's standard receptor shape and configuration for each model number furnished.

d. Lavatory Water Supply Valve:

1) [Pneumatic, nonmetering] [Pneumatic, metering] [Pneumatic, metering on hot water side only] [Electronic] type <Insert designation> with ADA-compliant push-button actuation, and individual check stops complying with ASME A112.18.1/CSA B125.1.[ Fixture punched for valve furnished separately.]

2) Temperature: [Single] [Separate hot and cold] temperature.
e. Bubbler/Filler, Backsplash-Mounted: [Penal] [Code] [Ligature-resistant hemispherical bubbler] [Lavatory filler]. Fabricate from machined, Type 303 stainless steel.

f. Bubbler/Filler, Spout:

Retain one of first three subparagraphs below to match characteristics of model selected.

1) Bubbler/Filler, Backsplash-Mounted: [Penal] [Code] [Ligature-resistant hemispherical bubbler] [Lavatory filler]. Machined Type 303 stainless steel. 

2) Bubbler/Spout, Deck-Mounted: Spout, [Penal] [Code] [Ligature-resistant hemispherical bubbler] [Lavatory filler]. Machined Type 303 stainless steel.

3) Bubbler/Spout, Deck-Mounted, Ligature Resistant: Hemispherical bubbler spout. Machined Type 303 stainless steel.

Retain first subparagraph below for manufacturer's standard product.

g. Drain:

Retain first subparagraph below for manufacturer's standard product.

1) Integral punched fast-drain grid.

Retain first subparagraph below for ligature-resistant applications.

2) Ligature Resistant: Integral punched grid with concealed adapter.
h. Waste: Removable 1-1/2-inch (38-mm) OD, plain end P-trap.
12. Deck-Mounted Drinking Cup Filler: Provide at counter height, with reach, clearance, bubbler, and controls conforming to ADA standard for lavatories.

a. [Penal] [Code] [Ligature-resistant hemispherical bubbler].
13. Mounting: Provide slotted mounting points on fixture for 1/2-inch (13-mm) threaded rod to anchor cabinet to wall from fixture side.
Retain "Wall Sleeve" Subparagraph below for formed wall openings for piping. A wall sleeve is not required.

14. Wall Sleeve: Galvanized-steel frame with integral threaded anchors to allow for mounting fixture from front. Include steel reinforcing bars.

2.2 STAINLESS STEEL WATER CLOSETS

Copy "Water Closets" Paragraph below and re-edit for each type of water closet required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each water closet.

A. Water Closets <Insert drawing designation>: Back access, [on] [off] floor, [back] [floor] outlet, cabinet.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.
Retain wall-mount designs to allow access beneath unit for cleaning (1680).

Retain floor-mounted cabinets for maximum support (1684, 1685, 1695) for siphon jet floor waste and siphon jet or blowout jet waste outlet heights above floor.
Retain floor-mounted, ligature-resistant models (LR1680, LR1684, LR1685, LR1695, LR2140, LR2141) where required.
1. Basis-of-Design Product: Subject to compliance with requirements, provide Acorn Engineering; Morris Group International, Model [1680] [1684] [1685] [1695] [LR1680] [LR1684] [LR1685] [LR1695] [LR2140] [LR2141] <Insert product name or designation> or comparable product by one of the following:

a. Metcraft Industries, Inc.

b. Willoughby Industries.

c. <Insert manufacturer's name>.

2. Material: 14 gauge minimum-thickness, Type 304 stainless steel.

In "Finish" subparagraph below, first option is standard finish for basis-of-design products. Retain second or third option for powder coated finish.

3. Finish: [No. 4 satin finish on exposed surfaces] [Powder coated finish on exposed surfaces] [Powder coated finish on exposed surfaces, except interior of toilet bowl] <Insert color from manufacturer's color chart>.
4. Cabinet Mounting: [Off] [On]-floor.

All accessories listed in first subparagraph below are optional. Retain only subparagraphs needed to comply with Project design requirements.

5. Accessories:

a. 12 gauge wall flange.
b. Toilet waste cleanout fitting [IPS 2 to IPS 3 (DN 50 to DN 75)] [IPS 2 to IPS 4 (DN 50 to DN 100)], no-hub.

c. Pinned cleanout plug for cleanout fittings.

d. Cleanout hook assembly.
e. Flush valve through-wall connection.
f. Toilet shipping cover.

g. Metal Template: Provide one per Project.

First subparagraph below is available with basis-of-design product manufacturer's products equipped with Acorn's "Model MVC Time-trol" electronic flush valve.

h. Transformer: 120 V ac to 24 V ac.

For first subparagraph below, contact basis-of-design product manufacturer for supplemental details.

i. Vacuum flush system.

6. Mounting: Provide threaded mounting points on fixture and 1/2-inch (13-mm) threaded rod with nuts and washers to bolt through wall into accessible rear chase.
7. Water Closet:

a. Applicable Standards:
Retain one or more of first five subparagraphs below when compliance with referenced standards is required to comply with Project design objectives, or when required by state or local code or AHJ.

1) ASME A112.19.3/CSA B45.4.

2) Cal Green.
Retain first subparagraph below when EPA WaterSense guideline applies.
3) EPA WaterSense Specifications for High Efficiency Flushometer Water Closets.
Retain first subparagraph below when selected units are ADA-compliant design.
4) ICC A117.1.

5) U.S. Energy Policy Act of 1992 for Water Closets.

b. Bowl:

1) Type: Elongated, with back inlet, integral trap, and integral contoured seat surface. Seat height and centerline to adjacent wall to conform to ADA standard.

In "Seat Surface" Subparagraph below, No. 4 satin finish is standard. No. 8 finish and plastic hinged toilet seat selections are options.

2) Seat Surface: [No. 4 satin] [No. 8 high-polish] finish on integral toilet seat. [Plastic hinged toilet seat] [Punched for field-mounted toilet seat].
Retain one or both of first two subparagraphs below.

3) Rim Height: 15 inches (381 mm) above finished floor.

4) Rim Height for ADA-Compliant Installation: 18 inches (457 mm) above finished floor.
c. Toilet Waste:

Retain either "Wall Outlet Waste Connection (Blowout)" or "Floor Outlet Waste Connection (Siphon-Jet)" Subparagraph below. Wall outlet connection variations exist to increase length of extension or provide gasket flange.

2-3/8-inch (60-mm) OD tube extended 3 inches (76 mm) beyond back of unit is basis-of-design product manufacturer's standard.
1) Wall Outlet Waste Connection (Blowout): [NPS 2 (DN 50)] [3 inches (76 mm) OD], plain end, extended [3 inches (76 mm)] <Insert length> beyond back of unit].[ Gasket waste flange.]
2) Floor Outlet Waste Connection (Siphon-Jet): Water-closet gasket waste flange.

In "Water Consumption" Subparagraph below, verify state and local gallon per flush requirements. California requires maximum 1.28 gal. (4.8 L) per flush for water closets.

d. Water Consumption: [1.28 gal. (4.8 L)] [1.6 gal. (6 L)] per flush.

e. Supply Pressure: 25 psig (172 kPa), minimum.

Coordinate first subparagraph below with "Flushometer Valves" Article. ADA-accessible units require ADA-compliant flush controls.
8. Flushometer Valve: [Mechanical] [Hydraulic] [Electronic] type. <Insert designation>

a. Flushometer-Valve Accessories: [Top supply flush valve cover] [Wall supply flush valve access panel].
Retain "Toilet Flush Disabler/Overflow Prevention Device" Subparagraph below when feature is required.

9. Toilet Flush Disabler/Overflow Prevention Device: [Manual-reset] [Automatic-reset] [Electronic] type. <Insert designation>

Retain "Wall Sleeve" Subparagraph below for formed wall openings for piping. A wall sleeve is not required.

10. Wall Sleeve: Galvanized-steel frame with anchoring locations to allow for mounting fixture from rear. Include steel reinforcing bars.

Retain "Configuration" Subparagraph below for ADA-accessible units.

a. Configuration: Install wall sleeve for water-closet mounting height in accordance with ICC A117.1.

Copy "Water Closets" Paragraph below and re-edit for each type of back-access, off-floor, back-outlet, compact water closet required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each water closet.

B. Water Closets <Insert drawing designation>: Back access, off floor, back outlet, compact.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

1. Basis-of-Design Product: Subject to compliance with requirements, provide Acorn Engineering; Morris Group International; Model [1675] [1679] [1696] <Insert product name or designation> or comparable product by one of the following:

a. Metcraft Industries, Inc.

b. Willoughby Industries.

c. <Insert manufacturer's name>.

2. Material: 14 gauge minimum-thickness, Type 304 stainless steel.

In "Finish" subparagraph below, first option is standard finish for basis-of-design products. Retain second or third option for powder coated finish.

3. Finish: [No. 4 satin finish on exposed surfaces] [Powder coated finish on exposed surfaces] [Powder coated finish on exposed surfaces, except interior of toilet bowl] <Insert color from manufacturer's color chart>.
4. Cabinet Mounting: Off-floor.
All accessories listed in first subparagraph below are optional. Retain only subparagraphs needed to comply with Project design requirements.

5. Accessories:

a. 12 gauge wall flange.

b. Toilet waste cleanout fitting [IPS 2 to IPS 3 (DN 50 to DN 75)] [IPS 2 to IPS 4 (DN 50 to DN 100)], no-hub.

c. Pinned cleanout plug for cleanout fittings.

d. Cleanout hook assembly.

e. Flush valve through-wall connection.

f. Toilet shipping cover.

g. Metal Template: Provide one per Project.

6. Mounting: Provide threaded mounting points on fixture and 1/2-inch (13-mm) threaded rod with nuts and washers to bolt through wall into accessible rear chase.

7. Water Closet:
a. Applicable Standards:
Retain one or more of first five subparagraphs below when compliance with referenced standards is required to comply with Project design objectives, or when required by state or local code or AHJ.

1) ASME A112.19.3/CSA B45.4.

2) Cal Green.
Retain first subparagraph below when EPA WaterSense guideline applies.
3) EPA WaterSense Specifications for High Efficiency Flushometer Water Closets.
Retain first subparagraph below when selected units are ADA-compliant design.
4) ICC A117.1.

5) U.S. Energy Policy Act of 1992 for Water Closets.

b. Bowl:

1) Type: Elongated, with back inlet, integral trap, and integral contoured seat surface. Seat height and centerline to adjacent wall to conform to ADA standard.

In "Seat Surface" Subparagraph below, No. 4 satin finish is standard. No. 8 finish and plastic hinged toilet seat selections are options.

2) Seat Surface: [No. 4 satin] [No. 8 high-polish] finish on integral toilet seat. [Plastic hinged toilet seat] [Punched for field-mounted toilet seat].

Retain one or both of first two subparagraphs below.

3) Rim Height: 15 inches (381 mm) above finished floor.

4) Rim Height for ADA-Compliant Installation: 18 inches (457 mm) above finished floor.

c. Toilet Waste:

Wall outlet connection variations exist to increase length of extension or provide gasket flange.
1) Wall Outlet Waste Connection (Blowout): [NPS 2 (DN 50)] [3 inches (76 mm) OD], plain end, extended [3 inches (76 mm)] <Insert length> beyond back of unit].[ Gasket waste flange.]

d. Water Consumption: [1.28 gal. (4.8 L)] [1.6 gal. (6 L)] per flush.

e. Supply Pressure: 25 psig (172 kPa), minimum.

Coordinate first subparagraph below with "Flushometer Valves" Article. ADA-accessible units require ADA-compliant flush controls.

8. Flushometer Valve: [Mechanical] [Hydraulic] [Electronic] type. <Insert designation>

a. Flushometer-Valve Accessories: [Top supply flush valve cover] [Wall supply flush valve access panel].
Retain "Toilet Flush Disabler/Overflow Prevention Device" Subparagraph below when this feature is required.
9. Toilet Flush Disabler/Overflow Prevention Device: [Manual-reset] [Automatic-reset] [Electronic] type. <Insert designation>

Retain "Wall Sleeve" Subparagraph below for formed wall openings for piping. A wall sleeve is not required.

10. Wall Sleeve: Galvanized-steel frame with anchoring locations to allow for mounting fixture from rear. Include steel reinforcing bars.

Retain "Configuration" Subparagraph below for ADA-accessible units.

a. Configuration: Install wall sleeve for water-closet mounting height in accordance with ICC A117.1.

Insert number to complete drawing designation. Use these designations on Drawings to identify each water closet.

C. Water Closets <Insert drawing designation>: In-floor, detox toilet.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

1. Basis-of-Design Product: Subject to compliance with requirements, provide Acorn Engineering; Morris Group International; Model 1699 <Insert product name or designation> or comparable product by one of the following:

a. Metcraft Industries, Inc.

b. Willoughby Industries.

c. <Insert manufacturer's name>.

2. Material: 14 gauge minimum-thickness, Type 304 stainless steel.

3. Finish: No. 4 satin finish on exposed surfaces, and matte finish on interior wetted surfaces.

4. Bowl:

a. Type: Blowout design, with back outlet, back inlet, and integral trap.

b. Receptacle: Rectangular, with 360-degree continuous flushing rim, and integral sloping rim.

c. Inlet Connection: 1-inch NPT male.

d. Back Outlet Waste Connection (Blowout): NPS 2 (DN 50), plain end.

e. Water Consumption: [1.6 gal. (6 L)] [3.5 gal. (13.2 L)] per flush.

f. Supply Pressure: 25 psig (172 kPa), minimum.

Retain "Mounting" Subparagraph below when floor flange is required.

5. Mounting: Floor flange.
All accessories listed in first subparagraph below are optional. Retain only subparagraphs needed to comply with Project design requirements.

6. Accessories:

First subparagraph below is available with basis-of-design product manufacturer's products equipped with Acorn's "Model MVC Time-trol" electronic flush valve.

a. Transformer: 120 V ac to 24 V ac.

For first subparagraph below, contact basis-of-design product manufacturer for supplemental details.

b. Vacuum flush system.

Coordinate first subparagraph below with "Flushometer Valves" Article.

7. Flushometer Valve: [Mechanical] [Hydraulic] [Electronic] type. <Insert designation>

Insert number to complete drawing designation. Use these designations on Drawings to identify each water closet.

2.3 VITREOUS-CHINA WATER CLOSETS

Copy "Water Closets" Paragraph below and re-edit for each type of floor-mounted, back-outlet, blowout water closet required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each water closet.

A. Water Closets <Insert drawing designation>: Floor mounted, back outlet, blowout.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by one of the following:

a. American Standard.

b. Willoughby Industries.

c. <Insert manufacturer's name>.

2. Fixture:

a. Standard: ASME A112.19.2/CSA B45.1 and ASME A112.19.5.

b. Bowl: Elongated, vitreous china, with integral trap and contoured seat.

c. Spud Location and Size: Back, NPS 1-1/2 (DN 40).

3. Flushometer Valve: <Insert designation>.

4. Support:

a. Standard: ASME A112.6.1M.

b. Description: Waste-fitting assembly as required to match drainage piping material and arrangement with faceplates, couplings, gaskets, and feet; bolts and hardware match fixture.[ Include additional extension coupling, faceplate, and feet for installation in wide pipe space.]

Copy "Water Closets" Paragraph below and re-edit for each type of floor-mounted, back-outlet, siphon-jet water closet required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each water closet.

B. Water Closets <Insert drawing designation>: Floor mounted, back outlet, siphon jet.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by one of the following:

a. Kohler Co.

b. Willoughby Industries.

c. <Insert manufacturer's name>.

2. Fixture:

a. Standard: ASME A112.19.2/CSA B45.1 and ASME A112.19.5.

b. Bowl: Elongated, vitreous china, with integral trap and contoured seat.

c. Spud Location and Size: Top, NPS 1-1/2 (DN 40).

3. Flushometer Valve: <Insert designation>.

4. Support:

a. Standard: ASME A112.6.1M.

b. Description: Waste-fitting assembly as required to match drainage piping material and arrangement with faceplates, couplings gaskets, and feet; bolts and hardware match fixture.[ Include additional extension coupling, faceplate, and feet for installation in wide pipe space.]

Copy "Water Closets" Paragraph below and re-edit for each type of wall-mounted, back-outlet, blowout water closet required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each water closet.

C. Water Closets <Insert drawing designation>: Wall mounted, back outlet, blowout.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by one of the following:

a. American Standard.

b. Kohler Co.

c. Willoughby Industries.

d. <Insert manufacturer's name>.

2. Fixture:

a. Standard: ASME A112.19.2/CSA B45.1 and ASME A112.19.5.

b. Bowl: Elongated, vitreous china, with integral trap and contoured seat.

c. Spud Location and Size: Back, NPS 1-1/2 (DN 40).

3. Flushometer Valve: <Insert designation>.

Coordinate "Support" Subparagraph below with "Supports" Article.

4. Support: [Water-closet carrier] <Insert carrier>.

5. Water-Closet Mounting Height: [Standard] [Handicapped/elderly in accordance with ICC A117.1].

2.4 FLUSHOMETER VALVES

Copy "Flushometer Valves" Paragraph below and re-edit for each type of diaphragm flushometer valve required. Insert number to complete designation.

A. Flushometer Valves <Insert designation>: [Lever handle] [Push button], diaphragm.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by one of the following:

a. Delany Products.

b. Sloan Valve Company.

c. Zurn Industries, LLC.

d. <Insert manufacturer's name>.

2. Standard: ASSE 1037.

3. Minimum Pressure Rating: 125 psig (860 kPa).

4. Features: Integral check stops and backflow-prevention device.

5. Material: Brass body with corrosion-resistant components.

6. Exposed Flushometer-Valve Finish: Chrome plated.

7. Panel Finish: Chrome plated or stainless steel.

In "Style" Subparagraph below, retain "Concealed" option for back-spud or inlet water closets and urinals, and retain "Exposed" option for top-spud or inlet water closets and urinals.

8. Style: [Concealed] [Exposed].

In "Consumption" Subparagraph below, retain first option for blowout water closets; retain second option for siphon-jet water closets; retain first option for blowout urinals; and retain third, fourth, or fifth option for washout urinals. Verify consumption requirements with manufacturer.

9. Consumption: [0.5 gal. (1.9 L)] [1.0 gal. (3.8 L)] [1.5 gal. (5.7 L)] [1.6 gal. (6 L)] [3.5 gal. (13.2 L)] per flush.

10. Minimum Inlet: NPS 1 (DN 25).

11. Minimum Outlet: NPS 1-1/4 (DN 32).

2.5 TOILET SEATS

Coordinate this article with fixtures in "Combination Units" and "Stainless Steel Water Closets" articles.

Copy "Toilet Seats" Paragraph below and re-edit for each type of toilet seat required. Insert number to complete designation.

A. Toilet Seats <Insert drawing designation>:

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by one of the following:

a. American Standard.

b. Bemis Manufacturing Company.

c. Centoco Manufacturing Corporation.

d. Church Seats; Bemis Manufacturing Company.

e. Jones Stephens Corp.

f. Kohler Co.

g. Olsonite Seat Co.

h. Sanderson Plumbing Products, Inc.

i. Sperzel of Lexington.

j. Zurn Industries, LLC.

k. <Insert manufacturer's name>.

2. Standard: IAPMO Z124.5.

3. Material: Plastic.

B. Type: Commercial [standard] [heavy duty].

1. Shape: Elongated rim, [open] [closed] front.

2. Hinge: Check.

3. Hinge Material: Noncorroding metal.

4. Seat Cover: [Required] [Not required].

5. Color: [White] [Black].

2.6 URINALS

Copy "Urinals" Paragraph below and re-edit for each type of back-access, back-outlet, single urinal required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each urinal.

A. Urinals <Insert drawing designation>: Back access, back outlet, single.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

Wall-hung urinals come in both a standard (1700 and 1702) and straddle (1705 and 1707) housing design. Selection of the straddle models will comply with ADA standards when rim height is mounted to conform to ADA requirements.

1. Basis-of-Design Product: Subject to compliance with requirements, provide Acorn Engineering; Morris Group International; Model [1700] [1702] [1705] [1707] [1709FG] [LR1709FG] [1709HEU] <Insert product name or designation> or comparable product by one of the following:

a. Metcraft Industries, Inc.

b. Willoughby Industries.

c. <Insert manufacturer's name>.

In "Material" Subparagraph below, basis-of-design product manufacturer's standard material thickness is 14 gauge for all units with the exception of "Model 1709HEU," which is fabricated from 18 gauge and 16 gauge for lower cost.
2. Material: [14 gauge] [18 gauge housing with 16 gauge bowl] thickness, Type 304 stainless steel.

3. Finish: [No. 4 satin finish on exposed surfaces, and matte finish on interior wetted surfaces] [Powder coated] <Insert color>.
All accessories listed in first subparagraph below are optional. Retain only subparagraphs needed to comply with Project design requirements.

4. Accessories:

First subparagraph below is not applicable for Acorn's "Model 1709 Series" fixtures.

a. Flush valve through wall connection.
First subparagraph below is not applicable for "Model 1709HEU" fixture.

b. 12 gauge stainless steel housing.
First subparagraph below is for applications of basis-of-design product manufacturer's products equipped with Acorn's "Model MVC Time-trol" electronic flush valve.

c. Transformer: 120 V ac to 24 V ac.

d. Metal Template: Provide one per Project.
5. Mounting: Provide threaded mounting points on fixture and 1/2-inch (13-mm) threaded rod with nuts and washers to bolt through wall into accessible rear chase.

6. Urinal:

a. Applicable Standards:

Retain one or more of first four subparagraphs below when compliance with referenced standards is required to comply with Project design objectives, or when required by state or local code or AHJ.

1) ASME A112.19.3/CSA B45.4.
Retain first subparagraph below when EPA WaterSense guideline applies and Acorn's "Model 1709 Series" urinals are specified.
2) EPA WaterSense Specifications for High Efficiency Flushometer Water Closets.
Retain first subparagraph below when selected units are ADA-compliant design.
3) ICC A117.1.
Retain first subparagraph below when U.S. Energy Policy Act applies. Only washout type fixtures, Acorn's "Model 1702," "Model 1707," or "Model 1709" series are compliant. Blowout urinals "Model 1700" and "Model 1705" do not comply with maximum gpf requirements.
4) U.S. Energy Policy Act of 1992 for Water Closets.

b. Bowl:

1) Type: Washout, with [back wall washdown] [continuous flush rim].

2) Type: Blowout, with [back wall washdown] [continuous flush rim].

3) Rim Height: [20 inches (508 mm), straddle configuration,] [24 inches (610 mm)] <Insert value> above finished floor.

Retain "Rim Height for ADA-Compliant Installation" Subparagraph below for ADA-compliant installations. Only straddle type fixtures are suitable for ADA-compliance.
4) Rim Height for ADA-Compliant Installation: [17 inches (432 mm)] <Insert value> above finished floor, straddle fixture configuration.

c. Inlet Connection, Washout: 3/4 NPT, male spud.
d. Inlet Connection, Blowout: 1-1/2 NPT, male spud.
e. Back Outlet: NPS 2, threaded trap.
In "Water Consumption, Washout Fixtures" Subparagraph below, select 0.5 or 1.0 gallon per flush when U.S. Energy Policy Act applies. Only Acorn's "Model 1702," "Model 1707," and "Model 1709" can comply with U.S. Energy Policy Act.

Select 0.125 or 0.5 gallon per flush when WaterSense standard applies. Only Acorn's "Model 1709" can comply with WaterSense standard.
f. Water Consumption, Washout Fixtures: [0.125 gal. (0.5 L)] [0.5 gal. (1.9 L), high-efficiency] [1.0 gal. (3.8 L)] [1.5 gal. (5.7 L)] per flush.

g. Water Consumption, Blowout Fixtures: 3.5 gal. (13.2 L) per flush.
h. Supply Pressure: 25 psig (172 kPa), minimum.

Retain "Drain" Subparagraph below for washout fixtures only.

i. Drain: Provide beehive dome, welded in place.
Coordinate first subparagraph below with "Flushometer Valves" Article.

7. Flushometer Valve: [Mechanical] [Hydraulic] [Electronic] type. <Insert designation>

a. Flushometer-Valve Accessories: [Top supply flush valve cover] [Wall supply flush valve access panel].
Retain "Wall Sleeve" Subparagraph below for formed wall openings for piping. A wall sleeve is not required.

8. Wall Sleeve: Galvanized-steel frame with anchoring locations to allow for mounting fixture from rear. Include steel reinforcing bars.
Retain "Configuration" Subparagraph below for ADA-accessible units.

a. Configuration: Install wall sleeve for water-closet mounting height in accordance with ICC A117.1.
Insert number to complete drawing designation. Use these designations on Drawings to identify each urinal.

B. Urinals <Insert drawing designation>: Back access, back outlet, trough.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

1. Basis-of-Design Product: Subject to compliance with requirements, provide Acorn Engineering; Morris Group International; Model [1713] [1714] [1715] [1716] [1718] <Insert product name or designation> or comparable product by one of the following:

a. Metcraft Industries, Inc.

b. Willoughby Industries.

c. <Insert manufacturer's name>.

2. Material: 14 gauge minimum-thickness, Type 304 stainless steel.

In "Finish" Subparagraph below, first option is standard finish for basis-of-design products. Retain second or third option for powder coated finish.

3. Finish: [No. 4 satin finish on exposed surfaces, and matte finish on interior wetted surfaces] [Powder coated finish on exposed surfaces] <Insert color from manufacturer's color chart>.
All accessories listed in first subparagraph below are optional. Retain only subparagraphs needed to comply with Project design requirements.

4. Accessories:

a. Flush valve through wall connection.

b. 12 gauge stainless steel housing.
c. Metal Template: Provide one per Project.

First two subparagraphs below are available with basis-of-design product manufacturer's products equipped with Acorn's "Model MVC Time-trol" electronic flush valve.

d. Transformer: 120 V ac to 24 V ac.

5. Mounting: Provide threaded mounting points on fixture and 1/2-inch (13-mm) threaded rod with nuts and washers to bolt through wall into accessible rear chase.

6. Urinal:
a. Applicable Standards:

Retain one or more of first two subparagraphs below when compliance with referenced standards is required to comply with Project design objectives, or when required by state or local code or AHJ.

1) ASME A112.19.3/CSA B45.4.

Retain first subparagraph below when U.S. Energy Policy Act applies and Acorn's "Model 1713," "Model 1714," or "Model 1715" series is specified with a 1.0 gpf (3.8 Lpf) flush valve.

2) U.S. Energy Policy Act of 1992 for Water Closets.

b. Bowl:

Continuous flushing rim is only available with Acorn's "Model 1716" and "Model 1718" when used with a 3.5 gpf (13.2 Lpf) flush valve.
1) Type: Washout, with [back wall washdown] [continuous flush rim].
2) Width: [36 inches (914 mm)] [48 inches (1220 mm)] [60 inches (1524 mm)] [72 inches (1829 mm)] [96 inches (2438 mm)] <Insert length>.
Retain one or both of first two subparagraphs below, and coordinate height with Drawings and Project requirements.
3) Rim Height: [24 inches (610 mm)] <Insert length> above finished floor.
4) Rim Height for ADA-Compliant Installation: [17-inches (432-mm)] <Insert value> above finished floor.

c. Inlet Connection: NPS 3/4 (DN 19), [top] [back] spud.

d. Back Outlet: NPS 2 threaded P-trap.

e. Water Consumption, Washout Fixtures: [1.0 gal. (3.8 L)] [1.5 gal. (5.7 L)] [3.5 gal. (13.2 L)] per flush.
f. Water Consumption, Blowout Fixtures: 3.5 gal. (13.2 L) per flush.
g. Supply Pressure: 25 psig (172 kPa), minimum.

h. Drain: Beehive dome strainer, welded in place.

Coordinate first subparagraph below with "Flushometer Valves" Article.

i. Flushometer Valve: [Mechanical] [Hydraulic] [Electronic] type. <Insert designation>

j. Flushometer-Valve Accessories: [Top supply flush valve cover] [Wall supply flush valve access panel].

Retain "Wall Sleeve" Subparagraph below for formed wall openings for piping. A wall sleeve is not required.

7. Wall Sleeve: Galvanized-steel frame with anchoring locations to allow for mounting fixture from rear. Include steel reinforcing bars.

C. Urinals <Insert drawing designation>: Back access, bottom outlet, stall, ADA compliant.
Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.
1. Basis-of-Design Product: Subject to compliance with requirements, provide Acorn Engineering; Morris Group International; Model 1720 <Insert product name or designation> or comparable product by one of the following:

a. Metcraft Industries, Inc.

b. Willoughby Industries.

c. <Insert manufacturer's name>.

2. Material: 14 gauge minimum-thickness, Type 304 stainless steel.

3. Finish: [No. 4 satin finish on exposed surfaces, and matte finish on interior wetted surfaces] [Powder coated finish on exposed surfaces] <Insert color from manufacturer's color chart>.
All accessories listed in first subparagraph below are optional. Retain only subparagraphs needed to comply with Project design requirements.

4. Accessories:

a. Flush valve through wall connection.

b. 12 gauge stainless steel housing.

c. Metal Template: Provide one per Project.

First subparagraph below is available with basis-of-design product manufacturer's products equipped with Acorn's "Model MVC Time-trol" electronic flush valve.

d. Transformer: 120 V ac to 24 V ac.

5. Mounting: Provide threaded mounting points on fixture and 1/2-inch (13-mm) threaded rod with nuts and washers to bolt through wall into accessible rear chase.

6. Urinal:

Retain one or more of first three subparagraphs below when compliance with referenced standards is required to comply with Project design objectives, or when required by state or local code or AHJ.

1) ASME A112.19.3/CSA B45.4.
Retain first subparagraph below when selected units are ADA-compliant design.
2) ICC A117.1.
Retain first subparagraph below when U.S. Energy Policy Act applies, and units are specified with a 1.0 gpf (3.8 Lpf) flush valve.
3) U.S. Energy Policy Act of 1992 for Water Closets.
b. Bowl:

1) Type: Washout, with [back wall washdown] [continuous flush rim].

2) Rim Height: Install stall trough flush with finished floor, for ADA compliance.

c. Inlet Connection: 3/4-inch NPT male spud, [exposed top] [concealed wall] supply.

d. Bottom Outlet Connection: NPS 2 (DN 50) for inside caulk waste.

e. Water Consumption, Washout Fixtures: [1.0 gal. (3.8 L)] [1.5 gal. (5.7 L)] per flush.

f. Supply Pressure: 25 psig (172 kPa), minimum.

g. Drain: Beehive dome strainer, welded in place.

Coordinate first subparagraph below with "Flushometer Valves" Article.

7. Flushometer Valve: [Mechanical] [Hydraulic] [Electronic] type. <Insert designation>

a. Flushometer-Valve Accessories: [Top supply flush valve cover] [Wall supply flush valve access panel].

b. Inlet Connection: NPS 3/4 (DN 19), [top] [back] spud.

1) Outlet Connection: 1.5 inch (DN 39) OD, slip joint.

Retain "Wall Sleeve" Subparagraph below for formed wall openings for piping. A wall sleeve is not required.

8. Wall Sleeve: Galvanized-steel frame with anchoring locations to allow for mounting fixture from rear. Include steel reinforcing bars.

2.7 STAINLESS STEEL LAVATORIES

Copy "Lavatories" Paragraph below and re-edit for each type of back-access lavatory required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each lavatory.

A. Lavatories <Insert drawing designation>: Back access.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

1. Basis-of-Design Product: Subject to compliance with requirements, provide Acorn Engineering; Morris Group International; Model [1650] [1650LOB] [1652] [1652LRB] [LR1652] [LR1653] [1655] [1656] [1657] [1659] [1660] [1661] <Insert product name or designation> or comparable product by one of the following:

a. Metcraft Industries, Inc.

b. Willoughby Industries.

c. <Insert manufacturer's name>.

2. Fixture:

a. Applicable Standards:
Retain one or more of first three subparagraphs below when compliance with referenced standards is required to comply with Project design objectives, or when required by state or local code or AHJ.

1) ASME A112.19.3/CSA B45.4.
Retain first subparagraph below when selected units are ADA-compliant design.
2) ICC A117.1.

3) NSF/ANSI 61, NSF/ANSI 372.

b. Material: 14 gauge minimum-thickness, Type 304 stainless steel.

c. Finish: [No. 4 satin] [Powder coated] finish on exposed surfaces <Insert color from manufacturer's color chart>.
d. Receptor: Provide manufacturer's standard unit shape and configuration for each model number furnished. Provide units with integral soap depression and integral backsplash.

e. Hot- and Cold-Water and Bubbler Supply Valves:

1) Type: [Pneumatic, nonmetering] [Pneumatic, metering] [Pneumatic, nonmetering on hot water side only] [Electronic] type <Insert designation>, with push-button actuation and individual check stops complying with ASME A112.18.1/CSA B125.1.[ Fixture punched for valve furnished separately.]
2) Temperature: [Single] [Separate hot and cold] temperature.
Retain "Manifolded" Subparagraph below when manifolded supply valves are required.

3) Manifolded: [Two] [Three] [Four]-stack.

Select valve water outlet to coincide with lavatory design specified. A hemispherical bubbler is standard on ligature-resistant models.

f. Valve Water Outlet:

1) Bubbler/Filler, Backsplash-Mounted: [Penal] [Code] [Ligature-resistant-hemispherical bubbler] [Lavatory filler]. Fabricate from machined, Type 303 stainless steel.

Deck-mounted spout is only available on Acorn's "Model 1652LRB."

2) Deck-mounted spout.

g. Drain:

Retain first subparagraph below for manufacturer's standard product.

1) Integral punched fast-drain grid.

Retain first subparagraph below for ligature-resistant applications.

2) Ligature Resistant: Integral punched grid with concealed adapter.
Elbow waste extended 3 inches (76 mm) beyond back of fixture is basis-of-design product manufacturer's standard.
h. Waste Connection: [Elbow connection] [Removable P-trap], with 1-1/2-inch (38-mm) OD plain-end, extended [3 inches (76 mm)] <Insert length> beyond back of fixture.

All accessories listed in first subparagraph below are optional. Retain only subparagraphs needed to comply with Project design requirements.

3. Accessories:
a. Toilet-Paper Holder: Recessed stainless steel, [left] [right] side of fixture.

b. Towel Hooks: [One] [Two] on [each] [left] [right] side of fixture.

c. Ventilation Grille: [Left] [Right] [Bottom].

d. 12 gauge cabinet.

e. Hemispherical Valve Push Button: Include with ligature-resistant models.
Integral shelf in first subparagraph below is not available for Acorn's "Model 1660" and "Model 1661" corner units.

f. Integral shelf.

g. Lavatory overflow.

h. Toothbrush Holders: One on [each] [left] [right] side of backsplash.

i. Lavatory through-wall waste connection with P-trap.
j. Brass valve body.

k. Pushrod-activated valve push buttons.

l. Fixture-mounted trim.

m. Metal Template: Provide one per Project.

First two subparagraphs below are available with basis-of-design product manufacturer's products equipped with Acorn's "Model MVC Time-trol" electronic flush valve.

n. Transformer: 120 V ac to 24 V ac.

o. Cycle interrupt.
Lavatory oval bowl in first subparagraph below is available for basis-of-design product manufacturer's Model 1650 only.
p. Lavatory oval bowl.
For first subparagraph below, contact basis-of-design manufacturer for supplemental details.

q. Vacuum waste system.
Retain "Deck-Mounted Drinking Bubbler" Subparagraph below when drinking bubbler is required.
Deck-mounted drinking bubbler is available for basis-of-design product manufacturer's Model 1650 and Model LR1652 only.
4. Deck-Mounted Drinking Bubbler: Provide [penal] [code] [ligature-resistant, hemispherical]-type. Fabricate from machined, Type 303 stainless steel.

5. Mounting: Provide threaded mounting points on fixture and 1/2-inch (13-mm) threaded rod with nuts and washers to bolt through wall into accessible rear chase.
6. Wall Sleeve: Galvanized-steel frame with anchoring locations to allow for mounting fixture from rear. Include steel reinforcing bars.

Insert number to complete drawing designation. Use these designations on Drawings to identify each lavatory.

B. Lavatories <Insert drawing designation>: Front access.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.
1. Basis-of-Design Product: Subject to compliance with requirements, provide Acorn Engineering; Morris Group International; Model [1650FA] [1650FALOB] [1652FA] [LR1652FA] [1652FALRB] [LR1653FA] [1655FA] [1656FA] <Insert product name or designation> or comparable product by one of the following:

a. Metcraft Industries, Inc.

b. Willoughby Industries.

c. <Insert manufacturer's name>.

2. Fixture:

a. Applicable Standards:

Retain one or more of first three subparagraphs below when compliance with referenced standards is required to comply with Project design objectives, or when required by state or local code or AHJ.

1) ASME A112.19.3/CSA B45.4.
Retain first subparagraph below when selected units are ADA-compliant design.
2) ICC A117.1.

3) NSF/ANSI 61, NSF/ANSI 372.

b. Material: 14 gauge minimum-thickness, Type 304 stainless steel.

c. Finish: [No. 4 satin] [Powder coated] finish on exposed surfaces <Insert color from manufacturer's color chart>.
d. Receptor: Provide manufacturer's standard unit shape and configuration for each model number furnished. Provide units with integral backsplash, integral soap depression, and access panels secured with vandal-resistant fasteners.
e. Hot- and Cold-Water and Bubbler Supply Valves:

1) Type: [Pneumatic, nonmetering] [Pneumatic, metering] [Electronic] <Insert designation>, with push-button actuation and individual check stops complying with ASME A112.18.1/CSA B125.1.[ Fixture punched for valve furnished separately.]

2) Temperature: [Single] [Separate hot and cold] temperature.

Select valve water outlet to coincide with lavatory design specified. A hemispherical bubbler is standard on ligature-resistant models.

f. Valve Water Outlet: 

1) Bubbler/Filler Backsplash-Mounted: [Penal] [Code] [Ligature-resistant hemispherical bubbler] [Lavatory filler]. Machined Type 303 stainless steel.

Deck-mounted spout in first subparagraph below is only available on Acorn's "Model 1652LRB."
2) Deck-mounted spout.
g. Drain:

Retain first subparagraph below for manufacturer's standard product.

1) Integral punched fast-drain grid.

Retain first subparagraph below for ligature-resistant applications.

2) Ligature Resistant: Integral punched grid with concealed adapter.
P-trap with plain end extended 3 inches (76 mm) beyond back of fixture is basis-of-design product manufacturer's standard.

h. Waste: Removable 1-1/2-inch (38-mm) OD P-trap with plain-end, extended 3 inches (76 mm) <Insert length>beyond back of fixture.
All accessories listed in first subparagraph below are optional. Retain only subparagraphs needed to comply with Project design requirements.

3. Accessories:
a. Towel Hooks: [One] [Two] on [each] [left] [right] side of fixture.

b. 12 gauge cabinet.

c. Hemispherical Valve Push Button: Include with ligature-resistant models.
Retain "Integral Shelf" Subparagraph below, for "Model 1652FA" and "Model 1652FALRB," for which the integral shelf is standard equipment. Retain subparagraph as an accessory, when required for other listed model numbers.

d. Integral shelf.

e. Lavatory overflow.

f. Toothbrush Holders: One on [each] [left] [right] side of backsplash.

g. Brass valve body.

h. Fixture-mounted trim.

First two subparagraphs below are available with basis-of-design product manufacturer's products equipped with Acorn's "Model MVC Time-trol" electronic flush valve.

i. Transformer: 120 V ac to 24 V ac.

j. Cycle interrupt.

Retain first subparagraph below for Model 1650FA only.

k. Lavatory oval bowl.

For first subparagraph below, contact basis-of-design product manufacturer for supplemental details.

l. Vacuum waste system.
Retain "Deck-Mounted Drinking Bubbler" Subparagraph below when drinking bubbler is required.

Deck-mounted drinking bubbler is only available for "Model 1652FA" and "Model LR1652FA."
4. Deck-Mounted Drinking Bubbler: Provide [penal] [code] [ligature-resistant, hemispherical]-type. Fabricate from machined, Type 303 stainless steel.

5. Mounting: Provide slotted mounting points on fixture for 1/2-inch (13-mm) hardware to anchor cabinet to wall from fixture side.
Retain "Wall Sleeve" Subparagraph below for formed wall openings for piping. A wall sleeve is not required.

6. Wall Sleeve: Galvanized-steel frame with integral threaded anchors to allow for mounting fixture from front. Include steel reinforcing bars.

2.8 VITREOUS-CHINA LAVATORIES

Copy "Lavatories" Paragraph below and re-edit for each type of wall-mounted lavatory required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each lavatory.

A. Lavatories <Insert drawing designation>: Wall mounted.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by one of the following:

a. American Standard.

b. Crane Plumbing, L.L.C.

c. Kohler Co.

d. <Insert manufacturer's name>.

2. Fixture:

a. Standard: ASME A112.19.2/CSA B45.1.

b. Material: Vitreous china.

c. Receptor: Oval or rectangular bowl with integral soap depression and wall bracket.

d. Hot- and Cold-Water Supply Valves: Factory-installed, with push-button, self-closing, chrome-plated brass faucets complying with ASME A112.18.1/CSA B125.1.

e. Drain: Grid with 1-1/2-inch (40-mm) OD plain end tailpiece.

3. Waste Fittings: 1-1/4-inch (32-mm) OD minimum waste and trap complying with ASME A112.18.2/CSA B125.2.

Coordinate "Support" Subparagraph below with "Supports" Article.

4. Support: [Type III lavatory carrier] <Insert carrier>.

5. Lavatory Mounting Height: [Standard] [Handicapped/elderly in accordance with ICC A117.1].

2.9 DRINKING FOUNTAINS

Copy "Drinking Fountains" Paragraph below and re-edit for each type of back-access drinking fountain required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each drinking fountain.

A. Drinking Fountains, Rear Access <Insert drawing designation>:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

1. Basis-of-Design Product: Subject to compliance with requirements, provide Acorn Engineering; Morris Group International; Model [1670] [1672] [LR1670] [LR1672] [LR1673] <Insert product name or designation> or comparable product by one of the following:

a. Metcraft Industries, Inc.

b. Willoughby Industries.

c. <Insert manufacturer's name>.

2. Fixture:

a. Applicable Standards:

Retain one or more of first three subparagraphs below when compliance with referenced standards is required to comply with Project design objectives, or when required by state or local code or AHJ.

1) ASME A112.19.3/CSA B45.4.
Retain first subparagraph below when selected units are ADA-compliant design.
2) ICC A117.1.

3) NSF/ANSI 61, NSF/ANSI 372.

b. Material: 14 gauge minimum-thickness, Type 304 stainless steel.

c. Finish: [No. 4 satin] [Powder coated] finish on exposed surfaces <Insert color from manufacturer's color chart>.
d. Receptor: Provide manufacturer's standard unit shape and configuration for each model number furnished.
Delete first subparagraph below when "Model LR1673" is specified.
e. Provide units with integral backsplash.

f. Drinking Fountain Water Supply Valve:

1) Type: [Pneumatic, nonmetering] [Pneumatic, metering] [Electronic] <Insert designation>, with push-button actuation and individual check stops complying with ASME A112.18.1/CSA B125.1.[ Fixture punched for valve furnished separately.]

2) Temperature: Single temperature.

Retain "Manifolded" Subparagraph below when manifolded supply valves are required.

3) Manifolded: [Two] [Three] [Four]-stack.

Retain "Deck-Mounted Drinking Bubbler" Subparagraph below when drinking bubbler is required.

g. Deck-Mounted Drinking Bubbler: Provide [penal] [code] [ligature-resistant, hemispherical]-type. Fabricate from machined, Type 303 stainless steel.

h. Drain:

Retain first subparagraph below for manufacturer's standard product.

1) Integral punched fast-drain grid.

Retain first subparagraph below for ligature-resistant applications.

2) Ligature Resistant: Integral punched grid with concealed adapter.
In first subparagraph below, P-trap waste option is not available on ADA-compliant models. Elbow waste connection with plain end extended 3 inches (76 mm) beyond back of fixture is basis-of-design product manufacturer's standard.
i. Waste: [Elbow connection] [Removable P-trap], with 1-1/2-inch (38-mm) OD plain-end, extended [3 inches (76 mm)] <Insert length> beyond back of fixture.

All accessories listed in first subparagraph below are optional. Retain only subparagraphs needed to comply with Project design requirements.

3. Accessories:
a. 12 gauge cabinet.

b. Hemispherical Valve Push Button: Include with ligature-resistant models.
c. Brass valve body.

d. Fixture-mounted trim.

e. Metal Template: Provide one per Project.

First two subparagraphs below are available with basis-of-design product manufacturer's products equipped with Acorn's "Model MVC Time-trol" electronic flush valve.

f. Transformer: 120 V ac to 24 V ac.

g. Cycle interrupt.

For first subparagraph below, contact basis-of-design product manufacturer for supplemental details.

h. Vacuum waste system.

4. Mounting: Provide threaded mounting points on fixture for 1/2-inch (13-mm) threaded rod with nuts and washers to bolt through wall into accessible rear chase.
Retain "Wall Sleeve" Subparagraph below for formed wall openings for piping. A wall sleeve is not required.

5. Wall Sleeve: Galvanized-steel frame with anchoring locations to allow for mounting fixture from rear. Include steel reinforcing bars.

Insert number to complete drawing designation. Use these designations on Drawings to identify each drinking fountain.

B. Drinking Fountains Rear Access <Insert drawing designation>:.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

1. Basis-of-Design Product: Subject to compliance with requirements, provide Acorn Engineering; Morris Group International; Secur-Care Model LR1671 drinking fountain with bottle filler <Insert product name or designation> or comparable product by one of the following:

a. Metcraft Industries, Inc.

b. Willoughby Industries.

c. <Insert manufacturer's name>.

2. Fixture:

a. Applicable Standards:

Retain one or more of first two subparagraphs below when compliance with referenced standards is required to comply with Project design objectives, or when required by state or local code or AHJ.

1) ASME A112.19.3/CSA B45.4.
Retain first subparagraph below when selected units are ADA-compliant design.
2) NSF/ANSI 61, NSF/ANSI 372.

b. Material: 14 gauge minimum-thickness, Type 304 stainless steel.

c. Finish: [No. 4 satin] [Powder coated] finish on exposed surfaces <Insert color from manufacturer's color chart>.
d. Receptor: Sloped rectangular basin to facilitate drainage.

e. Water Supply Valve for Drinking Fountain and Bottle Filler:

1) Type: Manifolded pneumatic, nonmetering, with hemispherical push-button actuation and individual check stops complying with ASME A112.18.1/CSA B125.1.

2) Temperature: Single temperature.

f. Deck-Mounted Drinking Bubbler: Provide Ligature-resistant, hemispherical type. Fabricate from machined, Type 303 stainless steel.

g. Bottle Filler Spout: Provide ligature-resistant, hemispherical type. Fabricate from machined, Type 303 stainless steel.

h. Drain: Ligature-resistant, integral punched with concealed adapter.

i. Waste: [Elbow connection] [Removable P-trap], with 1-1/2-inch (38-mm) OD outlet connection.

All accessories listed in first subparagraph below are optional. Retain only subparagraphs needed to comply with Project design requirements.

3. Accessories:

a. 12 gauge cabinet.

b. Brass valve body.

c. Metal Template: Provide one per Project.

For first subparagraph below, contact basis-of-design product manufacturer for supplemental details.

d. Vacuum waste system.

4. Mounting: Provide threaded mounting points on fixture for 1/2-inch (13-mm) threaded rod with nuts and washers to bolt through wall into accessible rear chase.

Retain "Wall Sleeve" Subparagraph below for formed wall openings for piping. A wall sleeve is not required.

5. Wall Sleeve: Galvanized-steel frame with anchoring locations to allow for mounting fixture from rear. Include steel reinforcing bars.

Copy "Drinking Fountains" Paragraph below and re-edit for each type of front-access drinking fountain required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each drinking fountain.

C. Drinking Fountains, Front Access <Insert drawing designation>:

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

1. Basis-of-Design Product: Subject to compliance with requirements, provide Acorn Engineering; Morris Group International; Model [1670FA] [1672FA] [LR1672FA] <Insert product name or designation> or comparable product by one of the following:

a. Metcraft Industries, Inc.

b. Willoughby Industries.

c. <Insert manufacturer's name>.
2. Fixture:
a. Applicable Standards:

Retain one or more of first three subparagraphs below when compliance with referenced standards is required to comply with Project design objectives, or when required by state or local code or AHJ.

1) ASME A112.19.3/CSA B45.4.
Retain first subparagraph below when selected units are ADA-compliant design.
2) ICC A117.1.

3) NSF/ANSI 61, NSF/ANSI 372.

b. Material: 14 gauge minimum-thickness, Type 304 stainless steel.

c. Finish: [No. 4 satin] [Powder coated] finish on exposed surfaces <Insert color from manufacturer's color chart>.
d. Receptor: Provide manufacturer's standard unit shape and configuration for each model number furnished. Provide units with integral soap depression and backsplash.

e. Drinking Fountain Water Supply Valve:

1) Type: [Pneumatic, nonmetering] [Pneumatic, metering] [Electronic] <Insert designation>, with push-button actuation and individual check stops complying with ASME A112.18.1/CSA B125.1.[ Fixture punched for valve furnished separately.]

2) Temperature: Single temperature.

f. Deck-Mounted Bubbler: [Penal] [Code] [Ligature-resistant hemispherical]-type. Machined Type 303 stainless steel.

g. Drain:

Retain first subparagraph below for manufacturer's standard product.

1) Integral punched fast-drain grid.

Retain first subparagraph below for ligature-resistant applications.

2) Ligature Resistant: Integral punched grid with concealed adapter.
In "Waste" Subparagraph below, P-trap with plain end, extended 3 inches (76 mm) beyond back of fixture is basis-of-design product manufacturer's standard.

h. Waste: Removable 1-1/2-inch (38-mm) OD P-trap with plain-end, extended 3 inches (76 mm) <Insert length>beyond back of fixture.
All accessories listed in first subparagraph below are optional. Retain only subparagraphs needed to comply with Project design requirements.

3. Accessories:
a. 12 gauge cabinet.

b. Hemispherical Valve Push Button: Include with ligature-resistant models.

c. Brass valve body.

d. Fixture-mounted trim.

e. Metal Template: Provide one per Project.

First two subparagraphs below are available with basis-of-design product manufacturer's products equipped with Acorn's "Model MVC Time-trol" electronic flush valve.

f. Transformer: 120 V ac to 24 V ac.

g. Cycle interrupt.

For first subparagraph below, contact basis-of-design product manufacturer for supplemental details.

h. Vacuum waste system.

4. Mounting: Provide slotted mounting points on fixture for 1/2-inch (13-mm) hardware to anchor cabinet to wall from fixture side.
Retain "Wall Sleeve" Subparagraph below for formed wall openings for piping. A wall sleeve is not required.

5. Wall Sleeve: Galvanized-steel frame with anchoring locations to allow for mounting fixture from front. Include steel reinforcing bars.

2.10 SHOWERS

Showers in first two "Showers" paragraphs below require a floor drain and, if accessible, a hand-held shower head, a separate seat, and a grab bar.

Copy first "Showers" Paragraph and re-edit for each type of back-access, recessed shower required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each shower.

A. Showers <Insert drawing designation>: Back access, recessed.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

1. Basis-of-Design Product: Subject to compliance with requirements, provide Acorn Engineering; Morris Group International; Model [1741] [1741ADA] [1743] [LR1741] [LR1741ADA] [LR1748] [LR1748ADA] <Insert product name or designation> or comparable product by one of the following:

a. Metcraft Industries, Inc.

b. Willoughby Industries.

c. <Insert manufacturer's name>.

2. Fixture:

a. Applicable Standards:

Retain one or more of first four subparagraphs below when compliance with referenced standards is required to comply with Project design objectives, or when required by state or local code or AHJ.

1) ASME A112.19.3/CSA B45.4.
Retain first subparagraph below when EPA WaterSense guideline applies.
2) EPA WaterSense Specifications for Showerheads.
Retain first subparagraph below when selected units are ADA-compliant design.
3) ICC A117.1.

4) NSF/ANSI 61, NSF/ANSI 372.

b. Material: 14 gauge minimum thickness, Type 304 stainless steel.

c. Finish: No. 4 satin finish on exposed surfaces.

d. Type and Configuration: Wall mounted, back access, recessed.
Retain one or both of first two subparagraphs below when required to comply with Project requirements.

e. ADA compliant.
f. Ligature resistant.

g. Control Valve:
Retain one of first five subparagraphs below.
1) Type: [Pneumatic, metering, adjustable from 5 to 60 seconds] [Electronic] <Insert designation>, with push-button actuation and individual check stops complying with ASME A112.18.1/CSA B125.1.
2) ASSE 1016-compliant hot and cold temperature and pressure balancing mixing valve with ligature-resistant handle.

3) ASSE 1016-compliant hot and cold temperature and pressure balancing mixing valve with ligature-resistant handle and single temperature metering valve with push button.
4) Fixture punched for valve furnished separately.
5) Temperature: [Single] [Separate hot and cold] temperature.
Retain "Manifolded" Subparagraph below when manifolded supply valves are required.

6) Manifolded: Two-stack.

In "Shower Head" Subparagraph below, select flow rate required for Project design. Standard shower head is 1.6 gpm (6.1 Lpm). Do not specify 2.0 gpm (7.6 Lpm) shower heads for use in California.
h. Shower Head: [1.6 gpm (6.1 Lpm)] [2.0 gpm (7.6 Lpm)].
First subparagraph below describes basis-of-design product manufacturer's standard product. 
1) Shower Head: Non-adjustable penal shower head.
First subparagraph below describes manufacturer's standard ligature-resistant product.
2) Shower Head, Ligature-Resistant: Ligature-resistant conical shower head.
First three subparagraphs below are optional configurations.
3) Adjustable penal shower head with lockable universal ball joint.
4) Adjustable penal shower head with lockable up-down ball joint.
5) Non-adjustable space saver penal shower head with 20-degree discharge.

In "Shower Head" Subparagraph below, select flow rate required for Project design. Standard shower head is 1.6 gpm (6.1 Lpm). Do not specify 2.0 gpm (7.6 Lpm) shower heads for use in California
i. ADA Model Shower Head: [1.6 gpm (6.1 Lpm)] [2.0 gpm (7.6 Lpm)].
Retain one of two subparagraphs below for ADA-compliant showers. First subparagraph describes standard ADA shower head.

1) Handheld shower head with 60-inch (1524-mm) hose.
2) Fixed shower head at 48 inches (1219 mm) above finished floor, in lieu of handheld shower.
Retain "Soap Dish" Subparagraph below when required. Retain recessed option for ADA-compliant models.
j. Soap Dish: [Recessed] [Surface-mounted] stainless steel.

All accessories listed in first subparagraph below are optional. Retain only subparagraphs needed to comply with Project design requirements.

3. Accessories:
a. Brass valve body.

b. Hemispherical Valve Push Button: Include with ligature-resistant models.

First two subparagraphs below are available with basis-of-design product manufacturer's products equipped with Acorn's "Model MVC Time-trol" electronic flush valve.

c. Transformer: 120 V ac to 24 V ac.

d. Cycle interrupt.

4. Mounting: Provide threaded mounting points on fixture and 1/4-inch (6-mm) threaded rod with nuts and washers to bolt through wall into accessible service space.

Retain "Wall Sleeve" Subparagraph below for formed wall openings for piping. A wall sleeve is not required.

5. Wall Sleeve: Galvanized-steel frame of dimensions required to match fixture. Include steel reinforcing bars.
Copy first "Showers" Paragraph below and re-edit for each type of front-access, recessed shower required.

B. Showers <Insert drawing designation>: Front access, recessed.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

1. Basis-of-Design Product: Subject to compliance with requirements, provide Acorn Engineering; Morris Group International; Model [1741FA] [1741ADAFA] [LR1748FA] <Insert product name or designation> or comparable product by one of the following:

a. Metcraft Industries, Inc.

b. Willoughby Industries.

c. <Insert manufacturer's name>.

2. Fixture:

a. Applicable Standards:

Retain one or more of first four subparagraphs below when compliance with referenced standards is required to comply with Project design objectives, or when required by state or local code or AHJ.

1) ASME A112.19.3/CSA B45.4.
Retain first subparagraph below when EPA WaterSense guideline applies.
2) EPA WaterSense Specification for Showerheads.
Retain first subparagraph below when selected units are ADA-compliant design.
3) ICC A117.1.

4) NSF/ANSI 61, NSF/ANSI 372.

b. Material: 14 gauge minimum thickness, Type 304 stainless steel.

c. Finish: No. 4 satin finish on exposed surfaces, and matte finish on interior wetted surfaces.

d. Type and Configuration: Wall-mounted, front access, recessed.

Retain one or both of first two subparagraphs below to comply with Project requirements.

e. ADA compliant.

f. Control Valve:

Retain one of first four subparagraphs below.

1) Type: [Pneumatic, metering, adjustable from 5 to 60 seconds] [Electronic] <Insert designation>, with push-button actuation and individual check stops complying with ASME A112.18.1/CSA B125.1.

2) ASSE 1016-compliant hot and cold temperature and pressure balancing mixing valve with ligature-resistant handle.

3) ASSE 1016-compliant hot and cold temperature and pressure balancing mixing valve with ligature-resistant handle and single temperature metering valve with push button.

4) Fixture punched for valve furnished separately.
5) Temperature: [Single] [Separate hot and cold] temperature.

In "Shower Head" Subparagraph below, select flow rate required for Project design. Basis-of-design product manufacturer's standard shower head is 1.6 gpm (6.1 Lpm). Do not specify 2.0 gpm (7.6 Lpm) shower heads for use in California.

g. Shower Head: [1.6 gpm (6.1 Lpm)] [2.0 gpm (7.6 Lpm)]

First subparagraph below describes the standard product.
1) Shower Head: Non-adjustable penal shower head.
First subparagraph below describes the ligature-resistant product.
2) Shower Head, Ligature-Resistant: Ligature-resistant conical shower head.

3) Adjustable penal shower head with lockable universal ball joint.
First two subparagraphs below are optional configurations.
4) Adjustable penal shower head with lockable up-down ball joint.

5) Non-adjustable space saver penal shower head with 20-degree discharge.

In "Shower Head, ADA-Compliant" Subparagraph below, select flow rate required for Project design. Basis-of-design product manufacturer's standard shower head is 1.6 gpm (6.1 Lpm). Do not specify 2.0 gpm (7.6 Lpm) shower heads for use in California.

h. Shower Head, ADA-Compliant: [1.6 gpm (6.1 Lpm)] [2.0 gpm (7.6 Lpm)].
Retain for ADA-compliant showers. First subparagraph below describes standard ADA shower head.

1) Handheld shower head with 60-inch (1524-mm) hose.
2) Fixed shower head at 48 inches (1219 mm) above finished floor, in lieu of handheld shower.

Retain "Soap Dish" Subparagraph below when required. Retain recessed option for ADA-compliant models.

i. Soap Dish: [Recessed] [Surface-mounted] stainless steel.
All accessories listed in first subparagraph below are optional. Retain only subparagraphs needed to comply with Project design requirements.

3. Accessories:

a. Brass valve body.

b. Hemispherical Valve Push Button: Include with ligature-resistant models.

First two subparagraphs below are available with basis-of-design product manufacturer's products equipped with Acorn's "Model MVC Time-trol" electronic flush valve.

c. Transformer: 120 V ac to 24 V ac.

d. Cycle interrupt.

4. Mounting: Provide vandal-resistant fasteners to attach housing panel to recessed mounting frame.
5. Access to Internal Components: Provide removable housing panel with vandal-resistant fasteners.
Insert number to complete drawing designation. Use these designations on Drawings to identify each shower.

C. Showers <Insert drawing designation>: Back access, accessible, cabinet.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

1. Basis-of-Design Product: Subject to compliance with requirements, provide Acorn Engineering; Morris Group International Model 1736ADA-A <Insert product name or designation> or comparable product by one of the following:

a. Metcraft Industries, Inc.

b. Willoughby Industries.

c. <Insert manufacturer's name>.

2. Fixture:

a. Applicable Standards:

Retain one or more of first four subparagraphs below when compliance with referenced standards is required to comply with Project design objectives, or when required by state or local code or AHJ.

1) ASME A112.19.3/CSA B45.4.
Retain first subparagraph below when EPA WaterSense guideline applies.
2) EPA WaterSense Specification for Showerheads.
Retain first subparagraph below when selected units are ADA-compliant design.
3) ICC A117.1.

4) NSF/ANSI 61, NSF/ANSI 372.

b. Construction:
1) [Unitized, all-welded] [Knock-down] for accessible chase.

2) Provide shower floor with stainless steel reinforcement.

3) Provide mounting brackets at top for securing cabinet to back wall.

4) Provide vandal-resistant valve and shower head access panel.

5) Provide auto-release towel hook and stainless steel recessed soap dish.

c. Threshold: 2 inches (51 mm) high.
1) For ADA-compliant applications, recess threshold in floor or provide ramped floor that complies with ICC A117.1.

Retain 16 gauge, 0.063-inch (1.6-mm) material thickness for basis-of-design product manufacturer's standard product. Retain 14 gauge (0.078 inches (2.0 mm) material thickness when required.
d. Material: Minimum [0.063-inch (1.6-mm)] [0.078-inch (2.0-mm)]-thick stainless steel; corrosion-resistant metal for internal piping and bracing.

e. Finish: [No. 4 satin] [Powder coated] finish on exposed surfaces <Insert color from manufacturer's color chart>.
1) Provide nonslip finish on shower floor.
Retain first subparagraph below when polished exterior walls are required.

2) Polished Exterior Walls: [Back] [Left side] [Right side].

f. Type and Configuration: Cabinet 36 by 36 inches (915 by 915 mm), inside dimensions, with outward-facing 3-3/4-inch (95-mm) support columns. 

g. Shower Control Location: [Left] [Right], opposite seat.

Retain "Shower Seat" and Horizontal Grab Bar" Subparagraphs below when ADA compliance is required.

h. Shower Seat: [Fixed] [Folding-seat], stainless steel.
Basis-of-design product manufacturer's standard horizontal grab bar is two-wall.

i. Horizontal Grab Bar: Two-wall grab bar[ with closure plate].
Retain "Vertical Grab Bar" Subparagraph below when required by Project design.

j. Vertical Grab Bar: Manufacturer's standard materials and dimensions.
k. Valve Inlet: [Single, tempered] [Separate hot- and cold]-water supply valves[, furnished separately].

l. Control Valve:

Retain one or more of first four subparagraphs below as required by Project design.
1) Type: [Pneumatic, metering, adjustable from 5 to 60 seconds] [Electronic] <Insert designation>, with push-button actuation and individual check stops complying with ASME A112.18.1/CSA B125.1.

2) ASSE 1016-compliant hot and cold temperature and pressure balancing mixing valve with ligature-resistant handle.

3) ASSE 1016-compliant hot and cold temperature and pressure balancing mixing valve with ligature-resistant handle and single temperature metering valve with push button.

4) Fixture punched for valve furnished separately.

m. Push Buttons and Escutcheons: Machined Type 303 stainless steel.
In "Upper Shower Head, ADA-Compliant" Subparagraph below, select flow rate required for Project design. Basis-of-design product manufacturer's standard shower head is 1.6 gpm (6.1 Lpm). Do not specify 2.0 gpm (7.6 Lpm) shower heads for use in California.
n. Upper Shower Head, ADA Compliant: [1.6 gpm (6.1 Lpm)] [2.0 gpm (7.6 Lpm)]. Mount at 72 inches (1829 mm) above finished floor.

First subparagraph below describes basis-of-design product manufacturer's standard product.
1) Shower Head: Non-adjustable penal shower head.
First subparagraph below describes ligature-resistant product.
2) Shower Head, Ligature Resistant: Ligature-resistant conical shower head.
First two subparagraphs below are optional configurations.
3) Adjustable penal shower head with lockable universal ball joint.

4) Adjustable penal shower head with lockable up-down ball joint.

o. Accessible Shower Head:

Retain one or both of first two subparagraphs below for ADA-compliant showers.
Retain first subparagraph below for non-ligature-resistant applications.

1) Handheld shower head with 60-inch (1524-mm)-long, stainless steel hose, vacuum breaker, and quick-disconnect.
Retain first subparagraph below for ligature-resistant applications.
2) Fixed showerhead at 48 inches (1219 mm) above finished floor.

p. Soap Dish: [Recessed] [Surface-mounted] stainless steel.
Retain "Ventilation Grille" Subparagraph below when required.

q. Ventilation Grille: 8.5 by 8.5 inches (216 by 216 mm), with minimum 20 sq. in. (129 sq. cm) free area.
Retain "Modesty Door" Subparagraph below when modesty doors are included in Project design. Verify that modesty door maintains ADA compliance for accessible fixtures.
r. Modesty Door: Hinged [left] [right].
s. Drain: Grid with NPS 2 (DN 50) outlet.

3. Waste Fittings: NPS 2 (DN 50) inside caulk drain for floor connection.

Accessories listed in first subparagraph below are optional. Retain only subparagraphs needed to comply with Project design requirements.

4. Accessories:

a. Threshold anchors.

b. Brass valve body.

c. Hemispherical valve push button.

First subparagraph below is available with basis-of-design product manufacturer's products equipped with Acorn's "Model MVC Time-trol" electronic flush valve.

d. Transformer: 120 V ac to 24 V ac.

e. Sloping top closure.

Retain "Horizontal Closure Panel" and "Vertical Closure Panel" Subparagraphs below when required.

f. Horizontal Closure Panel: Provide [with shower unit] [separately for field-installation].

g. Vertical Closure Panel: Provide [with shower unit] [separately for field-installation].
5. Mounting: Provide mounting brackets at top-rear of cabinet to secure unit to wall from fixture side.
Retain "Wall Sleeve" Subparagraph below for formed wall openings for piping. A wall sleeve is not required.

6. Wall Sleeve: Galvanized-steel frame of dimensions required to match fixture supply connections and ventilation grille. Include steel reinforcing bars.
Copy "Showers" Paragraph below and re-edit for each type of back-access, cabinet shower required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each shower.

D. Showers <Insert drawing designation>: Back access, cabinet.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

1. Basis-of-Design Product: Subject to compliance with requirements, provide Acorn Engineering; Morris Group International Model [1730] [1730FA] [1732] [1732FA] [1736] [1736FA] [LR1730] [LR1732] [LR1736]; <Insert product name or designation> or comparable product by one of the following:

a. Metcraft Industries, Inc.

b. Willoughby Industries.

c. <Insert manufacturer's name>.

2. Fixture:

a. Applicable Standards:

1) ASME A112.19.3/CSA B45.4.

2) NSF/ANSI 61, NSF/ANSI 372.

b. Construction:

Retain one of first two subparagraphs below.
1) [Unitized, all-welded] [Knock-down] for accessible chase.
2) [Unitized, all-welded] [Knock-down] for front access, with vandal-resistant access openings for shower head and valve controls.

3) Provide shower floor with stainless steel reinforcement.

4) Provide auto-release towel hook and stainless steel recessed soap dish.

c. Threshold: 9 inches (229 mm) high.

Retain 16 gauge, 0.063-inch (1.6-mm) material thickness for basis-of-design product manufacturer's standard product. Retain 14 gauge (0.078 inches (2.0 mm) material thickness when required.

d. Material: Minimum [0.063-inch (1.6-mm)] [0.078-inch (2.0-mm)]-thick stainless steel; corrosion-resistant metal for internal piping and bracing.

e. Finish: [No. 4 satin] [Powder coated] finish on exposed surfaces <Insert color from manufacturer's color chart>.
1) Provide non-slip finish on shower floor.

Retain first subparagraph below when polished exterior walls are required.

2) Polished Exterior Walls: [Back] [Left side] [Right side].

f. Type and Configuration: Cabinet [30 by 30 inches (760 by 760 mm)] [32 by 32 inches (815 by 815 mm)] [36 by 36 inches (915 by 915 mm)], inside dimensions.

Retain "Chase Wall Outlet" Subparagraph below when chase wall is included in design.

g. Chase Wall Outlet: [Back] [Left side] [Right side].

h. Shower Head Location: [Left] [Right] column.

i. Valve Inlet: [Single, tempered] [Separate hot and cold]-water supply valves, [Furnished separately].

j. Control Valve: 

Retain one or more of first five subparagraphs below as required by Project design.

1) Type: [Pneumatic, metering, adjustable from 5 to 60 seconds] [Electronic] <Insert designation>, with push-button actuation and individual check stops complying with ASME A112.18.1/CSA B125.1.

2) ASSE 1016-compliant hot and cold temperature and pressure balancing mixing valve with ligature-resistant handle.

3) ASSE 1016-compliant hot and cold temperature and pressure balancing mixing valve with ligature-resistant handle and single temperature metering valve with push button.

4) Fixture punched for valve furnished separately.

Retain "Manifolded" Subparagraph below when manifolded supply valves are required.

5) Manifolded: Two-stack.

k. Push Buttons and Escutcheons: Machined Type 303 stainless steel.

In "Shower Head" Subparagraph below, select flow rate required for Project design. Basis-of-design product manufacturer's standard shower head is 1.6 gpm (6.1 Lpm). Do not specify 2.0 gpm (7.6 lpm) shower heads for use in California.

l. Shower Head: [1.6 gpm (6.1 Lpm)] [2.0 gpm (7.6 Lpm)]. Mount at 72 inches (1829 mm) above finished floor.

First subparagraph below describes basis-of-design product manufacturer's standard product.

1) Shower Head: Non-adjustable penal shower head.
First subparagraph below describes ligature-resistant product.

2) Shower Head, Ligature Resistant: Ligature-resistant conical shower head.
First subparagraph below is an optional configuration.
3) Adjustable penal shower head with lockable universal ball joint.

Retain "Soap Dish" Subparagraph below when included in Project design. Retain "Recessed" option for ligature-resistant applications. Basis-of-design product manufacturer's standard shower includes surface-mounted soap dish.
m. Soap Dish: [Recessed] [Surface-mounted] stainless steel.

Retain "Ventilation Grille" Subparagraph below when required.

n. Ventilation Grille: 8.5 by 8.5 inches (216 x 216-mm), with minimum 20 sq. in. (129 sq. cm) free area.
o. Towel Hook: Release-type, stainless steel.

Retain "Modesty Door" Subparagraph below when modesty doors are included in Project design. Verify that modesty door maintains ADA compliance for accessible fixtures.

p. Modesty Door: Hinged [left] [right].

Retain option in "Drain" Subparagraph below for front-access units.
q. Drain: [Removable ]Grid strainer with NPS 2 (DN 50) outlet.

3. Waste Fittings: NPS 2 (DN 50) [elbow waste] [P-trap waste extended 3 inches (76 mm) beyond fixture] [inside caulk drain for floor connection].

Accessories in first subparagraph below are optional. Retain only subparagraphs needed to comply with Project design requirements.

4. Accessories:

Retain first subparagraph below to specify threshold anchors that are included as basis-of-design product manufacturer's standard front-access product.
a. Threshold anchors.
b. Shower drying receptor.
c. Brass valve body.
d. Through-wall waste connection with P-trap and cleanout.

e. Metal Template: Provide one per Project.
f. Hemispherical valve push button.

Transformer in first subparagraph below is available with basis-of-design product manufacturer's products equipped with Acorn's "Model MVC Time-trol" electronic flush valve.

g. Transformer: 120 V ac to 24 V ac.

h. Sloping Top Closure: [Yes] [None].

Retain "Horizontal Closure Panel" and "Vertical Closure Panel" Subparagraphs below when required.

i. Horizontal Closure Panel: Provide [with shower unit] [separately for field-installation].

j. Vertical Closure Panel: Provide [with shower unit] [separately for field-installation].
5. Mounting:

a. Chase Access: Provide mounting through wall into accessible service space.
b. Front Access: Provide threshold anchors.

Retain "Wall Sleeve" Subparagraph below for formed wall openings for piping. A wall sleeve is not required.

6. Wall Sleeve: Galvanized-steel frame with anchoring locations to allow for mounting fixture from rear. Include steel reinforcing bars.
2.11 ELECTRONIC CONTROLS

Copy "Electronic Controls" Paragraph below and re-edit for each type of electronic control required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each Electronic Control.

Retain one of two "Electronic Controls" paragraphs below. Retain first "Electronic Controls" Paragraph for networked communicating installations.
A. Electronic Controls <Insert drawing designation>: Electronic networked water management system.

Retain "Basis-of-Design Product" Subaragraph and list of manufacturers below to require a specific product or comparable product from manufacturers listed.

Retain first paragraph below to specify Acorn's "Master-Trol PLUS (MTP) System." If Project requires Acorn's "Master-Trol (EVS) System," retain specification for that system, which is included in "Electronic Controls" Paragraph below.
1. Basis-of-Design Product: Subject to compliance with requirements, provide Acorn Engineering; Morris Group International; Master-Trol PLUS (MTP) or comparable product by one of the following:

a. Sloan Valve Company.

b. Willoughby Industries.

c. <Insert manufacturer's name>.

2. Water Management System:

Tree View, Floor Plan Views, area and room designations, and other engineering of the system to a specific facility are prepared by Acorn Engineering based on layouts and information furnished by the Design Professional or Owner. These are not end-user-enabled features. Designate the party who is responsible for supplying information to Acorn Engineering to enable the system to be designed, configured, and tested.
a. Manufacturer to:

1) Provide wiring diagrams that are used to create Floor Plan View(s) [and] [or] Tree View (Directory Tree Style Format for system computer navigation), and assist Installer with controller locations and valve connections.
2) Install water management system software on Owner's PC-based computer. Configure and test software prior to installation to provide control and monitoring of each valve connected to RS-485 networked control system.
b. Installer to:

1) Furnish manufacturer with list of fixture designations and quantities connected to the Water Management System.

2) Furnish manufacturer with scaled floor plans showing fixture locations and designations.

c. Software to:

1) Provide capability to communicate with multiple Water Management System computers that are connected to the same LAN. This connection will allow the system computer to monitor and control valves connected to other system computers on the LAN.

2) Display facility in directory-tree-style interface view of defined sections of the facility, which may be navigated through series of subdirectories down to individual room and control valve level.

3) Provide labeled fixture and room/area identification of locations and valve types connected to facility water management system.

4) Display current settings and status of each valve connected to the system.

5) Provide ability to program and control individual or groups of valves.

6) Provide ability to program runtimes up to one hour using minute, second, and 0.1 second increments on each valve.

7) Provide ability to program lockouts up to 24 hours using hour and minute increments on each valve.

8) Provide ability to enable, disable, and remote-activate each individual valve from system computer.

9) Provide ability to enable, disable, program runtimes and lockouts, and set valve modes to groups of valves, from system computer.

10) Provide ability to program and control manufacturer-provided Infrared Sensors.

11) Provide ability to set "24-hour limits," "Days of the Week," and "Windows of Operation" to limit daily activations and valve availability per time of day and day of the week on individual or groups of valves, from the system computer.

12) Provide ability to set "Auto Cycle" feature to automatically activate individual or groups of valves at specified time of day, from the system computer.

13) Provide ability to display controller network information, including Versa-Link, controller address, and valve station number for each valve connected to the system computer.

14) Provide ability to set visual and audio alarms for specified statuses to alert personnel.

15) Provide Alert Panel that highlights presence of valves with critical status, including disabled valves, valves in "Valve Override" condition, and valves that have lost network communications.

16) Provide ability to create configurable user-level passwords for individuals or groups that can limit access to features and locations on the system computer.

17) Provide password tracking to log all changes on the system computer by password.

Retain first subparagraph below to specify the following features that come standard with "Master-Trol PLUS (MTP) System." These features can be specified when system will be used with "AcornVac Vacuum Plumbing System."
Retain first subparagraph below when system is purchased with "AcornVac Vacuum Plumbing System."
d. Provide controls that are compatible with specified vacuum plumbing systems.

1) Provide ability to display vacuum pressure readings from vacuum sensors connected to the electronic controller(s).

2) Provide ability to automatically disable valves based on vacuum readings from vacuum sensors connected to the electronic controller(s), to prevent overdepletion of the vacuum resource.
3) Valves to automatically enable when the vacuum source reaches acceptable levels.

The Building Management System (BMS) interface is optional. This feature provides connection to water management system computer that allows facility's BMS to connect to water management system and perform limited functions via BMS commands. These functions are limited to enable/disable valves, remote operate valves, and view enabled/disabled valve status.
Water management system provider does not perform BMS programming. Hardware connections from BMS to the water management system computer are provided by the BMS installer or system integrator.
Retain first subparagraph below when BMS programming is required to interface with the water management system.
4) Provide BMS interface software and interface hardware with water management system computer.

The "Master-Trol PLUS" system can provide an optional Floor Plan View interface for visibility and navigation. Retain first subparagraph below when Floor Plan View is required to interface with the water management system.

5) Display a defined top-level floor plan view of the facility and sections.

a) Display fixtures with graphical icons that change appearance in accordance with the current status of the valve(s) as reported by the system.

b) Provide label identification for locations and valve types connected to the system, in the facility.

c) Provide the ability to magnify locations and fixture icons for easier identification.

e. Provide PC-based water management system computer running Windows 10 or newer operating system.
1) Provide RS-485 network communications between system computer and microprocessor controllers, to monitor valve status, activations, log data, and remote operations and programming.
2) PC to serve as operator interface serving up to eight multi-drop communication cables (Versa-Links) of networked microprocessor controllers.
3) PC system computer to display all fixtures and indicate their operation and state.
4) Provide PC to meet or exceed the following minimum requirements:

a) Monitor: 17 inch (432 mm) or larger with resolution of 1024 by 768 pixels minimum.

Retain "Touchscreen Monitor" Subparagraph below when touchscreen control is required.

b) Touchscreen Monitor.

Water Management System Computer provided will meet these minimum requirements or above.

c) RAM: 4 GB, minimum.

d) Hard Drive: 80 GB, minimum.

e) Keyboard.

f) Mouse.

RS-485 network used on the "Master-Trol PLUS (MTP) System" requires one Asynchronous Serial Adapter capable of communication with up to eight multi-drop communication cables (Versa-Links) of daisy-chained Master-Trol valve controllers. Each of the eight Versa-Links can be run a maximum distance of 4,000 ft. (1219 m) and accommodate up to 32 Master-Trol controllers. Each controller can control up to 12 valves, for a total of 256 controllers, or 3072 valves, on one system computer.

5) Provide Asynchronous Serial Adapter capable of communication with up to eight Versa-Links for network communication with up to 256 microprocessor controllers, each controlling up to 12 valves, totaling 3072 valves.

6) Versa-Link Length: 4000 ft. (1219 m), maximum.

7) Install water management system software on system computer.
6) Configure and test prior to installation to provide control and monitoring of each valve connected to the RS-485 networked control system. 
The BMS interface is optional. This feature provides connection to water management system computer that allows facility's BMS to connect to water management system and perform limited functions via BMS commands. These functions are limited to enable/disable valves, remote operate valves, and view enabled/disabled valve status.

Water management system provider does not perform BMS programming. Hardware connections from BMS to the water management system computer are provided by the BMS installer or system integrator.

Retain first subparagraph below when BMS programming is required to interface with water management system.

9) Provide BMS interface adapter and software.
f. Microprocessor Controllers:
1) Provide controllers for installation in plumbing chase or other areas isolated from typical inmate access.

2) Install controllers in accordance with manufacturer's installation instructions. Deviations from the manufacturer's installation instructions to be approved in writing by the manufacturer.

3) Provide controllers able to control operation of manufacturer-supplied 24 Vac electronic solenoid valve, with ability to be programmed and controlled onsite using water management system computer.

4) Provide controllers with modular design that allow for a four-port, eight-port, or 12-port configuration by combining main module and up to two sub-modules. Any combination of main and sub-modules to be recognized as one controller by computer system.

5) Controllers to use single I/O cable to connect valve assembly to its corresponding controller.
6) Provide controllers with IP54-certified rated enclosures to protect against water and dust intrusion.

7) Controllers to retain all programmed settings after event in which power is removed or lost. When power is restored, fixtures to operate in same manner as prior to power loss.

8) Controllers to operate on 24 Vac. Provide 120/24 Vac, UL Class 2 transformer with each controller supplied.

9) Provide controllers with internal power switch.

10) Provide controllers with replaceable internal fuse to protect electronics.

11) Each controller to include power and status LEDs to indicate presence of incoming power and valve status.

12) Each controller to have integrated real-time clock for scheduling and allocation reset features.

13) Controllers to be programmed by [manufacturer] [or] [Installer] to Owner's requirements for each valve connected to water management system.

a) Owner will furnish programming requirements to manufacturer.

14) Manual valve activation to initiate from vandal-resistant [pneumatic] [or] [stainless steel piezo electric] push buttons.

a) Push buttons to require less than 5 lbf (22.2 N) to activate.

b) Push buttons to include "non-hold open" function to prevent continuous activation or cycling when push button is continuously pressed.

Retain first subparagraph below when installation includes manufacturer-supplied infrared sensors.

c) Infrared Sensors to have an adjustable range up to 23.6 inches (600 mm).

Retain "Handheld Programmer" Subparagraph below when Contractor is required to furnish a device that enables controller programming in the field, allowing an operator to program and control controllers by connecting directly to an individual controller.

The handheld programmer contains most of the same features as the system computer, but is portable.

The handheld programmer can only program individual valves and does not have the capability of group programming.

g. Handheld Programmer: Provide for direct programming at controller.

The "Master-Trol PLUS" system offers electronic lavatory valves that will still provide cold drinking water in the event of a loss of power. This feature activates automatically and automatically returns to normal function when power is restored.

h. Provide electronic lavatory valves that continue to provide cold drinking water when power to the system is lost. Conversion to non-electric operation to be automatic. Electronic operation to automatically resume when power is restored.

Retain "Site Visit" Subparagraph below when required. Basis-of-design product manufacturer recommends having a factory-trained technician inspect, start up the system, and train Owner's staff on system operation.

i. Site Visit: Furnish services of manufacturer-trained technician to inspect the installation, install the system computer, verify communication to each controller connected to the system, program Owner-required settings, and train staff how to use the system.
Retain "Electronic Controls" Paragraph below for noncommunicating standalone installations.
B. Electronic Controls <Insert drawing designation>: Electronic Standalone Water Management System.
Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or comparable product from manufacturers listed.

Retain first subparagraph below to specify Acorn's "Master-Trol PLUS (MTP) System." If Project requires Acorn's "Master-Trol (EVS) System," retain specification for that system, which is included in "Electronic Controls" Paragraph below.
1. Basis-of-Design Product: Subject to compliance with requirements, provide Acorn Engineering; Morris Group International; Master-Trol PLUS (MTP) or comparable product by one of the following:

a. Sloan Valve Company.

b. Willoughby Industries.

c. <Insert manufacturer's name>.

2. Microprocessor Controllers:
a. Provide controllers for installation in plumbing chase or other areas isolated from typical inmate access.

b. Install controllers in accordance with manufacturer's installation instructions. Any deviations from manufacturer's specifications must be approved in writing by manufacturer.

c. Provide controllers able to control operation of manufacturer-supplied 24 Vac electronic solenoid valve connected to the controller.
d. Provide controllers with a modular design that allows for a four-port, eight-port, or 12-port configuration by combining a main module and up to two sub-modules. Any combination of main and sub-modules will be recognized as one controller to the computer system.

e. Controllers to use single I/O cable to connect valve assembly to its corresponding controller.

f. Provide controllers with IP54 Certified rated enclosures to protect against water and dust intrusion.

g. Controllers to retain all programmed settings after event in which power is removed or lost. When power is restored, fixtures to operate in same manner as prior to power loss.

h. Controllers to operate on 24 Vac. Provide 120/24 Vac, UL Class 2 transformer with each controller supplied.

i. Provide controllers with an internal power switch.

j. Provide controllers with a replaceable internal fuse to protect the electronics.

k. Each controller to include power and status LEDs to indicate presence of incoming power and valve status.

l. Each controller to have an integrated real-time clock for scheduling and allocation reset features.

m. Controllers to be programmed by [manufacturer] [or] [Installer] to Owner's requirements for each valve connected to water management system.

1) Acquire the programming requirement from Owner and furnish to manufacturer.

n. Manual valve activation to initiate from vandal-resistant [pneumatic] [or] [stainless steel piezo electric] push buttons.

1) Push buttons to require less than 5 lbf (22.2 N) to activate.

2) Push buttons to include "non-hold open" function to prevent continuous activation or cycling when push button is continuously pressed.

Retain first subparagraph below when installation includes the use of manufacturer-supplied infrared sensors.

3) Infrared Sensors to have adjustable range up to 23.6 inches (600 mm).

Retain first subparagraph below when Contractor is required to furnish a device that enables controller programming in the field, allowing an operator to program and control controllers by connecting directly to an individual controller.

The handheld programmer contains most of the same features as the system computer, but is portable.
The handheld programmer can only program individual valves and does not have the capability of group programming.

o. Handheld Programmer to be provided for direct programming at controller.
The "Master-Trol PLUS" system offers electronic lavatory valves that can provide cold drinking water in the event of a loss of power. This feature activates automatically, and automatically returns to normal function when power is restored. 

p. Furnish electronic lavatory valves that continue to provide cold drinking water when power to the system is lost. Conversion to non-electric operation will be automatic. Electronic operation will automatically resume when power is restored.

C. Electronic Controls <Insert drawing designation>: Computer-based networked water management system.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or comparable product from manufacturers listed.

NOTE: This specification is for the "Master-Trol (EVS) System." If Project requires "Master-Trol PLUS (MTP) System," please use the specification for that system in Paragraph A or B.
1. Basis-of-Design Product: Subject to compliance with requirements, provide Acorn Engineering; Morris Group International; Master-Trol (EVS) or comparable product by one of the following:

a. Sloan Valve Company.

b. Willoughby Industries.

c. <Insert manufacturer's name>.

2. Description:
Tree View, area and room designations, and other engineering of the system to a specific facility are prepared by Acorn Engineering based on layouts and information provided by the customer. These are not end-user-enabled features. Identify who is responsible for supplying the information to Acorn Engineering to enable the system to be designed, configured, and tested.

a. Water Management System:

1) Prepare manufacturer-designed wiring diagrams used to create Tree View (Directory Tree Style Format for system computer navigation), and assist Installer with controller locations and valve connections.

a) Furnish manufacturer with list of fixture designations and fixture quantities connected to water management system.

b) Furnish manufacturer with scaled floor plans showing fixture locations and designations.

2) Provide basis-of-design product manufacturer-furnished PC-based [laptop] [desktop] computer with preinstalled water management system software. Configure and test software prior to installation to provide control and monitoring of each valve connected to RS-485 networked control system.
3) Software to:

a) Display facility in directory-tree-style interface view of defined sections of the facility, which may be navigated through series of subdirectories down to individual room and control valve level.

b) Provide labeled fixture and room/area identification of locations and valve types connected to facility water management system.

c) Display current settings and status of each valve connected to system.

d) Provide ability to program and control individual or groups of valves.

e) Provide ability to program runtimes up to one hour using minute, second, and 0.1 second increments on each valve.

f) Provide ability to program lockouts up to one hour using minute and second increments on each valve.

g) Provide ability to enable, disable, and remote-activate each individual valve from system computer.

h) Provide ability to enable, disable, program runtimes and lockouts, and set valve modes to groups of valves, from system computer.

i) Provide ability to set "24-hour limits" and "Windows of Operation" to limit daily activations and valve availability within 24-hour period on individual or groups of valves, from system computer.

j) Provide ability to set "Auto Cycle" feature to automatically activate individual or groups of valves at specified time of day, from the system computer.

k) Provide ability to display controller network information, including Versa-Link controller address, and valve station number for each valve connected to the system computer.

l) Provide Alert Panel that highlights presence of valves with critical status, including disabled valves, valves in "Valve Override" condition, and valves that have lost network communications.

m) Provide ability to create configurable user-level passwords for individuals or groups that can limit access to features and locations on the system computer.

n) Provide password tracking to log all changes on system computer by password.
The BMS interface is optional. This feature provides connection to water management system computer that allows facility's BMS to connect to water management system and perform limited functions via BMS commands. These functions are limited to enable/disable valves, remote operate valves, and view enabled/disabled valve status.
Water management system provider does not perform BMS programming. Hardware connections to water management system computer are provided in the field as work of the BMS system installer.

Retain first subparagraph below when BMS programming is required to interface with water management system.
o) Provide BMS interface software, and interface hardware on water management system computer.
b. Water management system to be PC-based system computer running Windows 10 or newer operating system. Provide RS-485 network communications between system computer and microprocessor controllers, to monitor valve status, activations, log data, and remote operations and programming. PC to serve as operator interface serving up to eight multi-drop communication cables (Versa-Links) of networked microprocessor controllers. PC system computer to display all fixtures and indicate their operation and state.
c. Provide PC equipped with:

1) Monitor: 17 inch (432 mm) or larger, with resolution of 1024 by 768 pixels, minimum.

Retain first subparagraph below when touchscreen control is required.

2) Touchscreen monitor.

3) RAM: 4 GB minimum.
4) Hard Drive: 80 GB minimum.

5) Keyboard, 101-key.

6) Mouse.

RS-485 network used on the "Master-Trol (EVS) System" requires one Asynchronous Serial Adapter capable of communication with up to eight multi-drop communication cables (Versa-Links) of daisy-chained Master-Trol valve controllers. Each of the eight Versa-Links can be run a maximum distance of 4,000 ft. (1219 m) and accommodate up to 32 Master-Trol controllers. Each controller can control up to 12 valves, for a total of 256 controllers, or 3072 valves, on one system computer. 

7) Provide Asynchronous Serial Adapter capable of communication with up to eight Versa-Links for network communication with up to 256 microprocessor controllers, each controlling up to 12 valves, totaling 3072 valves.
8) Versa-Link Length: Maximum 4000 ft. (1219 m).

9) Water Management Software installed on system computer. Configured and tested prior to installation to provide control and monitoring of all valves connected to the RS-485 networked control system.

The BMS interface is optional. This feature provides connection to water management system computer that allows facility's BMS to connect to water management system and perform limited functions via Modbus commands. These functions are limited to enable/disable valves, remote operate valves and view enabled/disabled valve status. Water management system provider does not perform BMS programming, and hardware connections to our system computer are provided separately.

Retain first subparagraph below when BMS programming is required to interface with water management system.
10) Provide BMS interface adapter and software.
d. Microprocessor Controllers:

1) Provide controllers for installation in plumbing chase or other areas isolated from typical inmate access.

2) Install controllers in accordance with manufacturer's installation instructions. Any deviations from manufacturer's specifications must be approved in writing by manufacturer.

3) Provide controllers able to control operation of manufacturer-supplied 24 Vac electronic solenoid valve, with ability to be programmed and controlled onsite using water management system computer.

4) Each controller to be capable of controlling up to 12 solenoid valves.

5) Controllers to use single I/O cable to connect valve assembly to its corresponding controller.

6) Controllers to retain all programmed settings after event in which power is removed or lost. When power is restored, fixtures to operate in same manner as prior to power loss.

7) Controllers to operate on 24 Vac. Provide 120/24 Vac, UL Class 2 transformer with each controller supplied.

8) Each controller to include power and status LEDs to indicate presence of incoming power and valve status.

9) Each controller to have integrated real-time clock for scheduling and allocation reset features.

10) Controllers to be programmed by [manufacturer] [or] [Installer] to Owner's requirements for each valve connected to water management system.

a) Acquire programming requirements from Owner and furnish to manufacturer.

11) Manual valve activation to initiate from vandal-resistant [pneumatic] [or] [stainless steel piezo electric] push buttons.

a) Push buttons to require less than 5 lbf (22.2 N) to activate.

b) Push buttons to include "non-hold open" function to prevent continuous activation or cycling when push button is continuously pressed.

Retain "Handheld Programmer" Subparagraph below when Contractor is required to furnish a device that enables controller programming in the field, allowing an operator to program and control controllers by connecting directly to an individual controller.
The handheld programmer contains most of the same features as the system computer, but is portable.
The handheld programmer can only program individual valves and does not have the capability of group programming.

e. Handheld Programmer: Provide for direct programming at controller.

Retain "Site Visit" Subparagraph below when required. Basis-of-design product manufacturer recommends having a factory-trained technician inspect, start up the system, and train Owner's staff on system operation.
f. Site Visit: Furnish services of manufacturer-trained technician to inspect the installation, install the system computer, verify communication to each controller connected to the system, program Owner required settings, and train staff how to use the system.

D. Electronic Controls <Insert drawing designation>: Preprogrammed electronic standalone water management system.
Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or comparable product from manufacturers listed.

NOTE: This specification is for "Master-Trol (EVS) System." If Project requires "Master-Trol PLUS (MTP)" system, please use specification for that system.

1. Basis-of-Design Product: Subject to compliance with requirements, provide Acorn Engineering; Morris Group International; Master-Trol (EVS) or comparable product by one of the following:

a. Sloan Valve Company.

b. Willoughby Industries.

c. <Insert manufacturer's name>.

2. Description:

a. Microprocessor Controllers:

1) Provide controllers for installation in plumbing chase or other areas isolated from typical inmate access.

2) Install controllers in accordance with manufacturer's installation instructions. Any deviations from manufacturer's specifications must be approved in writing by manufacturer.

3) Provide controllers able to control operation of manufacturer-supplied 24 Vac electronic solenoid valve connected to the controller.

4) Each controller to be capable of controlling up to 12 solenoid valves.

5) Controllers to use single I/O cable to connect valve assembly to its corresponding controller.

6) Controllers to retain all programmed settings after event in which power is removed or lost. When power is restored, fixtures to operate in same manner as prior to power loss.

7) Controllers to operate on 24 Vac. Provide 120/24 Vac, UL Class 2 transformer with each controller supplied.

8) Each controller to include power and status LEDs to indicate presence of incoming power and valve status.

9) Each controller to have integrated real-time clock for scheduling and allocation reset features.

10) Controllers to be programmed by manufacturer to Owner's requirements for each valve connected to controller.

a) Acquire programming requirements from Owner and furnish to manufacturer.
b) Program controllers prior to shipment to Project site.
11) Manual valve activation to initiate from vandal-resistant [pneumatic] [or] [stainless steel piezo electric] push buttons.

a) Push buttons to require less than 5 lbf (22.2 N) to activate.

b) Push buttons to include "non-hold open" function to prevent continuous activation or cycling when push button is continuously pressed.

Retain "Handheld Programmer" Subparagraph below when Contractor is required to furnish a device that enables controller programming in the field, allowing an operator to program and control controllers by connecting directly to an individual controller.

The handheld programmer contains most of the same features as the system computer, but is portable.

The handheld programmer can only program individual valves and does not have the capability of group programming.

b. Handheld Programmer: Provide for direct programming at controller.

2.12 SERVICE SINKS
Copy "Service Sinks" Paragraph below and re-edit for each type of back-access, off- or on-floor service sink required.

Insert number to complete drawing designation. Use these designations on Drawings to identify each service sink.

A. Service Sinks <Insert drawing designation>: Back access, [off] [on] floor.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

1. Basis-of-Design Product: Subject to compliance with requirements, provide Acorn Engineering; Morris Group International; [1640] [1642] <Insert product name or designation> or comparable product by one of the following:

a. Metcraft Industries, Inc.

b. Willoughby Industries.

c. <Insert manufacturer's name>.

2. Fixture:
a. Standard: ASME A112.19.3/CSA B45.4.

b. Material: 14 gauge minimum-thickness, Type 304 stainless steel.

c. Finish: No. 4 satin finish on exposed surfaces.

d. Receptor: Rectangular, with high backsplash.
e. Cabinet:
1) Mounting: [Off] [On]-floor.
2) Size: [21 by 19 inches (533 by 483 mm)] [24 by 19 inches (610 by 483 mm)] <Insert dimensions>.

3) Sink Depth: 10 inches (254 mm).

f. Service Sink Water Supply Valve:

1) Type: [Pneumatic, nonmetering] [Pneumatic, metering] [Pneumatic, metering, hot water side only] [Electronic] <Insert designation>, with push-button actuation and individual check stops complying with ASME A112.18.1/CSA B125.1.

2) Fixture punched for valve furnished separately.
3) Temperature: [Single] [Separate hot and cold] temperature.
Retain "Manifolded" Subparagraph below when manifolded supply valves are required.

4) Manifolded: Two-stack.

5) Flow Rate: 2.5 gpm (9.5 Lpm).

g. Valve Water Outlet: [Spout with plain end] [Spout with hose end] [Hose end with vacuum breaker].
h. Push Buttons and Escutcheons: Machined Type 303 stainless steel.
i. Drain: Integral grid strainer-type.

In first subparagraph below, P-trap waste option is not available on ADA-compliant models.

j. Waste: NPS 2 (DN 50) [elbow] [integral P-trap] waste, extended 3 inches (76 mm) <Insert length> beyond fixture. Comply with ASME A112.18.2/CSA B125.2.
Accessories listed in first subparagraph below are optional. Retain only subparagraphs needed to comply with Project design requirements.

3. Accessories:

a. Brass valve body.

b. Hemispherical valve push button.

c. Pushrod-activated valve push buttons.
d. Soap dish.

e. Fixture-mounted trim.

f. Integral shelf.

g. 12 gauge cabinet.

h. Towel Hook: One on [each] [left] [right] side of fixture.

i. Ventilation Grille: [Left] [Right] [Bottom].
j. Through-wall waste connection with P-trap.
k. Metal Template: Provide one per Project.
Transformer in first subparagraph below is available with basis-of-design product manufacturer's products equipped with Acorn's "Model MVC Time-trol" electronic flush valve.

l. Transformer: 120 V ac to 24 V ac.

m. Cycle interrupt.

For first subparagraph below, contact basis-of-design product manufacturer for supplemental details.

n. Vacuum waste system.

4. Mounting: Provide threaded mounting points on fixture and 1/2-inch (13-mm) threaded rod with nuts and washers to bolt through wall into accessible service space.

Retain "Wall Sleeve" Subparagraph below for formed wall openings for piping. A wall sleeve is not required.

5. Wall Sleeve: Galvanized-steel frame with anchoring locations to allow for mounting fixture from rear. Include steel reinforcing bars. Include steel reinforcing bars.
B. Service Sinks <Insert drawing designation>: Front access, [off] [on] floor.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

1. Basis-of-Design Product: Subject to compliance with requirements, provide Acorn Engineering; Morris Group International; [1640FA] [1642FA] <Insert product name or designation> or comparable product by one of the following:

a. Metcraft Industries, Inc.

b. Willoughby Industries.

c. <Insert manufacturer's name>.

2. Fixture:
a. Standard: ASME A112.19.3/CSA B45.4.

b. Material: 14 gauge minimum-thickness, Type 304 stainless steel.

c. Finish: No. 4 satin finish on exposed surfaces.

d. Receptor: Rectangular, with high backsplash.
e. Cabinet:

1) Mounting: [Off] [On]-floor.
2) Size: [21 by 19 inches (533 by 483 mm)] [24 by 19 inches (610 by 483 mm)] <Insert dimensions>.

3) Sink Depth: 10 inches (254 mm).

f. Access to Internal Components: Vandal-resistant access panels.

g. Service Sink Water Supply Valve:

1) Type: [Pneumatic, nonmetering] [Pneumatic, metering] [Pneumatic, metering, hot water side only] [Electronic] <Insert designation>, with push-button actuation and individual check stops complying with ASME A112.18.1/CSA B125.1.

2) Fixture punched for valve furnished separately.
3) Temperature: [Single] [Separate hot and cold] temperature.

4) Flow Rate: 2.5 gpm (9.5 Lpm).

h. Valve Water Outlet: [Spout with plain end] [Spout with hose end] [Hose end with vacuum breaker].

i. Push Buttons and Escutcheons: Machined Type 303 stainless steel.

j. Drain: Integral grid strainer-type.

In first subparagraph below, P-trap waste option is not available on ADA-compliant models.

k. Waste: 2-inch (51-mm) copper tube removable P-trap. Comply with ASME A112.18.2/CSA B125.2.

l. Service Sink Water Supply Valve:

1) Type: [Pneumatic, nonmetering] [Pneumatic, metering] [Electronic] <Insert designation>, with push-button actuation and individual check stops complying with ASME A112.18.1/CSA B125.1.

2) Fixture punched for valve furnished separately.
3) Temperature: [Single] [Separate hot and cold] temperature.

m. Valve Water Outlet: Spout with [plain] [hose] end.

n. Drain: Integral grid type.

In first subparagraph below, P-trap waste option is not available on ADA-compliant models.

o. Waste: [2-3/8 inches (60 mm) OD plain-end, extended 3 inches (76 mm) beyond back of fixture.] [NPS 1.5 (DN 38) P-trap].

Accessories listed in first subparagraph below are optional. Retain only subparagraphs needed to comply with Project design requirements.

3. Accessories:

a. Brass valve body.

b. Hemispherical valve push button.

c. Soap dish.

d. Fixture-mounted trim.

e. Integral shelf.

f. 12 gauge cabinet.

g. Towel Hook: One on [each] [left] [right] side of fixture.

h. Metal Template: Provide one per Project.

Transformer in first subparagraph below is available with basis-of-design product manufacturer's products equipped with Acorn's "Model MVC Time-trol" electronic flush valve.

i. Transformer: 120 V ac to 24 V ac.

j. Cycle interrupt.

For first subparagraph below, contact basis-of-design product manufacturer for supplemental details.

k. Vacuum waste system.

4. Mounting: Provide threaded mounting points on fixture and 1/2-inch (13-mm) threaded rod with nuts and washers to bolt through wall into accessible service space.

Retain "Wall Sleeve" Subparagraph below for formed wall openings for piping. A wall sleeve is not required.

5. Wall Sleeve: Galvanized-steel frame with anchoring locations to allow for mounting fixture from rear. Include steel reinforcing bars.
C. Service Sinks <Insert drawing designation>: Stainless steel mop sinks.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

1. Basis-of-Design Product: Subject to compliance with requirements, provide Acorn Engineering; Morris Group International; [1630] [1636] <Insert product name or designation> or comparable product by one of the following:

a. Metcraft Industries, Inc.

b. Willoughby Industries.

c. <Insert manufacturer's name>.

2. Fixture:
a. Standard: ASME A112.19.3/CSA B45.4.

b. Material: 16 gauge minimum-thickness, Type 304 stainless steel.

c. Finish: No. 4 satin finish on exposed surfaces.

d. Receptor: Rectangular, with high backsplash.

e. Cabinet:

1) Mounting: On-floor, with bottom pitched toward drain outlet.[ Provide threshold anchors.]
2) Size: [24 by 24 inches (610 by 610 mm)] [36 by 24 inches (914 by 610 mm)] <Insert dimensions>.

3) Sink Depth: 10 inches (254 mm).

Retain "Tiling Flanges" Subparagraph below where required. There is no cabinet apron on sides with tiling flanges.
4) Tiling Flanges: [Rear] [Left and rear] [Right and rear] [Rear, left and right].

f. Drain: [Removable flat grid] [Beehive dome] strainer-type.

g. Waste: NPS 3 (DN 80), for inside gasket connection.

Accessories listed in first subparagraph below are optional. Retain only subparagraphs needed to comply with Project design requirements.

3. Accessories:

a. Rubber drain gasket for waste pipe.

b. Hot and cold utility faucet with chrome finish.

c. 36-inch- (914-mm-) long drain hose with wall hanger.
d. Mop hanger with three mop attachments and stainless steel bracket.

e. Wall Guard: Stainless steel, [12 by 24 inches (305 by 610 mm)] [12 by 36 inches (305 by 914 mm)] <Insert dimensions>.
2.13 SUPPORTS

A. Water-Closet Carrier:

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by one of the following:

a. Jay R. Smith Mfg Co; a division of Morris Group International.

b. Josam Company.

c. MIFAB, Inc.

d. Wade Drains.

e. WATTS.

f. Zurn Industries, LLC.

g. <Insert manufacturer's name>.

2. Standard: ASME A112.6.1M.

3. Description: Waste-fitting assembly as required to match drainage piping material and arrangement with faceplates, couplings gaskets, and feet; bolts and hardware match fixture.[ Include additional extension coupling, faceplate, and feet for installation in wide pipe space.]

B. Type III Lavatory Carrier:

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

1. Manufacturers: Subject to compliance with requirements, provide products by one of the following:

a. Jay R. Smith Mfg Co; a division of Morris Group International.

b. Josam Company.

c. MIFAB, Inc.

d. Wade Drains.

e. WATTS.

f. Zurn Industries, LLC.

g. <Insert manufacturer's name>.

2. Standard: ASME A112.6.1M.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine roughing-in for water supply and sanitary drainage and vent piping systems to verify actual locations of piping connections before fixture installation.

B. Examine walls and floors for suitable conditions where fixtures will be installed.

C. Proceed with installation only after unsatisfactory conditions have been corrected.

3.2 INSTALLATION

A. Install security plumbing fixtures level and plumb in accordance with roughing-in drawings.

B. Install back-access, stainless steel fixtures as follows:

1. Install wall sleeve in wall if indicated.

2. Install fixture on wall sleeve or wall, as indicated, with access from accessible service space.

3. Extend supply piping from service space to fixture.

4. Install soil and waste piping from fixture and extend into service space.

5. Install fixture trap in service space instead of below fixture drain.

C. Install front-access, stainless steel fixtures as follows:

1. Install fixture support or mounting bracket.

2. Install fixture on support; mount components inside of or attached to fixture.

3. Extend supply piping from pipe space to fixture.

4. Install trap below fixture and extend soil and waste piping into pipe space.

D. Install vitreous-china fixture service space as follows:

1. Install fixture support in service space.

a. Use combination support and waste fitting assembly for water closet.

b. Use chair carrier for lavatory.

2. Install fixture on support.

3. Install components in service space.

E. Install fixture outlets with gasket seals.

F. Install fixtures designated "accessible" in accordance with ICC A117.1 for heights, dimensions, and clearances.

Retain first paragraph below if toilet seats are required.

G. Install toilet seats on [water closets] [and] [combination units] if seats are indicated.

Coordinate first paragraph below with Drawings. Indicate on Drawings those fixtures that are required to be accessible.

H. Install protective shielding pipe covers and enclosures on exposed supplies and waste piping of accessible fixtures. Comply with requirements in Section 220719 "Plumbing Piping Insulation."

I. Seal joints between fixtures, floors, and walls using sanitary-type, one-part, mildew-resistant silicone sealant. Match sealant color to fixture color. Comply with sealant requirements specified in Section 079200 "Joint Sealants."

J. Install wall flanges or escutcheons at piping wall penetrations in exposed, finished locations. Use deep-pattern escutcheons if required to conceal protruding fittings. Comply with escutcheon requirements specified in Section 220518 "Escutcheons for Plumbing Piping."

3.3 CONNECTIONS

Coordinate piping installations and specialty arrangements with Drawings and with requirements specified in piping systems. If Drawings are explicit enough, these requirements may be reduced or omitted.

A. Connect fixtures with water supplies, stops, and risers, and with traps, soil, waste, and vent piping. Use size fittings required to match fixtures.

B. Comply with requirements for water piping specified in Section 221116 "Domestic Water Piping."

C. Comply with requirements for soil and waste drainage piping specified in Section 221316 "Sanitary Waste and Vent Piping."

3.4 ADJUSTING

A. Operate and adjust flushometer valves and flow-control valves on fixtures.

3.5 CLEANING AND PROTECTION

A. After installing fixtures, inspect and repair damaged finishes.

B. Clean fixtures, faucets, and other fittings with manufacturers' recommended cleaning methods and materials.

C. Provide protective covering for installed fixtures and fittings.

D. Do not allow use of fixtures for temporary facilities unless approved in writing by Owner.

END OF SECTION 224600
	SECURITY PLUMBING FIXTURES
	224600 - 58



